## Consumables WGS Twist
| Product | Units | Order number | Manufacturer | List price without VAT | Number of Samples per product | Price per sample
LibPrep & Seq | 8 microTUBE-50 AFA Fiber H SlitStrip V2 | 120 strips | 520243 | Covaris | 6050 | 480 | 12.6042
LibPrep & Seq | SafeSeal SurPhob pipet tips with filter | 960 | NA | Biozym | 59 | 12 | 4.9167
LibPrep & Seq | PCR SingleCap 8er-SoftStrips | 120 strips | 710971 | Biozym | 82.3 | 60 | 1.3717
LibPrep & Seq | High Sensitivity D1000 ScreenTape | 112 reactions | 5067-5584 | Agilent | 331 | 50 | 6.62
LibPrep & Seq | High Sensitivity D1000 Reagents | 112 reactions | 5067-5585 | Agilent | 112 | 50 | 2.24
LibPrep & Seq | Twist Library Preparation Kit, Mechanical Fragmentation | 96 reactions | 104177 | Twist Bioscience South San Francisco | 2527.24 | 48 | 52.6508
LibPrep & Seq | Twist UMI Adapter System TruSeq Compatible, 96 Samples Plate A | 96 reactions | 105041 | Twist Bioscience South San Francisco | 605.73 | 48 | 12.6194
LibPrep & Seq | DNA D1000 ScreenTape, 112rxn | 112 reactions | 5067-5582 | Agilent | 204 | 50 | 4.08
LibPrep & Seq | DNA D1000 Reagents, 112rxn | 112 reactions | 5067-5583 | Agilent | 87 | 50 | 1.74
LibPrep & Seq | Qubit™ 1x DSDNA HS | 500 reactions | Q33231 | Thermo Fisher Scientific | 417 | 250 | 1.668
LibPrep & Seq | Qubit™ Flex Tube Strips | 125 strips | Q33252 | Thermo Fisher Scientific | 281 | 500 | 0.562
LibPrep & Seq | NovaSeq X Series 25B (300 cycles) Kit |  | 20104706 | Illumina | 16480 | 8 | 2060
LibPrep & Seq | PhiX Control v3 |  | FC-110-3001 | Illumina | 212 | 25 | 8.48
Extraction | Ethanol >99,8% P.A. | 2.5l | 9065.2 | Roth | 222.5 | 250 | 0.89
Extraction | Xylol pure | 2.5l | 4436.2 | Roth | 117.5 | 250 | 0.47
Extraction | Qubit™ 1x DSDNA HS | 500 reactions | Q33231 | Thermo Fisher Scientific | 417 | 250 | 1.668
Extraction | Qubit™ Flex Tube Strips | 125 strips | Q33252 | Thermo Fisher Scientific | 281 | 500 | 0.562
Extraction | Maxwell RSC FFPE Plus DNA Kit | 48 reactions | AS1720 | Promega | 355 | 48 | 7.3958
Extraction | Maxwell RSC Blood DNA | 48 reactions | AS1400 | Promega | 336 | 48 | 7
Extraction | Slides | 2500 slides | KLINPR-001 | Klinipath BV | 200 | 208 | 0.96154
Extraction | Blades | 50 blades | NA | NA | 90 | 50 | 1.8
Extraction | Hematoxylin | 0.5l | NA | VWR | 40 | 100 | 0.4
Extraction | Eosin | 1l | X883.2 | Roth | 43.9 | 200 | 0.2195
[6 empty] | Sum | 2190.9196

## Consumables WGS Tagmentation
| Product | Units | Order number | Manufacturer | List price without VAT | Number of Samples per product | Price per sample
LibPrep & Seq | SafeSeal SurPhob pipet tips with filter | 960 | NA | Biozym | 59 | 16 | 3.6875
LibPrep & Seq | PCR SingleCap 8er-SoftStrips | 120 strips | 710971 | Biozym | 82.3 | 120 | 0.68583
WGS-Tagmentation | Illumina DNA Prep, (M) Tagmentation (96 Samples, IPB) | 96 reactions | 20060059 | Illumina | 3289 | 48 | 68.5208
WGS-Tagmentation | Illumina® DNA/RNA UD Indexes Set A, Tagmentation (96 Indexes, 96 Samples) | 96 reactions | 20091654 | Illumina | 474 | 48 | 9.875
LibPrep & Seq | DNA D1000 ScreenTape | 112 reactions | 5067-5582 | Agilent | 204 | 50 | 4.08
LibPrep & Seq | DNA D1000 Reagents | 112 reactions | 5067-5583 | Agilent | 87 | 50 | 1.74
LibPrep & Seq | Qubit™ 1x DSDNA HS | 500 reactions | Q33231 | Thermo Fisher Scientific | 417 | 250 | 1.668
LibPrep & Seq | Qubit™ Flex Tube Strips | 125 reactions | Q33252 | Thermo Fisher Scientific | 281 | 500 | 0.562
LibPrep & Seq | NovaSeq X Series 25B (300 cycles) Kit |  | 20104706 | Illumina | 16480 | 8 | 2060
LibPrep & Seq | PhiX Control v3 |  | FC-110-3001 | Illumina | 212 | 25 | 8.48
Extraction | Ethanol >99,8% P.A. | 2.5l | 9065.2 | Roth | 222.5 | 250 | 0.89
Extraction | Xylol pure | 2.5l | 4436.2 | Roth | 117.5 | 250 | 0.47
Extraction | Qubit™ 1x DSDNA HS | 500 reactions | Q33231 | Thermo Fisher Scientific | 417 | 250 | 1.668
Extraction | Qubit™ Flex Tube Strips | 125 reactions | Q33252 | Thermo Fisher Scientific | 281 | 500 | 0.562
Extraction | Maxwell RSC FFPE Plus DNA Kit | 48 reactions | AS1720 | Promega | 355 | 48 | 7.3958
Extraction | Maxwell RSC Blood DNA Kit | 48 reactions | AS1400 | Promega | 336 | 48 | 7
Extraction | Slides | 2500 slides | KLINPR-001 | Klinipath BV | 200 | 208 | 0.96154
Extraction | Blades | 50 blades | NA | NA | 90 | 50 | 1.8
Extraction | Hematoxylin | 0.5l | NA | VWR | 40 | 100 | 0.4
Extraction | Eosin | 1l | X883.2 | Roth | 43.9 | 200 | 0.2195
[6 empty] | Sum | 2180.666

## Consumables WTS
| Product | Units | Order number | Manufacturer | List price without VAT | Number of Samples per product | Price per sample
LibPrep & Seq | SafeSeal SurPhob pipet tips with filter | 960 | NA | Biozym | 59 | 13 | 4.5385
LibPrep & Seq | PCR SingleCap 8er-SoftStrips | 120 strips | 710971 | Biozym | 82.3 | 120 | 0.68583
LibPrep & Seq | DNA D1000 ScreenTape | 112 reactions | 5067-5582 | Agilent | 204 | 100 | 2.04
LibPrep & Seq | DNA D1000 Reagents | 112 reactions | 5067-5583 | Agilent | 87 | 100 | 0.87
LibPrep & Seq | Qubit™ 1x DSDNA HS | 500 reactions | Q33231 | Thermo Fisher Scientific | 417 | 500 | 0.834
LibPrep & Seq | Qubit™ Flex Tube Strips | 125 strips | Q33252 | Thermo Fisher Scientific | 241 | 1000 | 0.241
LibPrep & Seq | Illumina® Stranded Total RNA Prep, Ligation with Ribo-Zero Plus | 96 reactions | 20040529 | Illumina | 8022 | 96 | 83.5625
LibPrep & Seq | Illumina® RNA UD Indexes Set B, Ligation (96 Indexes, 96 Samples) | 96 reactions | 20091657 | Illumina | 474 | 96 | 4.9375
LibPrep & Seq | NovaSeq X Series 1.5B (300 cycles Kit) |  | 20104705 | Illumina | 2678 | 16 | 167.375
LibPrep & Seq | PhiX Control v3 |  | FC-110-3001 | Illumina | 212 | 150 | 1.4133
Extraction | Ethanol >99,8% P.A. | 2.5l | 90652 | Roth | 222.5 | 500 | 0.445
Extraction | Xylol pure | 2.5l | 44362 | Roth | 117.5 | 500 | 0.235
Extraction | Qubit™ RNA High Sensitivity (HS) Assay Kits | 500 reactions | Q32855 | Thermo Fisher Scientific | 443 | 400 | 1.1075
Extraction | Qubit™ Flex Tube Strips | 125 strips | Q33252 | Thermo Fisher Scientific | 241 | 1000 | 0.241
Extraction | Maxwell RSC RNA FFPE Kit | 48 reactions | AS1440 | Promega | 400 | 48 | 8.3333
Extraction | Slides | 2500 slides | KLINPR-001 | Klinipath BV | 200 | 416 | 0.48077
Extraction | Blades | 50 blades | NA |  | 90 | 100 | 0.9
Extraction | Hematoxylin | 0.5l | NA | VWR | 40 | 100 | 0.4
Extraction | Eosin | 1l | X883.2 | Roth | 43.9 | 200 | 0.2195
[6 empty] | Sum | 278.8597

## Wetlab work time_Twist
Working time per Case - Technical assistant
| time per step [min] | Processed cases per step | working time per case [min]
FFPE sections preparation | 25 | 1 | 25
FFPE slides preparation, dewaxing | 55 | 1 | 55
H & E staining | 6 | 1 | 6
FFPE Macrodissection, DNA extraction part 1 | 10 | 1 | 10
DNA extraction part 2 | 5 | 1 | 5
DNA extraction blood | 5 | 1 | 5
Nucleic acids quantification Qubit | 4 | 1 | 4
Covaris and qualiy control Tape Station | 45 | 16 | 2.8125
Library preparation WGS | 300 | 16 | 18.75
Sequencing WGS | 80 | 16 | 5
136.5625

## Wetlab work time_Tagmentation
Working time per Case - Technical assistant
| time per step [min] | Processed cases per step | working time per case [min]
FFPE sections preparation | 25 | 1 | 25
FFPE slides preparation, dewaxing | 55 | 1 | 55
H & E staining | 6 | 1 | 6
FFPE Macrodissection, DNA extraction part 1 | 10 | 1 | 10
DNA extraction part 2 | 5 | 1 | 5
DNA extraction blood | 5 | 1 | 5
Nucleic acids quantification Qubit | 4 | 1 | 4
Library preparation WGS | 240 | 16 | 15
Sequencing WGS | 80 | 16 | 5
Sum |  |  | 130

## Wetlab work time_WTS
Working time per Case - Technical assistant
| time per step [min] | Processed cases per step | working time per case [min]
FFPE sections preparation | 25 | 1 | 25
FFPE slides preparation, dewaxing | 55 | 1 | 55
H & E staining | 6 | 1 | 6
FFPE Macrodissection, RNA extraction part 1 | 12 | 1 | 12
RNA extraction part 2 | 7 | 1 | 7
Nucleic acids quantification Qubit | 4 | 1 | 4
Library preparation WTS | 282 | 16 | 17.625
Sequencing WTS | 70 | 16 | 4.375
Sum |  |  | 131

## Personnel costs_Twist idealised
Tariff pay grade | Costs per month (without end of the year bonus) | Costs per year (including end of the year bonus) | Actual working time per year [hrs] | Costs per minute | Time per Case [min] | Costs per case
E8/3 | 4702 | 60568.3428 | 1694 | 0.59591 | 267 | 159.1081
E13/3 | 6648 | 82865.3256 | 1694 | 0.81528 | 75 | 61.1462
Ä1/3 | 7862 | 94344 | 1848 | 0.85087 | 10 | 8.5087
Ä2/3 | 10947 | 131364 | 1848 | 1.1847 | 3 | 3.5542
Role | Costs per case | Fixed positions | Tariff pay grade
Trainee doctor | 8.51 | NA | Ä1/3
Technical assistant | 159.11 | NA | E8/3
Biologist | 61.15 | NA | E13/3
Bioinformatician | NA | 2x 0.5 | E13/3
Medical specialist | 3.55 | NA | Ä2/3
Quality management (QM) | NA | 1x 0.5 | E13/3
Case management (CM) | NA | 1x 0.5 | E8/3
Fixed positions | Costs per year
Bioinf + QM | 124297.9884
CM | 30284.1714
Sum | 154582.1598
| Number of cases per year | Personnel costs in total
| 300 | 747.591
| 2000 | 309.6083

## Personnel costs_Tagmentation
Tariff pay grade | Costs per month (without end of the year bonus) | Costs per year (including end of the year bonus) | Actual working time per year | Costs per minute | Time per Case [min] | Costs per case
E8/3 | 4702 | 60568.3428 | 1694 | 0.59591 | 261 | 155.5326
E13/3 | 6648 | 82865.3256 | 1694 | 0.81528 | 75 | 61.1462
Ä1/3 | 7862 | 94344 | 1848 | 0.85087 | 10 | 8.5087
Ä2/3 | 10947 | 131364 | 1848 | 1.1847 | 3 | 3.5542
Role | Costs per case | Fixed positions | Tariff pay grade
Trainee doctor | 8.51 | NA | Ä1/3
Technical assistant | 155.53 | NA | E8/3
Biologist | 61.15 | NA | E13/3
Bioinformatician | NA | 2x 0.5 | E13/3
Medical specialist | 3.55 | NA | Ä2/3
Quality management | NA | 1x 0.5 | E13/3
Case management | NA | 1x 0.5 | E8/3
Fixed positions | Costs per year
Bioinf + QM | 124297.9884
CM | 30284.1714
Sum | 154582.1598
| Number of cases per year | Personnel costs in total
| 300 | 744.0156
| 2000 | 306.0328

## Personnel costs_Twist realistic
Tariff pay grade | Costs per month (without end of the year bonus) | Costs per year (including end of the year bonus)
E8/3 | 4702 | 60568.3428
E13/3 | 6648 | 82865.3256
Ä1/3 | 7862 | 94344
Ä2/3 | 10947 | 131364
Role | Fixed positions 300 cases per year | Fixed positions 2000 cases per year | Tariff pay grade
Trainee doctor | 0.5 | 0.5 | Ä1/3
Technical assistant | 2 | 7 | E8/3
Biologist | 2x 0.5 | 2.5 | E13/3
Bioinformatician | 2x 0.5 | 2x 0.5 | E13/3
Medical specialist | 0.5 | 0.5 | Ä2/3
Quality management | 0.5 | 0.5 | E13/3
Case management | 0.5 | 2x 0.5 | E8/3
Fixed positions | Costs per year 300 cases | Costs per year 2000 cases
Trainee doctor | 47172 | 47172
Technical assistant | 121136.6856 | 423978.3996
Biologist | 82865.3256 | 207163.314
Bioinformatician | 82865.3256 | 82865.3256
Medical specialist | 65682 | 65682
Quality management | 41432.6628 | 41432.6628
Case management | 30284.1714 | 60568.3428
Sum | 471438.171 | 928862.0448
| Number of cases per year | Personnel costs in total
| 300 | 1571.4606
| 2000 | 464.431

## Equipment & Maintenance
| Basic equipment | Basic equipment | Basic equipment | Basic equipment | Basic equipment | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | DNA/RNA extraction | PraePCR | PraePCR | PraePCR | PraePCR | PraePCR / PostPCR | PostPCR | PostPCR | PostPCR | PostPCR | Sequencing |  | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance
| Freezer/Fridge (2x) | Pipettes (3 sets a 5 pipettes) | Mini centrifuges (4x) | Vortexing machine (2x) | Label printer (2x) | Slide printer | Microtome | Cooling plate | Water bath | Shaker for reaction tubes | Nucleic acid extractor (e.g. Maxwell Promega RSC) | Bench top centrifuge | NA Concentration Measurement (Qubit Flex) | Shearing machine (Covaris ML230) | Shaker for 96 well plates (Genie® Pulse Modell Digital MicroPlate Genie® Pulse) | Centrifuge for 96 well plates (PeqLab PerfectSpin C1000) | Nucleic acid quality determination (TapeStation 4200) | PCR Cycler (Biometra Trio) | NA Concentration Measurement (Qubit Flex) | Shaker for 96 well plates (Genie® Pulse Modell Digital MicroPlate Genie® Pulse) | Centrifuge for 96 well plates (PeqLab PerfectSpin C1000) | Nucleic acid quality determination (TapeStation 4200) | NovaSeq X Plus | Sum (without NovaSeq X Plus) | Microtome | Pipettes (3 sets a 5 pipettes) | Nucleic acid extractor (e.g. Maxwell Promega RSC) | Covaris | Nucleic acid quality determination (TapeStation 4200) | NovaSeq X Plus | Sum
| LP netto | LP netto | LP netto | LP netto | LP netto | LP netto |  |  |  | LP netto |  | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto | LP netto |  | Contract | Contract | Contract | Contract | Contract | Contract
WGS | 12040 | 4185 | 636 | 810 | 1152.9 | 12176 | 13201.65 | 3490 | 1936 | 2298 | 28903 | 4510 | 6250 | 75714 | 917 | 805 | 52959 | 10969 | 6250 | 917 | 805 | 52959 | 1249596 | 293883.55 | 659 | 848 | 1229 | 8400 | 5064 | 132883 | 149083
WTS | 12040 | 4185 | 636 | 810 | 1152.9 | 12176 | 13201.65 | 3490 | 1936 | 2298 | 28903 | 4510 | 6250 | - | 917 | 805 | - | 10969 | 6250 | 917 | 805 | 52959 | 1249596 | 165210.55 | 659 | 848 | 1229 | - | 5064 | 132883 | 140683

## Computational data analysis
| List prize | Prize per case (base case)
Illumina DRAGEN Server | 25583 | NA
Storage Server | NA | 166.6667
License Variant database | NA | 80
License Base Calling on Illumina DRAGEN | NA | 185.39

## Flow_cell_comparison
|  | NextSeq550 |  | NovaSeq 6000 |  |  |  | Novaseq X
|  | 260 | 800 | 1600 | 3200 | 8200 | 20000 | 3200 | 20000 | 52000
|  | mid output | high output | SP | S1 | S2 | S4 | 1.5B | 10B | 25B
6500 | WGS | 0.04 | 0.12308 | 0.24615 | 0.49231 | 1.2615 | 3.0769 | 0.49231 | 3.0769 | 8
| prize per flow cell | 2620 | 6846 | 3597 | 6296 | 11509 | 16785 | 2678 | 9888 | 16480
| prize per case | 65500 | 55623.75 | 14612.8125 | 12788.75 | 9122.9878 | 5455.125 | 5439.6875 | 3213.6 | 2060
Flow Cell
Panel

## Total costs_Twist idealised
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 136.6667 | 20.5
Consumables WGS | 2190.92 | 2190.92
Consumables WTS | 278.86 | 278.86
Personnel | 747.59 | 309.61
Computational data analysis | 265.39 | 265.39
Capital costs | 1156.74 | 315.18
Maintenance costs | 496.94 | 74.54
Total costs WGS/WTS | 5273.1067 | 3455
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 2.592% | 0.5933%
Consumables WGS | 41.55% | 63.41%
Consumables WTS | 5.288% | 8.071%
Personnel | 14.18% | 8.961%
Computational data analysis | 5.033% | 7.681%
Capital costs | 21.94% | 9.122%
Maintenance costs | 9.424% | 2.157%

## Total costs_Tagmentation
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 136.67 | 20.5
Consumables WGS | 2180.67 | 2180.67
Consumables WTS | 278.86 | 278.86
Personnel | 744.02 | 306.03
Computational data analysis | 265.39 | 265.39
Capital costs | 1120.69 | 309.77
Maintenance costs | 468.94 | 70.34
Total costs WGS/WTS | 5195.24 | 3431.56
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 2.631% | 0.5974%
Consumables WGS | 41.97% | 63.55%
Consumables WTS | 5.368% | 8.126%
Personnel | 14.32% | 8.918%
Computational data analysis | 5.108% | 7.734%
Capital costs | 21.57% | 9.027%
Maintenance costs | 9.026% | 2.05%

## Total costs_Twist realistic
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 136.6667 | 20.5
Consumables WGS | 2190.92 | 2190.92
Consumables WTS | 278.86 | 278.86
Personnel | 1571.47 | 464.43
Computational data analysis | 265.39 | 265.39
Capital costs | 2146.81 | 463.69
Maintenance costs | 993.88 | 149.08
Total costs WGS/WTS | 7583.9967 | 3832.87
Costs per category | 300 cases per year | 2000 cases per year
Research and Development | 1.802% | 0.5348%
Consumables WGS | 28.89% | 57.16%
Consumables WTS | 3.677% | 7.275%
Personnel | 20.72% | 12.12%
Computational data analysis | 3.499% | 6.924%
Capital costs | 28.31% | 12.1%
Maintenance costs | 13.1% | 3.89%