{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Results"],"not_rendered":{"images":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Results","index":0,"n_rows":23,"n_cols":38,"rows_kept":23,"merged":[[20,18,20,20],[20,21,20,23]],"flags":["formulas_cached_only"]}
["Well","Well Position","Omit","Sample Name","Target Name","Task","Reporter","Quencher","Quantity","Quantity Mean","Quantity SD","RQ","RQ Min","RQ Max","CT","Ct Mean","Ct SD","Delta Ct","Delta Ct Mean","Delta Ct SD","Delta Ct SE","Delta Delta Ct","Automatic Ct Threshold","Ct Threshold","Automatic Baseline","Baseline Start","Baseline End","Amp Status","Comments","Cq Conf","CQCONF","EXPFAIL","PRFLOW","SPIKE","Tm1","Tm2","Tm3","Tm4"]
[63,"F3",false,"BMVEC-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,39,"No Amp","",{"v":0,"d":"0.000"},"Y","Y","Y","N",{"v":85.3798828125,"d":"85.380"},"","",""]
[75,"G3",false,"BMVEC-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,39,"No Amp","",{"v":0,"d":"0.000"},"Y","Y","Y","N",{"v":59.998600006103516,"d":"59.999"},"","",""]
[87,"H3",false,"BMVEC-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,39,"No Amp","",{"v":0,"d":"0.000"},"Y","Y","Y","N",{"v":60.6139030456543,"d":"60.614"},"","",""]
[61,"F1",false,"BMVEC-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":23.0766937255859,"d":"23.077"},{"v":23.0456573486328,"d":"23.046"},{"v":0.045401681214571,"d":"0.045"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,18,"Amp","",{"v":0.9789817882766245,"d":"0.979"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[73,"G1",false,"BMVEC-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":23.0667297363281,"d":"23.067"},{"v":23.0456573486328,"d":"23.046"},{"v":0.045401681214571,"d":"0.045"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,16,"Amp","",{"v":0.9766512052324545,"d":"0.977"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[85,"H1",false,"BMVEC-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":22.9935485839844,"d":"22.994"},{"v":23.0456573486328,"d":"23.046"},{"v":0.045401681214571,"d":"0.045"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,15,"Amp","",{"v":0.9822079715693145,"d":"0.982"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[50,"E2",false,"BMVEC-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":24.517467880249,"d":"24.517"},{"v":24.527592086792,"d":"24.528"},{"v":0.05944418907165527,"d":"0.059"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,17,"Amp","",{"v":0.9788967393109821,"d":"0.979"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[74,"G2",false,"BMVEC-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":24.473860168457,"d":"24.474"},{"v":24.527592086792,"d":"24.528"},{"v":0.05944418907165527,"d":"0.059"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,15,"Amp","",{"v":0.9684834518644356,"d":"0.968"},"N","N","N","N",{"v":85.07223510742188,"d":"85.072"},"","",""]
[86,"H2",false,"BMVEC-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":24.5914482116699,"d":"24.591"},{"v":24.527592086792,"d":"24.528"},{"v":0.05944418907165527,"d":"0.059"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,18,"Amp","",{"v":0.979353401315383,"d":"0.979"},"N","N","N","N",{"v":85.07223510742188,"d":"85.072"},"","",""]
[3,"A3",false,"HAPI-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,29,"No Amp","",{"v":0,"d":"0.000"},"Y","N","Y","Y",{"v":59.998600006103516,"d":"59.999"},"","",""]
[15,"B3",false,"HAPI-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,39,"No Amp","",{"v":0,"d":"0.000"},"Y","Y","Y","N",{"v":60.15242385864258,"d":"60.152"},"","",""]
[39,"D3",false,"HAPI-IgG","SIRT6","UNKNOWN","SYBR","None","","","","","","","Undetermined","","","","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,39,"No Amp","",{"v":0,"d":"0.000"},"Y","Y","Y","N",{"v":59.998600006103516,"d":"59.999"},"","",""]
[1,"A1",false,"HAPI-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":23.9962539672852,"d":"23.996"},{"v":23.9559154510498,"d":"23.956"},{"v":0.11791155487298965,"d":"0.118"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,19,"Amp","",{"v":0.9860681367943512,"d":"0.986"},"N","N","N","N",{"v":85.5337142944336,"d":"85.534"},"","",""]
[25,"C1",false,"HAPI-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":24.0483627319336,"d":"24.048"},{"v":23.9559154510498,"d":"23.956"},{"v":0.11791155487298965,"d":"0.118"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,19,"Amp","",{"v":0.9769367770296573,"d":"0.977"},"N","N","N","N",{"v":85.3798828125,"d":"85.380"},"","",""]
[37,"D1",false,"HAPI-Input","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":23.823127746582,"d":"23.823"},{"v":23.9559154510498,"d":"23.956"},{"v":0.11791155487298965,"d":"0.118"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,18,"Amp","",{"v":0.9866481312386615,"d":"0.987"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[2,"A2",false,"HAPI-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":26.0252506256104,"d":"26.025"},{"v":26.003674697876,"d":"26.004"},{"v":0.024465372785925865,"d":"0.024"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,21,"Amp","",{"v":0.9903274525370296,"d":"0.990"},"N","N","N","N",{"v":85.5337142944336,"d":"85.534"},"","",""]
[26,"C2",false,"HAPI-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":26.0086795806885,"d":"26.009"},{"v":26.003674697876,"d":"26.004"},{"v":0.024465372785925865,"d":"0.024"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,20,"Amp","",{"v":0.9811332478244761,"d":"0.981"},"N","N","N","N",{"v":85.3798828125,"d":"85.380"},"","",""]
[38,"D2",false,"HAPI-IP","SIRT6","UNKNOWN","SYBR","None","","","","","","",{"v":25.9770938873291,"d":"25.977"},{"v":26.003674697876,"d":"26.004"},{"v":0.024465372785925865,"d":"0.024"},"","","","","",true,{"v":0.5002901033430616,"d":"0.500"},true,3,18,"Amp","",{"v":0.9787978798853718,"d":"0.979"},"N","N","N","N",{"v":85.22605895996094,"d":"85.226"},"","",""]
[]
[{"$nulls":17},"FIG5D","IgG",null,null,"SIRT6"]
[{"$nulls":17},"HAPI",0.02,0.04,0.06,3.11,3.43,3.89]
[{"$nulls":17},"BMVEC",0.01,0.02,0.03,4.56,4.98,5.43]