| A. Sample details |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | TG2 | TG2-GTP | TG2-ACR | TG2-GTP-ACR |
| Organism | Homo sapiens |  |  |  |
| Source | Purification from E. coli KRX strain |  |  |  |
| Uniprot ID | P21980 |  |  |  |
| Extinction coefficient (A280nm, Abs 0.1% (w/v)) | 1.369 |  |  |  |
| Partial specific volume (cm3 g-1) | 0.735 |  |  |  |
| scattering contrast (cm-2) | 2.742×1010 |  |  |  |
| Molar mass from chemical composition (Da) | 77,258 |  |  |  |
| Initial concentration, for Injection (mg mL-1) | 5.6 |  |  |  |
| Injection Volume (mL) | 0.15 |  |  |  |
| Concentration, (mg mL-1) | 0.503-1.174 | 0.550-1.477 | 0.300-1.154 | 0.754-1.573 |
| Concentration method | UV-Vis. spectroscopy |  |  |  |
| Solvent composition | 50 mM HEPES, 100 mM NaCl, 1 mM EDTA, 5 mM DTT, 5 % Glycerol, pH 7.0 |  |  |  |
| B. SAS data collection parameters |  |  |  |  |
| Source, instrument | Photon Factory, BL-10C |  |  |  |
| Wavelength (Å) | 1.213 |  |  |  |
| Camera Length (mm) | 2,008 |  |  |  |
| Beam geometry (mm) | V0.35 × H0.55, Bent cylindrical mirror + 2 slits + 1 pinhole |  |  |  |
| q-measurement range (Å-1) | 0.0099-0.3053 | 0.0107-0.3373 | 0.0086-0.3373 | 0.0090-0.3373 |
| Absolute scaling method | Comparison with scattering from pure H2O |  |  |  |
| Basis for normalization to constant counts | Normalized to incident intensity by µ ion chamber |  |  |  |
| Method for monitoring radiation damage | data frame-by-frame comparison |  |  |  |
| Expo. time, No. of image | 20 sec, 285 |  | 20 sec, 642 |  |
| path length (mm) | 1.0 |  |  |  |
| Sample temperature (K) | 293 |  |  |  |
| C. Software employed for SAS data reduction, analysis and interpretation |  |  |  |  |
| SAS data processing | SAngler, Serial Analyzer |  |  |  |
| Calculation of contrast and PSV values | MULCh |  |  |  |
| Guinier analysis | AUTORG |  |  |  |
| Calculation of theoretical scattering curves | CRYSOL |  |  |  |
| Calculation of the volume fractions of each component in the mixture | OLIGOMER |  |  |  |
| D. Structural parameters |  |  |  |  |
| Guinier Analysis |  |  |  |  |
| I(0) (cm-1) | 0.0641 +/- 0.0007 | 0.0602 +/- 0.0002 | 0.0699 +/- 0.0004 | 0.0640 +/- 0.0001 |
| Molar mass from Absolute Scale (Da) | 94,890 | 88,960 | 103,786 | 94,890 |
| Rg (Å) | 35.0 +/- 0.8 | 32.2 +/- 0.2 | 35.5 +/- 1.0 | 31.8 +/- 0.2 |
| Q-range (Å-1) (Q×Rg) | 0.0120-0.0368 (0.42-1.29) | 0.0124-0.0402 (0.40-1.30) | 0.0103-0.0364 (0.36-1.29) | 0.0098-0.0407 (0.31-1.29) |

Table S1. SAS data acquisition, sample details, data analysis, and software used.