## MaxQuant parameters
Protein identification
PSM FDR | 1%
Protein FDR | 1%
site decoy fraction | 1%
Min peptides | 1
Min razor + unique peptides | 1
Min unique peptides | 1
Min score for unmodified peptides | 0
Min score for modified peptides | 40
Min delta score for modified peptides | 0
Main search max. combinations | 200
Base FDR calculations on delta score | off
Razor protein FDR | on
Protein Quantification
Label min ratio count | 2
peptides for quantification | unique + razor
use only unmodified peptides and modifications used in protein quantification : Oxidation (M), Acetyl (protein N-term)
Discard unmodified counterpart peptides | on
advanced ratio estimation | off
Group specific Parameters
multiplicity | 2
max labelled | 3
light labels | n/a
heavy labels | Arg10;Lys8
re-quantify | on / off see maniscript
second peptides | on
dependent peptides | off
Instrument
Instrument type | orbitrap
first search peptide tolerance | 20 ppm
main search peptide tolerance | 4.5 ppm
individual peptide mass tolerance | on
isotope match tolerance | 2ppm
centroid match tolerance | 8ppm
centroid half width | 35ppm
time valley factor | 1.4
isotope valley factor | 1.2
isotope time correction | 0.6
theoretical isotope correction | 0.6
recalibration unit | ppm
digestion | specific, trypsin/P
maximum missed cleavages | 3
Modifications
Variable modifications | Oxidation (M);Acetyl (Protein N-term)
max number of modifications per peptide | 5
Match unidentified features | FALSE
MS/MS tol. (FTMS) | 20 ppm
Top MS/MS peaks per Da interval. (FTMS) | 12
Da interval. (FTMS) | 100
MS/MS deisotoping (FTMS) | on
MS/MS deisotoping tolerance (FTMS) | 7
MS/MS deisotoping tolerance unit (FTMS) | ppm
MS/MS higher charges (FTMS) | on
MS/MS water loss (FTMS) | on
MS/MS ammonia loss (FTMS) | on
MS/MS dependent losses (FTMS) | on
MS/MS recalibration (FTMS) | off