## Irreversible depth changes
Supplementary Data 1. Irreversible pressure/depth changes detected during events
Mooring | CCE Instrument Name_deploydate | Instrument Manufacturer | Instrument Model | Height above sea floor (m) | Event Date | Date, raw time | Relevant measurement | Long term pressure before event, dBars | Long term pressure after event, dBars | DP due to event, dBars | Instrument depth before event, m | Instrument depth after event, m | DDepth due to event, m
MS1 | MBCCE_MS1_TU65m_20151006 | RBR | Virtuoso-Tu Turbidity Sensor | 65 | 2015-12-01 | 12/1/2015 between 15:36:30 and 15:39:30 | pressure (dBars) | 226.68 | 228.74 | 2.06
MS1 | MBCCE_MS1_Aquadopp20000_20151006 | Nortek | Aquadopp 2000 kHz | 9 | 2015-12-01 | 12/1/2015 between 15:36:16 and 15:38:16 | pressure (dBars) | 282.28 | 284.49 | 2.21
AMT-tripod-frame | MBCCE_AMT1_20151013 | Sonardyne | AMT Beacon 8305 | 2 | 2015-12-01 | 12/1/2015 between 15:00:00 and 15:15:00 pm | depth (m) |  |  |  | 298.6 | 300.1 | 1.5
MS1 | MBCCE_MS1_TU65m_20151006 | RBR | Virtuoso-Tu Turbidity Sensor | 65 | 2015-12-11 | 12/11/2015 between 14:15:35 and 14:18:35 | pressure (dBars) | 228.74 | 231.93 | 3.19
MS1 | MBCCE_MS1_Aquadopp20000_20151006 | Nortek | Aquadopp 2000 kHz | 9 | 2015-12-11 | 12/11/2015 between 14:16:18 and 14:18:18 | pressure (dBars) | 284.49 | 287.73 | 3.24
MS1 | MBCCE_MS1_TU65m_20151006 | RBR | Virtuoso-Tu Turbidity Sensor | 65 | 2016-01-06 | 1/6/2016 between 23:54:47 and 23:57:47 | pressure (dBars) | 231.93 | 234.79 | 2.86
MS1 | MBCCE_MS1_Aquadopp20000_20151006 | Nortek | Aquadopp 2000 kHz | 9 | 2016-01-06 | 1/6/2016 23:56:24 and 23:58:24 | pressure (dBars) | 287.73 | 290.69 | 2.96
MS1 | MBCCE_MS1_Aquadopp20000_20151006 | Nortek | Aquadopp 2000 kHz | 9 | 2016-01-15 | 1/15/2016 between 21:42:26 and 21:44:26 | pressure (dBars) | 290.69 | 484.42 | 193.73
AMT-tripod-frame | MBCCE_AMT1_20151013 | Sonardyne | AMT Beacon 8305 | 2 | 2016-01-15 | 1/15/2016 9:00:00 pm to 09:45:00 pm | depth (m) |  |  |  | 300.1 | 417.32 | 117.22
MS2 | MBCCE_MS2_ADCP300_20151005 | RD Instruments | 300kHz Workhorse ADCP | 65 | 2016-01-15 | 1/15/2016 between 22:08:59 and 22:09:29 | depth (m) |  |  |  | 463.46 | 464.33 | 0.87
MS2 | MBCCE_MS2_CTD9m_20151005 | Seabird | SBE-37 Microcat CTD | 9 | 2016-01-15 | 1/15/2016 between 22:07:03 and 22:08:03 | pressure (dBars) | 521.32 | 522.1835 | 0.8635
MS3 | MBCCE_MS3_ADCP300_20151005 | RD Instruments | 300kHz Workhorse ADCP | 65 | 2016-01-15 | 1/15/2016 between 22:32:28 and 22:32:58 | depth (m) |  |  |  | 776.04 | 782.16 | 6.12
MS3 | MBCCE_MS3_Aquadopp2000_20151005 | Nortek | Aquadopp 2000 kHz | 9 | 2016-01-15 | 1/15/2016 between 22:32:27 and 22:34:27 | pressure (dBars) | 853.84 | 860.65 | 6.81
SIN | MBCCE_SIN_CTDOBSTrans_20151013 | Seabird | Seabird SBE-16+ CTD (with transmisometer) | 0.8 | 2016-01-15 | 2016-01-15 00:02 | pressure (dBars) | 1858.7 | 1861.5 | 2.8
AMT-tripod-frame | MBCCE_AMT1_20151013 | Sonardyne | AMT Beacon 8305 | 2 | 2016-01-23 | 1/23/2016 between 18:00 PM and 18:45 PM | depth (m) |  |  |  | 416.85 | 418.96 | 2.11
AMT-tripod-frame | MBCCE_AMT1_20151013 | Sonardyne | AMT Beacon 8305 | 2 | 2016-01-23 | 1/23/2016 between 00:00 am and 00:45 am | depth (m) |  |  |  | 417.32 | 416.85 | -0.47
AMT-tripod-frame | MBCCE_AMT1_20151013 | Sonardyne | AMT Beacon 8305 | 2 | 2016-03-06 | 3/6/2016 between 9:00 am and 9:45 am | depth (m) |  |  |  | 418.96 | 418.99 | 0.03
MS1 | MBCCE_MS1_TD65m_20160404 | SeaBird | SBE-39 | 65 | 2016-09-01 | 9/1/2016 between 1:30:29 and 1:35:19 | pressure (dBars) | 224.88 | 231.44 | 6.56
MS2 | MBCCE_MS2_ADCP300_20160407 | RD Instruments | 300kHz Workhorse ADCP | 65 | 2016-09-01 | 9/1/2016 between 2:07:21 and 2:07:51 | depth (m) |  |  |  | 463.66 | 463.84 | 0.18
MS2 | MBCCE_MS2_CTD9m_20160407 | Seabird | SBE-37 Microcat CTD | 9 | 2016-09-01 | 2016-09-01 | pressure (dBars) | 516.8 | 516.84 | 0.04
MS3 | MBCCE_MS3_ADCP300_20160407 | RD Instruments | 300kHz Workhorse ADCP | 65 | 2016-09-01 | 2016-09-01 02:43 | depth (m) |  |  |  | 775.89 | 778.48 | 2.59
MS3 | MBCCE_MS3_Aquadopp2000_20160407 | Nortek | Aquadopp 2000 kHz | 9 | 2016-09-01 | 9/1/2016 2:45:23 and 2:50:23 | pressure (dBars) | 853.19 | 855.84 | 2.65
MS1 | MBCCE_MS1_TD65m_20161006 | SeaBird | SBE-39 | 65 | 2016-11-24 | 11/24/16 between 6:42:10 and 6:45:10 | pressure (dBars) | 224.22 | 228.69 | 4.47
MS1 | MBCCE_MS1_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 10 | 2016-11-24 | 11/24/16 between 6:41:48 and 6:44:48 | pressure (dBars) | 280.64 | 285.06 | 4.42
AMT-tripod-frame | MBCCE_AMT1_20161010 | Sonardyne | AMT Beacon 8305 | 2 | 2016-11-24 | 11/24/16 , between 6:45 and 7:30 | Pressure (dbars) | 301.34 | 329.81 | 28.47
MS2 | MBCCE_MS2_CTD9m_20161006 | Seabird | SBE-37 Microcat CTD | 9 | 2016-11-24 | 11/24/16 between 7:23:57 and 7:24:27 | depth (m) |  |  |  | 522.12 | 524.85 | 2.73
MS1 | MBCCE_MS1_TD65m_20161006 | SeaBird | SBE-39 | 65 | 2017-01-09 | 1/9/17 between 5:24:16 and 5:27:16 | pressure (dBars) | 228.69 | 245.59 | 16.9
MS1 | MBCCE_MS1_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 10 | 2017-01-09 | 1/9/17 between 5:23:38 and 5:26:38 | pressure (dBars) | 285.06 | 302.37 | 17.31
AMT-tripod-frame | MBCCE_AMT1_20161010 | Sonardyne | AMT Beacon 8305 | 2 | 2017-01-09 | 1/9/17, between 5:15 and 6:00 | pressure (dBars) | 329.81 | 332.75 | 2.94
MS2 | MBCCE_MS2_CTD9m_20161006 | Seabird | SBE-37 Microcat CTD | 9 | 2017-01-09 | 1/9/17 between 5:55:58 and 5:56:58 | depth (m) |  |  |  | 523.69 | 524.01 | 0.32
MS3 | MBCCE_MS3_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 9 | 2017-01-09 | 1/9/17 between 6:29:45 and 6:34:45 | pressure (dBars) | 854.08 | 854.23 | 0.15
MS1 | MBCCE_MS1_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 10 | 2017-01-21 | 1/21/17 between 15:35:36 and 15:38:36 | pressure (dBars) | 302.37 | 302.71 | 0.34
MS1 | MBCCE_MS1_TD65m_20161006 | SeaBird | SBE-39 | 65 | 2017-02-03 | 2/3/17 between 16:06:19 and 16:09:19 | pressure (dBars) | 245.59 | 246.12 | 0.53
AMT-tripod-frame | MBCCE_AMT1_20161010 | Sonardyne | AMT Beacon 8305 | 2 | 2017-02-03 | 2/3/17 between 15:45 and 16:30 | Pressure (dbars) | 332.75 | 334.43 | 1.68
MS2 | MBCCE_MS2_CTD9m_20161006 | Seabird | SBE-37 Microcat CTD | 9 | 2017-02-03 | 2/3/17 between 16:32:57 and 16:33:57 | depth (m) |  |  |  | 523.63 | 524.99 | 1.36
MS3 | MBCCE_MS3_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 9 | 2017-02-03 | 2/3/17 between 16:59:41 and 17:04:41 | pressure (dBars) | 854.23 | 854.13 | -0.1
MS1 | MBCCE_MS1_TD65m_20161006 | SeaBird | SBE-39 | 65 | 2017-02-18 | 2/18/17 between 16:45:21 and 16:48:21 | pressure (dBars) | 246.12 | 246.96 | 0.84
MS1 | MBCCE_MS1_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 10 | 2017-02-18 | 2/18/17 between 16:44:30 and 16:47:30 | pressure (dBars) | 302.96 | 303.08 | 0.12
MS3 | MBCCE_MS3_Aquadopp2000_20161006 | Nortek | Aquadopp 2000 kHz | 9 | 2017-02-18 | 2/18/17 between 17:39:58 and 17:44:58 | pressure (dBars) | 854.13 | 854.12 | 0.15