## CUGA
| Calibration Cytidine | Compound | Retention Time | area Calibration | measured conc. | Area SILIS
|  | Cal_1 | 1.72 | 69416 | 0.0016 | 24503397 | [10 empty] | Calibration Uridine | Compound | Retention Time | area Calibration | measured conc. | Area SILIS |  |  | Calibration Guanosine | Compound | Retention Time | area Calibration | measured conc. | Area SILIS |  |  | Calibration Adenosine | Compound | Retention Time | area Calibration | measured conc. | Area SILIS
|  | Cal_2 | 1.712 | 162207 | 0.0039 | 23657076 | [11 empty] | Cal_1 | 1.852 | 6557 | 0.0025 | 2259617 |  |  |  | Cal_1 | 3.639 | 50781 | 0.0014 | 14697315 |  |  |  | Cal_1 | 5.61 | 549969 | 0.0004 | 72403246
|  | Cal_3 | 1.72 | 224562 | 0.0056 | 22851677 | [11 empty] | Cal_2 | 1.835 | 12207 | 0.0029 | 3702499 |  |  |  | Cal_2 | 3.631 | 129481 | 0.0041 | 13242966 |  |  |  | Cal_2 | 5.601 | 1351755 | 0.0014 | 71804468
|  | Cal_4 | 1.72 | 645831 | 0.015 | 24625845 | [11 empty] | Cal_3 | 1.843 | 20241 | 0.0047 | 3695414 |  |  |  | Cal_3 | 3.631 | 154608 | 0.0045 | 14144479 |  |  |  | Cal_3 | 5.619 | 1724952 | 0.0018 | 73271956
|  | Cal_5 | 1.712 | 1455134 | 0.0379 | 22005521 | [11 empty] | Cal_4 | 1.843 | 45677 | 0.0117 | 3377547 |  |  |  | Cal_4 | 3.648 | 556030 | 0.0167 | 13821523 |  |  |  | Cal_4 | 5.627 | 6671810 | 0.0102 | 71108446
|  | Cal_6 | 1.712 | 2262383 | 0.0588 | 22047620 | [6 empty] | rRFN value | 1.7445 |  |  |  | Cal_5 | 1.843 | 139005 | 0.0326 | 3690082 | rRFN value | 1.1557 |  | Cal_5 | 3.631 | 1274090 | 0.0409 | 12939886 | rRFN value | 2.4095 |  | Cal_5 | 5.619 | 14927081 | 0.0283 | 70662278 | rRFN value | 2.968
|  | Cal_7 | 1.72 | 5711230 | 0.1686 | 19414504 | [11 empty] | Cal_6 | 1.844 | 209733 | 0.0498 | 3647308 |  |  |  | Cal_6 | 3.631 | 1774406 | 0.0567 | 12983212 |  |  |  | Cal_6 | 5.62 | 21494689 | 0.0451 | 70085718
|  | Cal_8 | 1.72 | 12240866 | 0.4047 | 17339472 | [11 empty] | Cal_7 | 1.826 | 623777 | 0.1478 | 3650869 |  |  |  | Cal_7 | 3.627 | 5084780 | 0.1686 | 12519314 |  |  |  | Cal_7 | 5.61 | 51535354 | 0.1692 | 58648794
|  | Cal_9 | 1.712 | 14958679 | 0.5854 | 14648129 | [11 empty] | Cal_8 | 1.843 | 1359421 | 0.3293 | 3571785 |  |  |  | Cal_8 | 3.64 | 9840294 | 0.3915 | 10430144 |  |  |  | Cal_8 | 5.619 | 84512372 | 0.3782 | 50659606
|  | Cal_10 | 1.72 | 27603288 | 1.6001 | 9889193 | [11 empty] | Cal_9 | 1.844 | 1864344 | 0.5752 | 2804303 |  |  |  | Cal_9 | 3.64 | 13913195 | 0.5866 | 9842771 |  |  |  | Cal_9 | 5.621 | 92396125 | 0.4616 | 47255456
|  | Cal_11 | 1.72 | 36774020 | 3.5511 | 5936241 | [11 empty] | Cal_10 | 1.861 | 5236027 | 1.5345 | 2952466 |  |  |  | Cal_10 | 3.648 | 32797378 | 1.7841 | 7629303 |  |  |  | Cal_10 | 5.636 | 142755578 | 1.4566 | 29222121
|  | Cal_12 | 1.72 | 42215518 | 4.9212 | 4917426 | [11 empty] | Cal_11 | 1.843 | 10863411 | 3.2781 | 2867376 |  |  |  | Cal_11 | 3.652 | 51803999 | 3.5831 | 6000213 |  |  |  | Cal_11 | 5.627 | 216502080 | 3.6029 | 21538112
[18 empty] | Cal_12 | 1.835 | 14399145 | 5.139 | 2424410 |  |  |  | Cal_12 | 3.631 | 60169159 | 4.8443 | 5154720 |  |  |  | Cal_12 | 5.619 | 239170267 | 4.941 | 18499558
| Adenosine | Compound | Retention Time | m/z (precursor) | m/z (prod.) | Area | File | A in pmol | C in pmol | G in pmol | U in pmol | gesamt | A in % | C in % | G in % | U in %
|  | A | 5.632 | 268 | 136 | 100740949 | CD3_A.d | 163.1448 | 634.9674 | 377.4947 | 516.6783 | 1692.2852 | 9.6405 | 37.5213 | 22.3068 | 30.5314
|  | A | 5.619 | 268 | 136 | 18968026 | CD3_B.d | 16.4245 | 25.2015 | 18.1753 | 18.4404 | 78.2417 | 20.9921 | 32.2098 | 23.2297 | 23.5685
|  | A | 5.624 | 268 | 136 | 15251124 | CD3_C.d | 12.7165 | 23.3093 | 12.8544 | 12.6657 | 61.5459 | 20.6618 | 37.873 | 20.8859 | 20.5793
|  | A | 5.623 | 268 | 136 | 28897426 | CD3_MMS_A.d | 26.6267 | 42.7778 | 26.164 | 23.8006 | 119.3691 | 22.3062 | 35.8366 | 21.9186 | 19.9386
|  | A | 5.621 | 268 | 136 | 19424713 | CD3_MMS_B.d | 17.2034 | 33.5245 | 19.8975 | 25.2117 | 95.8371 | 17.9506 | 34.9807 | 20.7618 | 26.3068
|  | A | 5.622 | 268 | 136 | 19530856 | CD3_MMS_C.d | 16.7551 | 32.3177 | 17.0924 | 12.1686 | 78.3337 | 21.3894 | 41.2564 | 21.82 | 15.5343
|  | A SILIS | 5.615 | 283 | 146 | 20805058 | CD3_A.d
|  | A SILIS | 5.613 | 283 | 146 | 38910356 | CD3_B.d
|  | A SILIS | 5.619 | 283 | 146 | 40408359 | CD3_C.d
|  | A SILIS | 5.612 | 283 | 146 | 36566074 | CD3_MMS_A.d
|  | A SILIS | 5.617 | 283 | 146 | 38043170 | CD3_MMS_B.d
|  | A SILIS | 5.626 | 283 | 146 | 39274410 | CD3_MMS_C.d
rRFN value | 2.968
| Cytidine | Compound | Retention Time | m/z (precursor) | m/z (prod.) | Area | File | C in pmol
|  | C | 1.703 | 244 | 112 | 49112055 | CD3_A.d | 634.9674
|  | C | 1.705 | 244 | 112 | 3051820 | CD3_B.d | 25.2015
|  | C | 1.695 | 244 | 112 | 5207083 | CD3_C.d | 23.3093
|  | C | 1.706 | 244 | 112 | 5760494 | CD3_MMS_A.d | 42.7778
|  | C | 1.689 | 244 | 112 | 6021446 | CD3_MMS_B.d | 33.5245
|  | C | 1.711 | 244 | 112 | 3518751 | CD3_MMS_C.d | 32.3177
|  | C SILIS | 1.705 | 256 | 119 | 4433694 | CD3_A.d
|  | C SILIS | 1.702 | 256 | 119 | 6941643 | CD3_B.d
|  | C SILIS | 1.697 | 256 | 119 | 12805454 | CD3_C.d
|  | C SILIS | 1.708 | 256 | 119 | 7719164 | CD3_MMS_A.d
|  | C SILIS | 1.691 | 256 | 119 | 10295971 | CD3_MMS_B.d
|  | C SILIS | 1.708 | 256 | 119 | 6241337 | CD3_MMS_C.d
rRFN value | 1.7445
| Guanosine | Compound | RT | m/z | m/z (prod.) | Area | File | G in pmol
|  | G | 3.65 | 284 | 152 | 35689421 | CD3_A.d | 377.4947
|  | G | 3.632 | 284 | 152 | 2419059 | CD3_B.d | 18.1753
|  | G | 3.636 | 284 | 152 | 1720992 | CD3_C.d | 12.8544
|  | G | 3.647 | 284 | 152 | 3544091 | CD3_MMS_A.d | 26.164
|  | G | 3.637 | 284 | 152 | 2723154 | CD3_MMS_B.d | 19.8975
|  | G | 3.641 | 284 | 152 | 2364545 | CD3_MMS_C.d | 17.0924
|  | G SILIS | 3.646 | 299 | 162 | 3923753 | CD3_A.d
|  | G SILIS | 3.632 | 299 | 162 | 5523799 | CD3_B.d
|  | G SILIS | 3.642 | 299 | 162 | 5556480 | CD3_C.d
|  | G SILIS | 3.641 | 299 | 162 | 5621769 | CD3_MMS_A.d
|  | G SILIS | 3.632 | 299 | 162 | 5679969 | CD3_MMS_B.d
|  | G SILIS | 3.633 | 299 | 162 | 5741402 | CD3_MMS_C.d
rRFN value | 2.4095
| Uridine | Compound | RT | m/z | m/z (prod.) | Area | File | U in pmol
|  | U | 1.708 | 245 | 113 | 1782915 | CD3_A.d | 516.6783
|  | U | 1.703 | 245 | 113 | 86559 | CD3_B.d | 18.4404
|  | U | 1.694 | 245 | 113 | 50862 | CD3_C.d | 12.6657
|  | U | 1.71 | 245 | 113 | 145221 | CD3_MMS_A.d | 23.8006
|  | U | 1.693 | 245 | 113 | 89529 | CD3_MMS_B.d | 25.2117
|  | U | 1.703 | 245 | 113 | 89271 | CD3_MMS_C.d | 12.1686
|  | U SILIS | 1.71 | 256 | 119 | 298578 | CD3_A.d
|  | U SILIS | 1.706 | 256 | 119 | 406153 | CD3_B.d
|  | U SILIS | 1.698 | 256 | 119 | 347465 | CD3_C.d
|  | U SILIS | 1.704 | 256 | 119 | 527946 | CD3_MMS_A.d
|  | U SILIS | 1.692 | 256 | 119 | 307262 | CD3_MMS_B.d
|  | U SILIS | 1.704 | 256 | 119 | 634773 | CD3_MMS_C.d
rRFN value | 1.1557

## ms2C
[7 empty] | n.l. =not labeled |  | CD3 = Met-d3 labeled
ms2C
[7 empty] | factor for ms2C | *0.463 | *0.464
File | Compound | Retention Time | m/z (precursor) | m/z (prod.) | Area |  |  | n.l. in fmol | CD3 in fmol |  | ms2C n.l./1000 CUGA | ms2C CD3/1000 CUGA
CD3_A.d | ms2C | 5.639 | 274 | 142 | 605 |  | CD3_A.d | 0.26151 | 4.1319 |  | 0.00015453 | 0.0024416
CD3_B.d | ms2C | 5.149 | 274 | 142 | 586 |  | CD3_B.d | 0.34336 | 0.7207 |  | 0.0043884 | 0.0092112
CD3_C.d | ms2C | 5.199 | 274 | 142 | 451 |  | CD3_C.d | 0.23507 | 0.18034 |  | 0.0038194 | 0.0029302
CD3_MMS_A.d | ms2C | 5.189 | 274 | 142 | 374165 |  | CD3_MMS_A.d | 201.6989 | 0.74499 |  | 1.6897 | 0.006241
CD3_MMS_B.d | ms2C | 5.191 | 274 | 142 | 214716 |  | CD3_MMS_B.d | 122.0457 | 0.92764 |  | 1.2735 | 0.0096793
CD3_MMS_C.d | ms2C | 5.184 | 274 | 142 | 181190 |  | CD3_MMS_C.d | 99.3646 | 0.29943 |  | 1.2685 | 0.0038224
CD3_A.d | ms2C CD3 | 4.229 | 277 | 145 | 9559 |  | incl. Factor *0.463 for ms2C
CD3_B.d | ms2C CD3 | 4.123 | 277 | 145 | 1230 |  | (standardization calculated from s2C abundance)
CD3_C.d | ms2C CD3 | 4.124 | 277 | 145 | 346
CD3_MMS_A.d | ms2C CD3 | 4.227 | 277 | 145 | 1382 |  |  | middle value |  | Stand. Dev.
CD3_MMS_B.d | ms2C CD3 | 4.127 | 277 | 145 | 1632 |  |  | n.l./1000 CUGA | CD3/1000 CUGA | n.l. | CD3
CD3_MMS_C.d | ms2C CD3 | 4.133 | 277 | 145 | 546 |  | unstressed | 0.0027875 | 0.004861 | 0.0018762 | 0.0030825
CD3_A.d | ms2C SILIS | 5.193 | 287 | 150 | 6813 |  | stressed | 1.4106 | 0.0065809 | 0.1974 | 0.0024031
CD3_B.d | ms2C SILIS | 5.182 | 287 | 150 | 5026
CD3_C.d | ms2C SILIS | 5.179 | 287 | 150 | 5650 |  |  | ms2c n.l. in % | ms2c CD3 in %
CD3_MMS_A.d | ms2C SILIS | 5.18 | 287 | 150 | 5463 |  | CD3_A.d | 0.00041185 | 0.0065072
CD3_MMS_B.d | ms2C SILIS | 5.177 | 287 | 150 | 5181 |  | CD3_B.d | 0.013625 | 0.028598
CD3_MMS_C.d | ms2C SILIS | 5.185 | 287 | 150 | 5370 |  | CD3_C.d | 0.010085 | 0.007737
[7 empty] | CD3_MMS_A.d | 4.715 | 0.017415
[7 empty] | CD3_MMS_B.d | 3.6405 | 0.02767
[7 empty] | CD3_MMS_C.d | 3.0746 | 0.0092651
[8 empty] | middle value | Stand. Dev.
[7 empty] | enz. | 0.014281 | 0.010136
[7 empty] | enz. (stress) | 0.018117 | 0.0075303
[7 empty] | MMS (stress) | 3.81 | 0.68034
| Calibration ms2C | Compound | Retention Time | area Calibration | measured conc. | Area SILIS
|  | Cal_1 | 5.091 | 727 | 0.0019 | 24509
|  | Cal_2 | 5.109 | 1240 | 0.0033 | 23703
|  | Cal_3 | 5.127 | 1937 | 0.0049 | 25085
|  | Cal_4 | 5.145 | 5593 | 0.0122 | 29184
|  | Cal_5 | 5.145 | 10601 | 0.0295 | 22896
|  | Cal_6 | 5.136 | 18058 | 0.0416 | 27615
|  | Cal_7 | 5.136 | 55170 | 0.1344 | 26106
|  | Cal_8 | 5.145 | 122528 | 0.2685 | 29026
|  | Cal_9 | 5.145 | 183984 | 0.4548 | 25733
|  | Cal_10 | 5.145 | 651914 | 1.5288 | 27122
|  | Cal_11 | 5.145 | 1438998 | 3.4567 | 26478
|  | Cal_12 | 5.145 | 2024330 | 5.0325 | 25585
[7 empty] | rRFN | 15.7221