## Supp Data File 1
Absolute protein quantification using fluorescence measurements with FPCountR
Eszter Csibra and Guy-Bart Stan
Supplementary Data File 1
Comparison of commercially available GFPs.
The properties of purified GFPs available as of May 2022 listed in order of suitability as calibrants for calibration of the mGFPmut3 protein used in this work.
The left of the table compares the GFPs in terms of their identity with FPbase-recorded protein sequences and fluorescence properties, and the right in terms of the purification and QC procedures of the supplied proteins.
1 - Slug – FPbase slug; 2 - ID – FPbase ID; 3 - EC – extinction coefficient according to FPbase; 4 - QY – quantum yield according to FPbase; 5 - Brightness – brightness according to FPbase; 6 - Ex max – maximum emission wavelength; 7 - Em max – maximum excitation wavelength;
8 - Price per calibration (10µg) in GBP – 10µg is the minimum required for a calibration using the FPCountR protocol, as dilution of 10µg/1000µl gives 10ng/µl concentration for the highest concentration, which is the recommended minimum for an accurate ECmax quantification.

## Commercial GFPs
Note | Protein | Slug1 | ID2 | EC3 | QY4 | Brightness5 | Ex max6 | Em max7 | Spectrum available? | Comments on suitability of FP for comparison with GFPmut3 | Supplier / Catalogue Number | Sequence available and verified | Purification method | Purity | QC for Purity | Format | Concentration assay | Suitable as fluorescence calibrant? | QC for light absorbance activity | QC for fluorescence activity | Listed Price (May 2022) | Price per calibration (10µg) in GBP8 | Comments on commercial FP stock | URL
GFP used in paper | GFPmut3 | gfpmut3 | A2OWC | 89400 | 0.39 | 34.866 | 500 | 513 | yes |  | None available commercially.
GFPs available commercially | EGFP | egfp | R9NL8 | 55900 | 0.6 | 33.54 | 488 | 507 | yes | Can't expect that the conversion factor will be exactly the same as GFPmut3, but it is the closest in specs to GFPmut3 of the commercial GFPs. | abcam ab51992 (previously Biovision 4999-100) | yes | His tag purification | 97% | SDS-PAGE | Lyophilised from solution in PBS | Not specified | "Suitable for calibration of fluorometers" | Not specified | Maximal excitation/emission given at 488/509 nm. Unclear if this is checked for each batch. | £315 for 100µg | 31.5 |  | https://www.abcam.com/egfp-protein-his-tag-ab51992.html
[11 empty] | abcam ab134853 | yes | His tag purification | 95% | SDS-PAGE | 1mg/ml solution in PBS/glycerol | Not specified | Not tested for fluorescence; stated purpose is as size standard for SDS-PAGE | Not specified | Not specified | £200 for 50µg | 40 | Not tested for fluorescence activity. General info section lists absorbance peak at 395nm akin to avGFP, but properties makes it clear this is EGFP, suggesting this is a mistake in the text for absorbance properties. | https://www.abcam.com/recombinantenhanced-gfp-protein-his-tag-ab134853.html
[11 empty] | Novus Bio / BioTechne (Oxford) NBP1-99915 | yes | His tag purification | 97% | SDS-PAGE | Lyophilised | Not specified | Applications include "in vitro assay". | Not specified | "Excitation and emission spectra identical to that of avGFP with excitation 488nm and emission at 507nm." Unclear if this is checked for each batch. | $449 for 100µg | 35.995 | States that spectra identical to avGFP but quotes excitation/emission maxima that are equivalent to EGFP. Protein sequence is identical to EGFP, suggesting this is a mistake in the text for calling it avGFP. | https://www.novusbio.com/products/egfp-recombinant-protein_nbp1-99915
| TurboGFP | turbogfp | A315M | 70000 | 0.53 | 37.1 | 482 | 502 | yes | Can't expect that the conversion factor will be exactly the same as GFPmut3, but should be approximately the same. | Thermo Pierce 88899 | yes | His tag purification | Not specified | Not specified | 0.5µg/ml solution | Not specified | Not specified but fluorescence spectra provided. | Not specified | Not specified | Discontinued (March 2022: £100 for 20µg) | 50 |  | https://www.thermofisher.com/order/catalog/product/88899
[11 empty] | Evrogen FP552 | yes | Lot to lot variation in tagging and purification method. | Not specified | Not specified | 1mg/ml solution in PBS | Chromophore absorption | Stated as suitable for quantitative fluoresence calibration. | Not specified | "Spectral properties identical to that of TurboGFP." Unclear if this is checked for each batch. | €130 for 100µg | 11.021 | Lot to lot variation in how it is purified. | https://evrogen.com/products/recombinants/rTurboGFP.shtml
| AcGFP1 | acgfp1 | 6ORKJ | 50000 | 0.55 | 27.5 | 475 | 505 | no | No spectra available for this AcGFP1. There are 22 amino acid changes between AcGFP1 and GFPmut3. Takara Bio's properties for AcGFP1 differs from FPbase's by >30% (EC:32,500, QY = 0.78). | TakaraBio 632502 | yes | His tag purification | Predominant band at 30-35 kDa | SDS-PAGE | 1mg/ml solution in PBS/EDTA/glycerol | Not specified | "Can be used as standard for fluorometry" | Ratio between absorbance at 280nm and 475nm verified to be >1.5. | Not specified | £430 for 100µg | 43 |  | https://www.takarabio.com/products/gene-function/fluorescent-proteins/recombinant-fluorescent-proteins
| avGFP | avgfp | 1XF1B | 25000 | 0.79 | 19.75 | 395 | 509 | yes | Absorbs more highly in the UV than at 485 nm. | abcam ab84191 | yes | Not specified, protein contains no tags | 95% | SDS-PAGE | 1mg/ml solution in Tris/glycerol | Bradford assay | "Suitable for functional studies." Includes protocol for serial dilution calibration of plate reader. | Not specified | Qualitatively determined as actively fluorescent. Excitation/Emission peaks not verified. | £280 for 100µg | 28 |  | https://www.abcam.com/recombinant-a-victoria-gfp-protein-ab84191.html
[11 empty] | Novus Bio / BioTechne (Oxford) NBC1-22949 | yes | Not specified, protein contains no tags | 95% | SDS-PAGE | 1mg/ml solution in Tris/glycerol | Not specified | Not specified. Stated applications only in PAGE (as size marker) and in immunofluorescence (as protein that binds anti-GFP antibodies). | Not specified | Not specified | $329 for 100µg | 26.375 |  | https://www.novusbio.com/products/gfp-recombinant-protein_nbc1-22949
[11 empty] | enQuire Bio / fisher scientific 16047590 | yes | His tag purification | 90% | SDS-PAGE | Solution in Tris/glycerol | Not specified | Not specified | Not specified | Not specified | £750 for 100µg | 75 |  | https://www.fishersci.co.uk/shop/products/product/16047590
[11 empty] | enQuire Bio / fisher scientific 16007600 | yes | His tag purification. Purified from yeast. | 90% | SDS-PAGE | Solution in Tris/glycerol | Not specified | Not specified | Not specified | Not specified | £850 for 100µg | 85 |  | https://www.fishersci.co.uk/shop/products/product/16007600
| Q80R | q80r | 799YV | NA | NA | NA | NA | NA | no | No information is available on EC or spectrum. | TakaraBio 632373 | yes | Proprietary purification method | Single, sharp band at 27kDa | SDS-PAGE | 1mg/ml solution in Tris/EDTA | BCA method in triplicate, correct to -+10% | "Suitable for use for fluorimeter calibration" | Not specified | Not specified | £419 for 100µg | 41.9 |  | https://www.takarabio.com/products/gene-function/fluorescent-proteins/recombinant-fluorescent-proteins
| alphaGFP | alphagfp | B28N7 | 30000 | 0.79 | 23.7 | 395 | 506 | no | Absorbs more highly in the UV than at 485 nm. | Thermo A42613 | yes | His tag purification | 90% | SDS-PAGE | Lyophilised from solution in PBS | BCA assay | Not specified | Not specified | Not specified | £139 for 50µg | 13.9 |  | https://www.thermofisher.com/antibody/product/Aequorea-victoria-GFP-His-tag-Recombinant-Protein/A42613
[11 empty] | Sino Biological / Stratech 13105-S07E | yes | Not specified | 90% | SDS-PAGE | Lyophilised or solution in PBS/trehalose/mannitol/Tween80 | Not specified | Not specified | Not specified | Not specified | £170 for 100µg | 17 | Claims to have sequence equivalent to alphaGFP but description suggests it may actually be supplier's proprietary 'GFPSpark' that is more similar to EGFP. Unclear if suitable as fluorescence calibrant. | https://www.sinobiological.com/recombinant-proteins/aequorea-victoria-gfp-13105-s07e
| GFPSpark | NA | NA | NA | NA | NA | 487 | 508 | no | No information on FPbase. Image of spectra and ex_max/em_max available from supplier. | Sino Biological / Stratech 69001-S08E | sequence available from supplier. closest sequence is EGFP (4 mismatches) | His tag purification | 97% | SDS-PAGE | Lyophilised or solution in PBS/trehalose/mannitol/Tween80 | Not specified | Not specified | Not specified | Not specified | £240 for 50µg | 48 | Based on GFP that isn't in literature. Claims to be based on avGFP based, actually based on alphaGFP according to specified Genbank sequence, final protein sequence has closest match to EGFP. Unclear if suitable as fluorescence calibrant. | https://www.sinobiological.com/recombinant-proteins/aequorea-victoria-gfp-69001-s08e