## Sheet1
Pharmacology, Bruker 500 MHz NMR (Avance III with BBO probe)
Acquisition parameters
Bruker 500, Avance III (Billerica, MA, USA), with 5 mm RT BBO probe
Field strength | ¹H | Unit
Frequency in MHz for → | 499.98 | MHz
Temperature (Kelvin) | 298.15 | Kelvin
1D ¹H NMR digital resolution | ≥0.1 Hz | Hz
Lock nucleus | ²D (deuterium)
Real data points (TD): ~64K | 65536
Pulse program: zg with flip angle | 30 | degree
Relaxation delay (d1) | 1 | s
Irradiation Freqeuncy (SFOx) | –NA– | MHz
Irradiation power level (Watts) | –NA– | W
Decoupling pulse program (CPD) | –NA–
Acquisition time (AQ) | 3.18 | s
Dwell time (DW, µsec) | 48.53 | µs
Sweep width (SW) | 20.61 | ppm
FID resolution (FIDres) | 0.3144 | Hz
Digitizer Resolution (DR) | 22
Number of transients (NS) | 64
Spectral resolution | 0.1572 | Hz
Common Processing parameters
Baseline Correction
ABSF1 (left limit) | 10 | ppm
ABSF2 (right limit) | 0 | ppm
ABSG (degree of polynomial for abs) | 5
ABSL (senstivity wrt noise) | 3
BCFW (filter width for bc) | 1 | ppm
BC_mod | quad
COROFFS (bc offset) | 0 | Hz
Fourier Transformation (FT)
FT_mod: FSC | forward, single channel, complex
GB (Gaussian Broadening) | 0 | Hz
LB (Lorentzian Broadening) | 0.3 | Hz
LPBIN (# points for linear prediction) | 0
Window function | EM
LB (Lorentzian Broadening) | 0.3 | Hz
GB (Gaussian Broadening) | 0 | Hz
SSB (shifted sine-bell function) | 0 | Hz
Phase Correction
PHC0 (0th order) | −77.603
PHC1 (1st order) | −44.428
PH_mod | no