## Sheet1
Supplementary Data 1 | SAXS results for EndoMA1
Sample name | EndoMA1
A. Sample details
Organism | Microbacterium arabinogalactanolyticum
Source | E. coli expressed
GenBank ID (residues in construct) | GLC86738.1
Extinction coefficient (A280nm, 0.1%(w/v)) | 2.643
P.S.V (cm3 g-1) | 0.727
Contrast (cm-2) | 2.955×1010
Theoretical MW (Da) | 53678
SEC-SAXS column | KW403-4F (Shodex)
Initial conc. (mg ml-1) | 2.406
Injection Volume (μL) | 130
Flow rate (ml min-1) | 0.2–0.02
Conc. range (mg ml-1) | 2.190–0.136
Solvent composition | 20 mM Tris-HCl, pH 7.5, 200 mM NaCl
Concentration method | UV-Visible spectroscopy
B. SAS data collection
Instrument | PF BL-10C
Wavelength (Å) | 1
Beam geometry (μm) | V430 × H870, Bent cylindrical mirror + 2 slits + 1 pinhole
Camera length (mm) | 2081.4
Q range (Å-1) | 0.0073–0.3997
Absolute scaling method | Comparison with scattering from 1 mm pure H2O
Exposure time (sec), No. of frames | 20, 247
Sample path length (mm) | 1
Sample temperature (K) | 293
Normalization | To transmit intensity by beam-stop counter
Method for monitoring radiation damage | Data frame-by-frame comparison
C. Software employed for SAS data reduction, analysis, and interpretation
SAS data processing | SAngler, MOLASS
Extinction coefficient estimate | ProtParam
Calculation of contrast and PSV values | MULCh
Basic analyses: (Guinier, P(r), Porod Volume) | PRIMUSqt from ATSAS 3.0.5
Shape modeling | DAMMIF module of PRIMUSqt from ATSAS 3.0.5
Atomistic modeling | CRYSOL from ATSAS 3.0.5
D. Structural parameters
Guinier Analysis
I(0) (cm-1) | 0.0854 ± 0.0002
Rg (Å) | 31.2 ± 0.1
Q-range (Å-1), Q×Rg | 0.0093–0.0415, 0.29–1.29
P(r) analysis
I(0) (cm-1) | 0.0854 ± 0.0002
Rg (Å) | 31.1 ± 0.1
Dmax (Å) | 104
Q-range (Å-1) | 0.0093–0.2563
Porod volume (Å-3) | 131472
Molar mass from I(0) (*) | 110,914 (2.066)
E. Shape modeling results
DAMMIF (default parameters, 20 calculations)
Q-range for fitting | 0.0093-0.2563
Symmetry, anisotropy | P1, none
NSD (standard deviation), clusters | 0.941 (0.027), 1
χ2 range | 0.073–0.076
Model Mm (×0.5 Vmodel) (Da) | 84000
Model resolution (Å) | 50
DAMMIN (default parameters)
Q-range for fitting | 0.0093-0.2563
Symmetry, anisotropy | P1, none
χ2 value, CORMAP P-value | 0.059, 0.014
Constant adjustment to intensities | 1.061×10-4
F. Atomistic modeling
Crystal structure | PDB entry 8HHV
Q-range for all modeling | 0.0093-0.3997
CRYSOL (default parameters, Constant subtraction allowed)
χ2 value, P-value | 0.065, 0.00
Predicted Rg (Å) | 31
Vol (Å), Ra (Å), Dro (e Å-3) | 129,563, 1.400, 0.025
G. SASBDB ID
EndoMA1 apo | SASDQQ8
* Ratio to the expected value.