## Supplementary Data 4
Supplementary Data 4. The summary of metrics values and metrics scores report from MSCohort of 20 LC-MS platforms. The table on the left displays Metrics-values, with cells shaded in pink indicating lower performance of the metric in this experiment. The table on the right displays Metrics-scores, and we use different colors to indicate metric performance as “Good”, “Acceptable” and “Poor” (divided by the score results, a score of above 4 is "Good", 2 to 4 is "Acceptable", and below 2 is "Poor"). "-" represents the metrics in this experiment is not extracted.
| Metrics-Values | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | U01 | U02 | U03 | U04 | U05 | U06 | U07 | U08 | U09 | U10 | Metrics-Scores | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | U01 | U02 | U03 | U04 | U05 | U06 | U07 | U08 | U09 | U10
| File name | M01_QEHF_DIA_R1.raw | M02_timsPro_DIA_R1.d | M03_E480withFAIMS_DIA_R1.raw | M04_E480withFAIMS_DIA_R1.raw | M05_Eclipse_DIA_R1.raw | M06_Eclipse_DIA_R1.raw | M07_Eclipse_DIA_R1.raw | M08_Eclipse_DIA_R1.raw | M09_E240_DIA_R1.raw | M10_zenoTOF7600_DIA_R1.wiff | U01_QEHF_DIA_R1.raw | U02_Lumos_DIA_R1.raw | U03_Lumos_DIA_R1.raw | U04_E480_DIA_R1.raw | U05_E480_DIA_R1.raw | U06_E480_DIA_R1.raw | U07_E240_DIA_R1.raw | U08_timsPro2_DIA_R1.d | U09_timsPro2_DIA_R1.d | U10_zenoTOF7600_DIA_R1.wiff | File name | M01_QEHF_DIA_R1.raw | M02_timsPro_DIA_R1.d | M03_E480withFAIMS_DIA_R1.raw | M04_E480withFAIMS_DIA_R1.raw | M05_Eclipse_DIA_R1.raw | M06_Eclipse_DIA_R1.raw | M07_Eclipse_DIA_R1.raw | M08_Eclipse_DIA_R1.raw | M08_E240_DIA_R1.raw | M10_zenoTOF7600_DIA_R1.wiff | U01_QEHF_DIA_R1.raw | U02_Lumos_DIA_R1.raw | U03_Lumos_DIA_R1.raw | U04_E480_DIA_R1.raw | U05_E480_DIA_R1.raw | U06_E480_DIA_R1.raw | U07_E240_DIA_R1.raw | U08_timsPro2_DIA_R1.d | U09_timsPro2_DIA_R1.d | U10_zenoTOF7600_DIA_R1.wiff
Total Score | Total Score | [20 empty] | Total Score | 4.584 | 4.0004 | 3.2562 | 3.517 | 4.5417 | 3.8172 | 4.6211 | 4.2049 | 4.0298 | 4.0788 | 4.6643 | 4.6747 | 4.6494 | 4.8391 | 4.7534 | 4.9017 | 4.576 | 4.5261 | 4.0834 | 4.1928
Sample | S1. Missed cleavages(n=0) of peptides | 93.12% | 95.51% | 90.73% | 94.45% | 90.92% | 91.61% | 93.54% | 93.58% | 95.04% | 93.48% | 85.91% | 87.06% | 90.06% | 88.43% | 87.35% | 86.66% | 87.69% | 87.64% | 89.37% | 91.87% | S1. Missed cleavages(n=0) of peptides | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| S2. Median peptide length | 10 | 10 | 11 | 10 | 10 | 10 | 10 | 10 | 11 | 10 | 11 | 10 | 11 | 11 | 11 | 10 | 11 | 11 | 11 | 11 | S2. Median peptide length | 5 | 5 | 4.6 | 5 | 5 | 5 | 5 | 5 | 4.6 | 5 | 4.6 | 5 | 4.6 | 4.6 | 4.6 | 5 | 4.6 | 4.6 | 4.6 | 4.6
| S3. Median Total Ion Current (TIC) | 1439000000000 | 32280000000 | 334400000000 | 662400000000 | 7805000000000 | 2893000000000 | 1846000000000 | 1289000000000 | 1179000000000 | 18480000000 | 2210000000000 | 1318000000000 | 2728000000000 | 1607000000000 | 2103000000000 | 3113000000000 | 1248000000000 | 32070000000 | 23970000000 | 15760000000 | S3. Median Total Ion Current (TIC) | 4.6 | 5 | 1 | 1.2 | 5 | 5 | 5 | 4.1 | 3.7 | 5 | 5 | 4.2 | 5 | 5 | 5 | 5 | 4 | 5 | 4.3 | 5
Chromatography | C1. Chromatographic invalid acquiring time(min) | 6 | 4 | 4 | 7 | 5 | 2 | 1 | 2 | 13 | 4 | 1 | 0.25981 | 1 | 1 | 4 | 2 | 1 | 1 | 1 | 1 | C1. Chromatographic invalid acquiring time(min) | 2.8 | 3.7 | 3.7 | 2.3 | 3.2 | 4.6 | 5 | 4.6 | 1 | 3.7 | 5 | 5 | 5 | 5 | 3.7 | 4.6 | 5 | 5 | 5 | 5
| C2. Median of full width at half maximum (FWHM)(min) | 0.11 | 0.04 | 0.14 | 0.25 | 0.06 | 0.11 | 0.05 | 0.14 | 0.1 | 0.07 | 0.12 | 0.13 | 0.14 | 0.13 | 0.11 | 0.12 | 0.12 | 0.1 | 0.08 | 0.1 | C2. Median of full width at half maximum (FWHM)(min) | 5 | 5 | 4 | 1 | 5 | 5 | 5 | 4 | 5 | 5 | 5 | 4.5 | 4 | 4.5 | 5 | 5 | 5 | 5 | 5 | 5
| C3. Median of peak width(min) | 0.19 | 0.06 | 0.23 | 0.42 | 0.1 | 0.17 | 0.09 | 0.22 | 0.17 | 0.1 | 0.21 | 0.22 | 0.22 | 0.2 | 0.2 | 0.2 | 0.2 | 0.14 | 0.1 | 0.13 | C3. Median of peak width(min) | 5 | 5 | 4.4 | 1 | 5 | 5 | 5 | 4.6 | 5 | 5 | 4.8 | 4.6 | 4.6 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| C4. Proportion of peptides with long eluting width | 0.07% | 0.0001 | 0.02% | 0.46% | 0.02% | 0.05% | 0.03% | 0.28% | 0.01% | 0% | 0.13% | 0.18% | 0.24% | 0.12% | 0.13% | 0.16% | 0.21% | 0.03% | 0.02% | 0.0004 | C4. Proportion of peptides with long eluting width | 5 | 5 | 5 | 1.4 | 5 | 5 | 5 | 3.2 | 5 | 5 | 4.7 | 4.2 | 3.6 | 4.8 | 4.7 | 4.4 | 3.9 | 5 | 5 | 5
| C5. Median precursors identified over RT | 899 | 430 | 372 | 554 | 899 | 455.5 | 975.5 | 635 | 540 | 725 | 786.5 | 744 | 789 | 897 | 832 | 955 | 687 | 748 | 602 | 775 | C5. Median precursors identified over RT | 5 | 1.3 | 1 | 1.7 | 5 | 1 | 5 | 2.8 | 1.5 | 3.5 | 4.4 | 3.9 | 4.8 | 5 | 5 | 5 | 2.7 | 4 | 3 | 4.5
| C6. Max. identification rate over RT | 0.9194 | 0.9652 | 0.7393 | 0.9339 | 0.9987 | 0.9469 | 0.9792 | 0.8293 | 0.9304 | 0.7326 | 0.879 | 0.9125 | 0.9176 | 0.9466 | 0.9008 | 0.9494 | 0.9105 | 0.7696 | 0.7141 | 0.8784 | C6. Max. identification rate over RT | 5 | 5 | 1 | 5 | 5 | 5 | 5 | 3.1 | 5 | 3.7 | 4.4 | 5 | 5 | 5 | 5 | 5 | 5 | 4.4 | 3.3 | 5
MS2 Windows | W1. Acquired MS2 scans in one cycle | 60 | 32 | 36 | 80 | 24 | 31 | 36 | 75 | 40 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 50 | 50 | 80 | W1. Acquired MS2 scans in one cycle | 5 | 2.2 | 5 | 5 | 2.9 | 3.8 | 4.5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 3 | 4 | 5
| W2. Median of window size (Da) | 21 | 13 | 26 | 19 | 26 | 22 | 19.5 | 6.7 | 20 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 16 | 16 | 6 | W2. Median of window size (Da) | 3.5 | 4.9 | 2.9 | 3.8 | 2.9 | 3.4 | 3.7 | 5 | 3.7 | 5 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.2 | 4.2 | 5
| W3. Redundant identified precursors/ Identified Scan Rate | 2.95 | 2.86 | 4.7907 | 3.4335 | 4.7111 | 3.0641 | 2.85 | 2.6024 | 4.613 | 1.8 | 2.1457 | 2.3208 | 2.3761 | 2.7061 | 2.4124 | 2.5984 | 2.3623 | 3.83 | 3 | 2.21 | W3. Redundant identified precursors/ Identified Scan Rate | 5 | 3.5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2.1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4.8 | 3.7 | 2.6
| W4. Redundant identified precursors/ Identified precursors Rate | 1.38 | 4.27 | 5.34 | 3.56 | 3.41 | 4.16 | 1.87 | 1.9 | 3.41 | 4.06 | 1.34 | 1.36 | 1.37 | 1.62 | 1.44 | 1.53 | 1.59 | 6.08 | 4.65 | 4.13 | W4. Redundant identified precursors/ Identified precursors Rate | 5 | 4.8 | 1.7 | 3.4 | 3.6 | 2.8 | 5 | 5 | 3.6 | 2.9 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 3.6 | 4.6 | 2.9
| W5. Identified precursors/ identified scan rate | 2.14 | 0.67 | 0.9 | 0.96 | 1.38 | 0.74 | 1.52 | 1.37 | 1.35 | 0.44 | 1.6 | 1.71 | 1.73 | 1.67 | 1.68 | 1.7 | 1.49 | 0.63 | 0.64 | 0.54 | W5. Identified precursors/ identified scan rate | 5 | 4.7 | 1 | 1 | 4 | 1 | 5 | 4 | 3.8 | 2.4 | 5 | 5 | 5 | 5 | 5 | 5 | 4.9 | 4.3 | 4.4 | 3.4
| W6. MS1 data point per peak | 6 | 4 | 3 | 8 | 3 | 4 | 2 | 6 | 3 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 4 | 4 | W6. MS1 data point per peak | 5 | 3.4 | 3.7 | 5 | 3.7 | 5 | 2.3 | 5 | 3.7 | 3.4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 3.4 | 3.4
| W7. MS2 data point per peak | 1 | 4 | 3 | 1 | 3 | 4 | 2 | 2 | 3 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 6 | 4 | 4 | W7. MS2 data point per peak | 5 | 5 | 5 | 5 | 5 | 3.7 | 5 | 5 | 5 | 3 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4.2 | 5 | 5
Ion Source | IS1. 1+/2+ ions detected | 1.77 | - | 0.7 | 0.97 | 1.55 | 1.75 | 1.37 | 1.18 | 1.37 | - | 0.98 | 1.76 | 2.44 | 1.39 | 1.4 | 1.26 | 1.19 | - | - | - | IS1. 1+/2+ ions detected | 3.5 | - | 5 | 5 | 3.9 | 3.7 | 5 | 4.9 | 4.4 | - | 5 | 3.4 | 2 | 4.4 | 4.4 | 4.7 | 5 | - | - | 2.3
| IS2. 3+/2+ ions detected | 0.29 | - | 0.32 | 0.34 | 0.33 | 0.54 | 0.27 | 0.45 | 0.48 | - | 0.47 | 0.36 | 0.4 | 0.33 | 0.39 | 0.41 | 0.6 | - | - | - | IS2. 3+/2+ ions detected | 3.7 | - | 3.7 | 4.3 | 4.3 | 5 | 3.5 | 5 | 5 | - | 5 | 4.7 | 5 | 4.2 | 4.9 | 5 | 5 | - | - | 5
| IS3. 4+/2+ ions detected | 0.03 | - | 0.02 | 0.04 | 0.04 | 0.1 | 0.03 | 0.07 | 0.08 | - | 0.08 | 0.05 | 0.06 | 0.03 | 0.04 | 0.06 | 0.13 | - | - | - | IS3. 4+/2+ ions detected | 5 | - | 2 | 4 | 5 | 5 | 4 | 5 | 5 | - | 5 | 5 | 5 | 5 | 5 | 5 | 5 | - | - | 5
| IS4. Median precursor m/z | 581.306 | 568.773 | 589.677 | 573.807 | 579.822 | 557.827 | 578.785 | 569.951 | 613.349 | 542.301 | 602.798 | 597.965 | 601.28 | 609.474 | 604.086 | 584.801 | 583.285 | 617.517 | 594.302 | 591.309 | IS4. Median precursor m/z | 5 | 5 | 4.9 | 5 | 5 | 5 | 5 | 5 | 4.7 | 5 | 4.8 | 4.8 | 4.8 | 4.7 | 4.8 | 5 | 5 | 4.6 | 4.9 | 4.9
MS1 and MS2 Signal | M1. Proportion of MS1 time | 0.13 | 0.11 | 0.06 | 0.17 | 0.14 | 0.16 | 0.09 | 0.19 | 0.1 | 0.03 | 0.11 | 0.17 | 0.13 | 0.13 | 0.14 | 0.13 | 0.13 | 0.07 | 0.07 | 0.02 | M1. Proportion of MS1 time | 5 | 4.8 | 5 | 3.7 | 4.7 | 4 | 5 | 3 | 5 | 5 | 5 | 3.7 | 5 | 5 | 4.7 | 5 | 5 | 5 | 5 | 5
| M2. Median MS1 ion injection time(ms) | 4.25 | - | 20 | 9.11 | 0.83 | 3.46 | 2.24 | 1.15 | 5.46 | - | 0.65 | 4.32 | 3.37 | 3.36 | 2.1 | 1.41 | 2.54 | - | - | - | M2. Median MS1 ion injection time(ms) | 4.8 | - | 1 | 1.6 | 5 | 5 | 5 | 5 | 4 | - | 5 | 4.8 | 5 | 5 | 5 | 5 | 5 | - | - | -
| M3. Median MS2 ion injection time(ms) | 55 | - | 50 | 50 | 31.51 | 7.46 | 54 | 54 | 55 | - | 25.58 | 50 | 27.84 | 50 | 50 | 50 | 50 | - | - | - | M3. Median MS2 ion injection time(ms) | 5 | - | 5 | 5 | 3.4 | 1.2 | 5 | 5 | 5 | - | 2.8 | 5 | 3 | 5 | 5 | 5 | 5 | - | - | -
| M4. MS1 cycle time(s) | 2.08 | 0.96 | 2.54 | 1.69 | 1.93 | 2.53 | 2.82 | 2.24 | 3.14 | 1.55 | 2.26 | 2.34 | 2.32 | 2.09 | 2.08 | 2.09 | 2.09 | 1.5 | 1.5 | 2.1 | M4. MS1 cycle time(s) | 5 | 5 | 4.9 | 5 | 5 | 5 | 4.5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| M5. MS2 cycle time(s) | 6.24 | 0.96 | 2.54 | 6.8 | 1.93 | 2.53 | 2.82 | 6.7 | 3.14 | 1.55 | 6.87 | 7.12 | 7.09 | 6.41 | 6.36 | 6.4 | 6.41 | 1.5 | 1.5 | 2.1 | M5. MS2 cycle time(s) | 5 | 5 | 5 | 5 | 2.2 | 3 | 3.4 | 5 | 3.9 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| M6. Median peaks intensity of MS1 | 873000000 | 5932000 | 90580000 | 346200000 | 3422000000 | 1047000000 | 891500000 | 762300000 | 733400000 | 1541000 | 1704000000 | 927000000 | 1825000000 | 1019000000 | 1565000000 | 2275000000 | 769700000 | 10240000 | 11190000 | 2624000 | M6. Median peaks intensity of MS1 | 4.8 | 5 | 1 | 3.2 | 5 | 5 | 4.8 | 4.5 | 4.5 | 4.2 | 5 | 4.9 | 5 | 5 | 5 | 5 | 4.5 | 5 | 5 | 4.8
| M7. Median peaks number of MS1 | 2031 | 32811 | 768 | 1481 | 1530 | 2516.5 | 1052 | 1052.5 | 1411 | 4552 | 1096 | 2207 | 3499 | 1661 | 1568 | 1624 | 1643 | 26476.5 | 42613.5 | 7852 | M7. Median peaks number of MS1 | 5 | 5 | 1 | 4.9 | 5 | 5 | 2.4 | 2.4 | 4.5 | 2.5 | 2.7 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4.3
| M8. Median peaks number of MS2 | 370 | 964 | 71 | 101 | 1130 | 260.5 | 447 | 169 | 322 | 478 | 216 | 308 | 345 | 324 | 353 | 404 | 419 | 2754 | 887 | 603 | M8. Median peaks number of MS2 | 5 | 5 | 1 | 1 | 5 | 3.6 | 5 | 1.4 | 5 | 3.4 | 2.6 | 4.7 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| M9. Median peaks intensity of MS2 | 4402000 | 76290 | 494500 | 484700 | 69810000 | 22090000 | 10210000 | 2032000 | 2898000 | 78330 | 6623000 | 6104000 | 10490000 | 5304000 | 6464000 | 7749000 | 5075000 | 176100 | 76670 | 80310 | M9. Median peaks intensity of MS2 | 4.4 | 5 | 1 | 1 | 5 | 5 | 5 | 3 | 3.6 | 4.6 | 5 | 4.9 | 5 | 4.7 | 5 | 5 | 4.6 | 5 | 5 | 4.6
| M10. Identified / detected features | 0.79 | 0.55 | 0.94 | 0.59 | 0.94 | 0.92 | 0.89 | 0.59 | 0.87 | - | 0.78 | 0.81 | 0.79 | 0.85 | 0.83 | 0.85 | 0.78 | - | - | - | M10. Identified / detected features | 4.4 | - | 5 | 2.8 | 5 | 5 | 5 | 2.8 | 5 | - | 4.3 | 4.5 | 4.2 | 5 | 4.7 | 5 | 4.4 | - | - | -
| M11. Signal to noise（S/N）for precursors | 9.73 | 15.12 | 9.22 | 14.06 | 10.83 | 6.28 | 12.58 | 9.18 | 9.21 | 11.04 | 16.55 | 14.58 | 11.37 | 10.63 | 10.99 | 11.89 | 9.14 | 11.48 | 9.02 | 11.87 | M11. Signal to noise（S/N）for precursors | 4.7 | 5 | 4.1 | 5 | 5 | 1 | 5 | 4.1 | 4.1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 5 | 3.9 | 5
| M12. Median of MS1 raw mass accuracy (ppm) | 0.85 | 1.01 | 0.06 | 0.52 | 1.08 | 4.32 | 1.31 | 0 | 0.15 | 2.64 | 0.56 | 0.23 | 0.76 | 0 | 1.93 | 1.1 | 3.51 | 1.26 | 1.81 | 5.06 | M12. Median of MS1 raw mass accuracy(ppm) | 5 | 5 | 5 | 5 | 4.9 | 1.7 | 4.7 | 5 | 5 | 4.7 | 5 | 5 | 5 | 5 | 4.1 | 4.9 | 2.5 | 4.7 | 4.2 | 3.5
| M13. Median of MS2 raw mass accuracy (ppm) | 0.08 | 1.69 | 0.07 | 0.52 | 1.39 | 3.77 | 0.77 | 1.99 | 0.67 | 2.71 | 0.44 | 0.14 | 0.14 | 0.94 | 0.62 | 1.9 | 2.4 | 0.94 | 2.48 | 1.03 | M13. Median of MS2 raw mass accuracy(ppm) | 5 | 4.3 | 5 | 5 | 4.6 | 2.2 | 5 | 4 | 5 | 4.6 | 5 | 5 | 5 | 5 | 5 | 4.1 | 3.6 | 5 | 3.5 | 5
| M14. Median intensities for precursors | 4474 | 38.63 | 5964 | 5611 | 15780 | 14990 | 4498 | 5220 | 6452 | 84.68 | 7225 | 4985 | 11720 | 4180 | 3888 | 5694 | 4016 | 54.54 | 39.35 | 79.36 | M14. Median intensities for precursors | 4.4 | 2.6 | 4.9 | 4.8 | 5 | 5 | 4.4 | 4.7 | 5 | 3.5 | 5 | 4.6 | 5 | 4.3 | 4.2 | 4.8 | 4.2 | 3 | 2.6 | 3.4
| M15. Median intensities for peptides | 4328 | 40.68 | 6344 | 5910 | 15730 | 16380 | 4588 | 5359 | 6923 | 85.94 | 7260 | 4865 | 11660 | 4054 | 3835 | 5700 | 4085 | 58.35 | 41.85 | 78.7 | M15. Median intensities for peptides | 4.3 | 2.6 | 5 | 4.9 | 5 | 5 | 4.4 | 4.7 | 5 | 3.5 | 5 | 4.5 | 5 | 4.2 | 4.1 | 4.8 | 4.2 | 3 | 2.7 | 3.4
| M16. Median intensities for protein groups | 5341 | 53.51 | 9244 | 6571 | 17460 | 14790 | 5382 | 5206 | 6390 | 71.48 | 9280 | 5651 | 14180 | 4405 | 3834 | 6269 | 3837 | 71.72 | 42.79 | 78.3 | M16. Median intensities for protein groups | 4.7 | 2.9 | 5 | 5 | 5 | 5 | 4.7 | 4.7 | 5 | 3.3 | 5 | 4.8 | 5 | 4.4 | 4.1 | 5 | 4.1 | 3.3 | 2.7 | 3.4
| M17. Acquired MS1 scans per minute | 29.83 | 64.1 | 23.87 | 36.38 | 31.03 | 23.73 | 21.3 | 26.87 | 19.59 | 38.83 | 26.23 | 25.3 | 25.4 | 29.03 | 29.28 | 28.13 | 29.03 | 41.38 | 41.38 | 28.63 | M17. Acquired MS1 scans per minute | 5 | 5 | 4.5 | 5 | 5 | 4.4 | 3.4 | 5 | 2.6 | 4.8 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2.7
| M18. Acquired MS2 scans per minute | 596.48 | 2051.17 | 858.67 | 727.07 | 744.8 | 735.73 | 766.8 | 671.67 | 782.76 | 3106.67 | 698.7 | 674.67 | 677.33 | 773.83 | 780 | 749.4 | 773.93 | 2070.07 | 2069.76 | 2290.67 | M18. Acquired MS2 scans per minute | 2.9 | 5 | 5 | 5 | 5 | 5 | 5 | 4.4 | 5 | 5 | 5 | 4.5 | 4.5 | 5 | 5 | 5 | 5 | 5 | 5 | 3.1
| M19. MS2 identification rate | 0.65 | 0.48 | 0.49 | 0.64 | 0.77 | 0.81 | 0.75 | 0.64 | 0.5 | 0.45 | 0.69 | 0.68 | 0.67 | 0.73 | 0.66 | 0.74 | 0.7 | 0.63 | 0.53 | 0.62 | M19. MS2 identification rate | 4 | 2.8 | 1 | 3.8 | 5 | 5 | 5 | 3.8 | 1 | 2.5 | 4.8 | 4.6 | 4.4 | 5 | 4.2 | 5 | 5 | 3.6 | 3.3 | 4.2
| M20. Max. identificatied precursors rate over M/Z range | 2.57 | 0.44 | 0.71 | 0.81 | 1.28 | 0.86 | 1.5 | 1.47 | 1.41 | 0.37 | 1.8 | 1.99 | 1.74 | 2.19 | 1.93 | 1.8 | 1.35 | 0.84 | 0.8 | 0.46 | M20. Max. identificatied precursors rate over M/Z range | 5 | 1.3 | 1 | 1 | 3.5 | 1 | 5 | 4.8 | 4.4 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 3.7 | 3.7 | 2.6
Identification Result | ID1. Identified MS2 scans | 11237 | 28796 | 12705 | 13483 | 17177 | 17845 | 17361 | 12976 | 11265 | 41946 | 14400 | 13725 | 13675 | 16275 | 14940 | 16568 | 15612 | 37776 | 31983 | 42625 | ID1. Identified MS2 scans | 1.49 | 5 | 2.08 | 2.39 | 3.87 | 4.14 | 3.94 | 2.19 | 1.51 | 5 | 2.76 | 2.49 | 2.47 | 3.51 | 2.98 | 3.63 | 3.24 | 5 | 5 | 5
| ID2: Number of precursors | 24021 | 19294 | 11398 | 13004 | 23731 | 13144 | 26459 | 17773 | 15239 | 18553 | 23058 | 23421 | 23718 | 27186 | 25029 | 28137 | 23195 | 23772 | 20629 | 22832 | ID2: Number of precursors | 5 | 4.72 | 1.56 | 2.2 | 5 | 2.26 | 5 | 4.11 | 3.1 | 4.42 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| ID3: Number of peptides | 17468 | 17291 | 9816 | 11440 | 18600 | 10937 | 20990 | 15692 | 11698 | 15330 | 18147 | 18696 | 19296 | 21467 | 19664 | 22507 | 18286 | 21224 | 18632 | 17720 | ID3: Number of peptides | 3.99 | 3.92 | 1 | 1.58 | 4.44 | 1.37 | 5 | 3.28 | 1.68 | 3.13 | 4.26 | 4.48 | 4.72 | 5 | 4.87 | 5 | 4.31 | 5 | 4.45 | 4.09
| ID4. Number of protein groups | 3191 | 3695 | 2366 | 2682 | 3321 | 2592 | 3689 | 3180 | 2550 | 3003 | 3371 | 3335 | 3533 | 3609 | 3448 | 3631 | 3393 | 3767 | 3515 | 3453 | ID4. Number of protein groups | 5 | 5 | 2.46 | 3.73 | 5 | 3.37 | 5 | 5 | 3.2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| ID5. Number of proteins | 3299 | 3805 | 2456 | 2802 | 3425 | 2666 | 3810 | 3280 | 2612 | 3096 | 3455 | 3414 | 3630 | 3699 | 3538 | 3719 | 3479 | 3857 | 3602 | 3539 | ID5. Number of proteins | 5 | 5 | 2.82 | 4.21 | 5 | 3.66 | 5 | 5 | 3.45 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| ID6. AVG peptides per protein group | 5.47 | 4.68 | 4.15 | 4.27 | 5.6 | 4.22 | 5.69 | 4.93 | 4.59 | 5.1 | 5.38 | 5.61 | 5.46 | 5.95 | 5.7 | 6.2 | 5.39 | 5.63 | 5.3 | 5.13 | ID6. AVG peptides per protein group | 3.94 | 2.36 | 1.3 | 1.54 | 4.2 | 1.44 | 4.38 | 2.86 | 2.18 | 3.2 | 3.76 | 4.22 | 3.92 | 4.9 | 4.4 | 5 | 3.78 | 4.26 | 3.6 | 3.26
| ID7. AVG precursors per protein group | 7.53 | 5.22 | 4.82 | 4.85 | 7.15 | 5.07 | 7.17 | 5.59 | 5.98 | 6.18 | 6.84 | 7.02 | 6.71 | 7.53 | 7.26 | 7.75 | 6.84 | 6.31 | 5.87 | 6.61 | ID7. AVG precursors per protein group | 4.53 | 2.22 | 1.82 | 1.85 | 4.15 | 2.07 | 4.17 | 2.59 | 2.98 | 3.18 | 3.84 | 4.02 | 3.71 | 4.53 | 4.26 | 4.75 | 3.84 | 3.31 | 2.87 | 3.61