## Supplementary Table 1
Parental ssDNA | Mean Diff. | 95.00% CI of diff. | Below threshold? | Summary | Adjusted P Value
Total gDNA Average vs. Nascent | 0.6477 | 0.1637 to 1.132 | Yes | ** | 0.0069
Total gDNA Average vs. 30 min | 0.6973 | 0.2134 to 1.181 | Yes | ** | 0.0038
Total gDNA Average vs. 1 h | 0.358 | -0.1260 to 0.8420 | No | ns | 0.1999
Total gDNA Average vs. 2 h | 0.1503 | -0.3336 to 0.6343 | No | ns | 0.8969
Total gDNA Average vs. 4 h | 0.1363 | -0.3476 to 0.6203 | No | ns | 0.9314
Total gDNA Average vs. 6 h | 0.101 | -0.3830 to 0.5850 | No | ns | 0.9839
Total gDNA Average vs. 8 h | 0.1583 | -0.3256 to 0.6423 | No | ns | 0.8739
Supplementary Table 1. One-way ANOVA results comparing parental ssDNA 5mC measurements to the total gDNA average.

## Supplementary Table 2
| Time | A | B | Flow
1 | 0.00 min | 99.9% | 0.1% | 0.400 mL/min
2 | 4.00 min | 99.9% | 0.1% | 0.400 mL/min
3 | 14.00 min | 80% | 20% | 0.400 mL/min
4 | 14.50 min | 0% | 100% | 0.400 mL/min
5 | 15.50 min | 0% | 100% | 0.400 mL/min
6 | 16.00 min | 99.9% | 0.1% | 0.400 mL/min
Stop time | 20.00 min
Supplementary Table 2. Chromatographic timetable used for iDEMS.

## Supplementary Table 3
Parameter | Details
Mode | Positive electrospray ionisation
Gas Temperature | 130 °C
Gas flow | 20 L/min
Nebulizer | 55 psi
Sheath gas temperature | 400 °C
Sheath gas flow | 12 L/min
Capillary voltage | Positive 2000V, Negative 3000V
Ion Funnel Parameters | Positive Low Pressure RF | 60
| Positive High Pressure RF | 110
| Negative Low Pressure RF | 60
| Negative High Pressure RF | 110
Supplementary Table 3. Summary of LC-MS parameters.

## Supplementary Table 4
Species | Precursor m/z | Product m/z | Collision energy | Dwell time | Cell accelerator voltage | Frag (V)
5hmdC Na | 280.1 | 164.1 | 10 | 100 | 5 | 330
5hmdC Na h | 284.1 | 168.1 | 10 | 80 | 5 | 330
5hm*dC Na | 283.1 | 167.1 | 10 | 100 | 5 | 330
dC Na | 250.1 | 134.1 | 8 | 80 | 5 | 330
dC Na h | 262.1 | 141.1 | 8 | 80 | 5 | 330
5mdC Na | 264.1 | 148.1 | 10 | 100 | 5 | 330
5m*dC Na | 268.1 | 152.1 | 10 | 100 | 5 | 330
dG Na | 290.1 | 174.1 | 10 | 80 | 5 | 330
dG Na h | 305.1 | 184.1 | 10 | 80 | 5 | 330
Supplementary Table 4. Summary of compound dependent parameters used in iDEMS. (*) Heavy labelled nucleotides feeding cell with (13C,d3-methyl)-L-methionine; (h) Isotope-labelled internal standard used for quantification.