## Light microscopy
Light microscopy reporting table
Please fill out each cell as directed, instructions in italics can be deleted as you complete each cell.
Hardware
Instrument and Camera | Keyence BZ-X800 fluorescence microscope (built-in camera)
Resolution | 20× (NA 0.75), 60× (NA 1.40) objectives (yielding 200× and 600× magnification)
Filters and Light Sources | Please list the wavelength of laser lines and/or illumination source and filter sets.
Quality Control
Is this the first report of the instrument? If yes, response to the below points is required and providing validation data is encouraged.
Yes | FALSE
No | TRUE
For all instruments, confirm that the following quality control processes were run:
n/a | Confirmed
FALSE | TRUE | Field homogeneity is assessed.
FALSE | TRUE | Illumination power stability is tested.
FALSE | TRUE | Stage drift is assessed.
FALSE | TRUE | Camera/detector noise is measured.
Methodology
Sample preparation and imaging | Femurs perfused with PBS, fixed in 4% paraformaldehyde, frozen sections prepared. Antigen retrieval with proteinase K (1 µg/ml in TE buffer, 30 min, 37 °C). Blocking with Universal Blocking Reagent (BioGenex). Primary antibodies: anti-Endomucin, lineage mix (BioLegend, 1:200), IL-7R, Sca-1 (BioLegend, 1:200), PE-CD34 (BioLegend, 1:200), Alexa Fluor 647-Kit (Invitrogen, 1:200), anti-GPC3. Secondary antibodies: donkey anti-goat Alexa Fluor 555 (Invitrogen, 1:500), goat anti-rabbit Alexa Fluor 750 (Invitrogen, 1:500), Brilliant Violet 421-Streptavidin (BioLegend, 1:500). Nuclei counterstained with DAPI (300 nM, 1 min). Mounted with Shandon™ Immu-Mount™ (Fisher). Spleen fixed in 4% phosphate-buffered formalin, dehydrated, embedded in frozen section compound 22 blue (Leica), sectioned at 6 μm, mounted on Superfrost Plus slides (Fisher). Stained with Thermo Scientific™ Shandon™ Rapid-Chrome H&E Frozen Section Kit. Imaged on Keyence BZ-800 with 20× and 60× objectives.
Fluorophores | DAPI, PE, Brilliant Violet 421, Alexa Fluor 555, Alexa Fluor 647, Alexa Fluor 750.
Acquisition
Software | Keyence BZ-X800 Analyzer software; Keyence BZ-800 acquisition software.
Enhancements | Image stitching performed to generate large field high-resolution composites. Only linear brightness/contrast adjustments applied equally across images.
Imaging parameters | Exposure times set according to fluorophore channels ; H&E images acquired in brightfield mode with auto-exposure
Size | Images acquired with 20× and 60× objectives; stitched high-resolution composite images generated for full specimen visualization.
Image Processing
Software | Keyence BZ-X800 Analyzer software; ImageJ
Workflow | Images stitched in BZ-X800 Analyzer; uniform brightness/contrast adjustments applied; quantification (GFP+ AML cell distribution, L-GMP localization, apoptosis, distance measurements) performed using BZ-X800 Analyzer software. No deconvolution, thresholding, or non-linear modifications performed.