## Light microscopy
Light microscopy reporting table
Please fill out each cell as directed, instructions in italics can be deleted as you complete each cell.
Hardware
Instrument and Camera | Please state here the imaging modality, make and model of the microscope, and make and model of the camera.
Resolution | Please list the type, magnification, and numerical aperture of the objective lenses.
Filters and Light Sources | Please list the wavelength of laser lines and/or illumination source and filter sets.
Quality Control
Is this the first report of the instrument? If yes, response to the below points is required and providing validation data is encouraged.
Yes | FALSE
No | FALSE
For all instruments, confirm that the following quality control processes were run:
n/a | Confirmed
FALSE | FALSE | Field homogeneity is assessed.
FALSE | FALSE | Illumination power stability is tested.
FALSE | FALSE | Stage drift is assessed.
FALSE | FALSE | Camera/detector noise is measured.
Methodology
Sample preparation and imaging | Please describe the imaging medium and temperature.
Fluorophores | Please list all fluorophores and dyes used, as applicable, provide supplier name, catalog number. Please list wavelengths used for excitation and emission for each fluorophore.
Acquisition
Software | Please list exact versions. For custom code that has been deposited into a community repository, provide accession details.
Enhancements | Describe image enhancements done at acquisition.
Imaging parameters | Describe the exposure times/pixel dwell times.
Size | Please list the image pixel/voxel size.
Image Processing
Software | Please list exact versions. For custom code that has been deposited into a community repository, provide accession details.
Workflow | Please describe the workflow sequentially and list any parameters changed from default. Explain processing analyses, such as the type of deconvolution, surface and volume rendering, gamma changes, filtering, thresholding and projection.

## AXR
Light microscopy reporting table
Please fill out each cell as directed, instructions in italics can be deleted as you complete each cell.
Hardware
Instrument and Camera |  |  | Nikon TI2. AXR point scanning confocal with PMT and NSPARC detector, SR NSPARC mode
Resolution |  |  | SR HP Apo TIRF, 100xH, NA 1.49, 2048x2048
Filters and Light Sources |  |  | lasers 488, 561, 640 nm
|  |  | Bandpass Filters: | 430-463, 503-545,582-618,663-691
Quality Control
Is this the first report of the instrument? If yes, response to the below points is required and providing validation data is encouraged.
Yes | FALSE
No | TRUE
For all instruments, confirm that the following quality control processes were run:
n/a | Confirmed
FALSE | TRUE | Field homogeneity is assessed.
FALSE | TRUE | Illumination power stability is tested.
FALSE | TRUE | Stage drift is assessed.
FALSE | TRUE | Camera/detector noise is measured.
Methodology
Sample preparation and imaging |  | Cells were grown on coverslips and labeled with HaloTag dye prior to fixaxtion for 1 hour. Cells were washed and subsequently fixed with 4% PFA at 37dC for 8 minutes or 100% MeOH at -20dC for 10 minutes. Coverslips were then permeabilized and labeled with antibodies described in Methods. AlexaFluor secondary antibodies were used and coverslips were mounted with ProLong Diamond Antifade and cured for 24 hours in teh dark at room temperature before imaging. Imaging was done at room temperature.
Fluorophores | HaloTag JFX650 (Lavis Lab), AlexaFluor 594, AlexaFluor488
Acquisition
Software | Nikon Elements AR 5. 42.03
Enhancements | Galvano unidirectional scanner, Band scan mode, 2x line integration
Imaging parameters | 488 - Power 3-11%, 561 3.5-6%, 640 25-90% , Dwell time 1 usec
Size | 0.03 um/pixel, Z-step = 0.08um
Image Processing
Software | Imaris 10.0, 10.2(which version was used?)
Workflow | Images were doconvoluted using Nikon propietary "denoise" software. An ROI of the center third of the image, in the X and Y direction, was chosen as the ROI to analyze due to chromatic aberration concerns on the edges of the images due to objective. Spots were chosen using Imaris software, using the intensity of the center of each spot. Quality thresholds were established per channel per experiment to eliminate background staining. Distance thresholds for colocalization varied per analysis are described in the text. The colocalization tool in Imaris was used.

## STEDYCON
Hardware
Instrument and Camera | Nikon Ti2-E with STEDYCON
Resolution | 100X Apo TIRF, 1.49 NA
Filters and Light Sources | 561/640nm or 488/640
Quality Control
Is this the first report of the instrument? If yes, response to the below points is required and providing validation data is encouraged.
Yes | FALSE
No | TRUE
For all instruments, confirm that the following quality control processes were run:
n/a | Confirmed
FALSE | TRUE | Field homogeneity is assessed.
FALSE | TRUE | Illumination power stability is tested.
FALSE | TRUE | Stage drift is assessed.
FALSE | TRUE | Camera/detector noise is measured.
Methodology
Sample preparation and imaging | Cells were grown on coverslips and labeled with HaloTag/SNAP-tag dye prior to fixaxtion for 1 hour. Cells were washed and subsequently fixed with 4% PFA at 37dC for 8 minutes or 100% MeOH at -20dC for 10 minutes. Coverslips were then permeabilized and labeled with antibodies described in Methods. AlexaFluor secondary antibodies were used and coverslips were mounted with ProLong Diamond Antifade and cured for 24 hours in teh dark at room temperature before imaging. Imaging was done at room temperature.
Fluorophores | HaloTag JFX650 (Lavis Lab), SNAP-tag JFX650 (Lavis Lab), AlexaFluor 594, AlexaFluor488
Acquisition
Software | STEDYCON smart control
Enhancements
Imaging parameters | 10 us dwell time, 5-15% excitation, 20-100 ablation
Size | 33.33 pixel/um
Image Processing
Software | Imaris 10.0, 10.2
Workflow | Images were converted to .nd2 files and then .ims files to be analyzed in Imaris. Spots were chosen using Imaris software, using the intensity of the center of each spot. Quality thresholds were established per channel per experiment to eliminate background staining. Linescans were drawn as described in Methods.