## Sheet1
Supplementary Table 3. Components of the BrainEx perfusion system.
BrainEx Equipment
Component | Part/System | Company
Centrifugal pump | Medtronic Biomedicus 540 Blood Pump | Medtronic, Inc., MN, USA
Centrigugal pump head | 3/8" FloPump 6000N | International Biophysics Corp., TX, USA
Heat exchanger | BIOtherm™ Heat Exchanger | Medtronic Inc., MN, USA
Liquid chiller | Hemotherm® CE Cardiovascular Heater/Cooler System 400CE | Cincinnati SubZero, OH, USA
Oxygenators | CAPIOX® RX-05 Oxygenators | Terumo Cardiovascular Systems Corporation, MD, USA
Arterial filter | CAPIOX® CX-AF02 Arterial Filter | Terumo Cardiovascular Systems Corporation, MD, USA
Gas blender | 3500 Low Flow Air/Oxygen Mixer | Sechrist Industries Inc., CA, USA
Flow meter | Valved Acrylic Flowmeter, 50 mm Scale for Air, 0.04-0.5 LPM | Cole-Parmer, IL, USA
Roller pumps | COBE Perfusion System Precision Blood Pump 043600-000 Heart Pump | Salyer Perfusion, MO, USA
Pulse generator | Precision Pulsatile Pumping System | BioMedinnovations NC, USA
Pulse Generator PLC | Precision Pulsatile Pumping System | BioMedinnovations NC, USA
Pulse Generator Software | Precision Pulsatile Pumping System | BioMedinnovations NC, USA
i-STAT blood analyzer | i-STAT 1 300-g Handheld Portable Blood Analyzer System Kit | Abbott Point of Care Inc., NJ, USA
i-STAT catridges | i-STAT EC8+ Cartridges | Abbott Point of Care Inc., NJ, USA
Reservoir bag | Affinity VR | Medtronic, Inc., MN, USA
Thermal unit | T/Pump Localized Warming and Cooling Therapy System | Stryker Corporation, MA, USA
Ultrasound System | GE Logiq e Ultrasound and GE 8L-RS probe | General Electric, MA, USA
Optical sensors | Flow Through Cell Sensors for O2, CO2 and pH with Electro-Optical EOM mini modules | PreSens Precision Sensing GmbH, Germany
Surgical Power System | 1.) Microspeed uni control unit GD670 2.) Hi-Line XS dura guard drill holder GB741R 3.) Microspeed uni motor cable foot control GD672 | Aesculap, CA, USA
Dural perforator | Disposable Codman perforator J-J261221 | DePuySynthes, CA, USA
Dialysis membranes | High Flux Dialyzer Polysulfone Membrane Gamma Sterilized HI PS 15 1.5m2 | B. Braun Medical Inc., PA, USA
Tubing/Catheters | Surshield™ Safety Winged Infusion Set with 23G x 3/4" Needle and 12" Tubing | Terumo Cardiovascular Systems Corporation, MD, USA
Tubing/System | 1.) 3/8" Masterflex platinum-cured silicone tubing, L/S 18 2.) 3/16" Masterflex platinum-cured silicone tubing, L/S 25 | Cole-Parmer, IL, USA