## Result sheet
Method name: Luficerase Assay
Application: SparkControl |  |  |  | V3.0
Device: Spark |  |  |  | Serial number: 1711007196
Firmware: |  |  |  | LUM:V5.2.3¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦INJ:V3.1.1¦COOLING:V1.1.8¦PODI:V1.11.1
Date: |  |  |  | 2021-03-24
Time: |  |  |  | 5:02 PM
System |  |  |  | CB-PC-066
User |  |  |  | CB-PC-066\user
Plate |  |  |  | [LUM96fb_Lumox] - Greiner 96 Flat Black Cat. No.: 96000024/96120096
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Well
Injector
Shaking
Kinetic
|  |  | Luminescence |  |  | After Addition
Name |  |  |  | LUM96fb_Lumox
Plate layout
Plate area |  |  |  | A1-H8
Start Time |  |  |  | 2021-03-24 16:14:39
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 22
Wait minimum [°C] |  |  |  | 21.5
Wait maximum [°C] |  |  |  | 22.5
End Time |  |  |  | 2021-03-24 16:14:39
Injector A
Volume [µl] |  |  |  | 100
Speed [µl/s] |  |  |  | 200
Refill speed [µl/s] |  |  |  | 200
Refill mode |  |  |  | Standard
Part of Plate |  |  |  | A1-H8
Shaking (Orbital) Duration [s] |  |  |  | 3
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
Mode | Kinetic
Kinetic cycles |  |  |  | 20
Interval time [hhmmss] |  |  |  | 00:00:02
Mode | Luminescence
Name | After Addition
Attenuation |  |  |  | None
Settle time [ms] |  |  |  | 0
Integration time [ms] |  |  |  | 1000
Output |  |  |  | Counts / s
Part of Plate |  |  |  | A1-H8
Start Time |  |  |  | 2021-03-24 16:14:43
Temperature [°C] |  |  |  | 22.2
After Addition | [50 empty] | DMSO | [11 empty] | Mandi 0.1 | [11 empty] | Mandi 1 | [11 empty] | Mandi 10
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 22.2 | DMSO E1: 473; DMSO E2: 194; DMSO E3: 287; DMSO E4: 211; DMSO E5: 113; DMSO E6: 57; DMSO E7: 146; DMSO E8: 449; Mandi 0.1 F1: 1937; Mandi 0.1 F2: 1776; Mandi 0.1 F3: 1258; Mandi 0.1 F4: 1462; Mandi 0.1 F5: 961; Mandi 0.1 F6: 742; Mandi 0.1 F7: 1612; Mandi 0.1 F8: 1934; Mandi 1 G1: 3206; Mandi 1 G2: 2466; Mandi 1 G3: 849; Mandi 1 G4: 1643; Mandi 1 G5: 3026; Mandi 1 G6: 1405; Mandi 1 G7: 2211; Mandi 1 G8: 746; Mandi 10 H1: 1735; Mandi 10 H2: 2180; Mandi 10 H3: 2673; Mandi 10 H4: 2085; Mandi 10 H5: 2379; Mandi 10 H6: 1801; Mandi 10 H7: 2330; Mandi 10 H8: 3499
2 | 2.044 | 22.2 | DMSO E1: 508; DMSO E2: 231; DMSO E3: 234; DMSO E4: 217; DMSO E5: 166; DMSO E6: 54; DMSO E7: 148; DMSO E8: 494; Mandi 0.1 F1: 2226; Mandi 0.1 F2: 1783; Mandi 0.1 F3: 1269; Mandi 0.1 F4: 1491; Mandi 0.1 F5: 1013; Mandi 0.1 F6: 712; Mandi 0.1 F7: 1729; Mandi 0.1 F8: 1949; Mandi 1 G1: 3336; Mandi 1 G2: 2513; Mandi 1 G3: 982; Mandi 1 G4: 1629; Mandi 1 G5: 3161; Mandi 1 G6: 1557; Mandi 1 G7: 2394; Mandi 1 G8: 820; Mandi 10 H1: 1956; Mandi 10 H2: 2390; Mandi 10 H3: 2873; Mandi 10 H4: 2226; Mandi 10 H5: 2527; Mandi 10 H6: 1848; Mandi 10 H7: 2641; Mandi 10 H8: 3493
3 | 4.109 | 22.2 | DMSO E1: 569; DMSO E2: 222; DMSO E3: 240; DMSO E4: 240; DMSO E5: 135; DMSO E6: 73; DMSO E7: 150; DMSO E8: 525; Mandi 0.1 F1: 2148; Mandi 0.1 F2: 1887; Mandi 0.1 F3: 1354; Mandi 0.1 F4: 1516; Mandi 0.1 F5: 1126; Mandi 0.1 F6: 805; Mandi 0.1 F7: 1854; Mandi 0.1 F8: 2229; Mandi 1 G1: 3386; Mandi 1 G2: 2689; Mandi 1 G3: 995; Mandi 1 G4: 1789; Mandi 1 G5: 3315; Mandi 1 G6: 1640; Mandi 1 G7: 2435; Mandi 1 G8: 843; Mandi 10 H1: 2044; Mandi 10 H2: 2390; Mandi 10 H3: 2986; Mandi 10 H4: 2309; Mandi 10 H5: 2649; Mandi 10 H6: 1988; Mandi 10 H7: 2574; Mandi 10 H8: 3786
4 | 6.136 | 22.2 | DMSO E1: 487; DMSO E2: 247; DMSO E3: 272; DMSO E4: 240; DMSO E5: 169; DMSO E6: 63; DMSO E7: 135; DMSO E8: 470; Mandi 0.1 F1: 2217; Mandi 0.1 F2: 1965; Mandi 0.1 F3: 1433; Mandi 0.1 F4: 1616; Mandi 0.1 F5: 1125; Mandi 0.1 F6: 811; Mandi 0.1 F7: 1940; Mandi 0.1 F8: 2144; Mandi 1 G1: 3657; Mandi 1 G2: 2766; Mandi 1 G3: 1027; Mandi 1 G4: 1831; Mandi 1 G5: 3412; Mandi 1 G6: 1606; Mandi 1 G7: 2543; Mandi 1 G8: 842; Mandi 10 H1: 2016; Mandi 10 H2: 2533; Mandi 10 H3: 3103; Mandi 10 H4: 2252; Mandi 10 H5: 2668; Mandi 10 H6: 1979; Mandi 10 H7: 2723; Mandi 10 H8: 3779
5 | 8.155 | 22.2 | DMSO E1: 630; DMSO E2: 272; DMSO E3: 284; DMSO E4: 220; DMSO E5: 190; DMSO E6: 69; DMSO E7: 115; DMSO E8: 514; Mandi 0.1 F1: 2352; Mandi 0.1 F2: 2079; Mandi 0.1 F3: 1420; Mandi 0.1 F4: 1616; Mandi 0.1 F5: 1204; Mandi 0.1 F6: 833; Mandi 0.1 F7: 1943; Mandi 0.1 F8: 2231; Mandi 1 G1: 3607; Mandi 1 G2: 2829; Mandi 1 G3: 1041; Mandi 1 G4: 1835; Mandi 1 G5: 3355; Mandi 1 G6: 1693; Mandi 1 G7: 2521; Mandi 1 G8: 855; Mandi 10 H1: 2129; Mandi 10 H2: 2533; Mandi 10 H3: 3115; Mandi 10 H4: 2399; Mandi 10 H5: 2778; Mandi 10 H6: 2037; Mandi 10 H7: 2809; Mandi 10 H8: 4027
6 | 10.173 | 22.2 | DMSO E1: 604; DMSO E2: 258; DMSO E3: 320; DMSO E4: 262; DMSO E5: 141; DMSO E6: 78; DMSO E7: 170; DMSO E8: 514; Mandi 0.1 F1: 2429; Mandi 0.1 F2: 2065; Mandi 0.1 F3: 1456; Mandi 0.1 F4: 1709; Mandi 0.1 F5: 1161; Mandi 0.1 F6: 836; Mandi 0.1 F7: 2057; Mandi 0.1 F8: 2340; Mandi 1 G1: 3844; Mandi 1 G2: 2905; Mandi 1 G3: 1156; Mandi 1 G4: 1871; Mandi 1 G5: 3541; Mandi 1 G6: 1739; Mandi 1 G7: 2593; Mandi 1 G8: 894; Mandi 10 H1: 2081; Mandi 10 H2: 2654; Mandi 10 H3: 3202; Mandi 10 H4: 2567; Mandi 10 H5: 2963; Mandi 10 H6: 2153; Mandi 10 H7: 2788; Mandi 10 H8: 4070
7 | 12.192 | 22.1 | DMSO E1: 592; DMSO E2: 235; DMSO E3: 317; DMSO E4: 218; DMSO E5: 169; DMSO E6: 77; DMSO E7: 156; DMSO E8: 517; Mandi 0.1 F1: 2500; Mandi 0.1 F2: 2149; Mandi 0.1 F3: 1424; Mandi 0.1 F4: 1661; Mandi 0.1 F5: 1250; Mandi 0.1 F6: 793; Mandi 0.1 F7: 2062; Mandi 0.1 F8: 2276; Mandi 1 G1: 3843; Mandi 1 G2: 2932; Mandi 1 G3: 1196; Mandi 1 G4: 2052; Mandi 1 G5: 3659; Mandi 1 G6: 1788; Mandi 1 G7: 2706; Mandi 1 G8: 857; Mandi 10 H1: 2215; Mandi 10 H2: 2663; Mandi 10 H3: 3375; Mandi 10 H4: 2493; Mandi 10 H5: 2928; Mandi 10 H6: 2161; Mandi 10 H7: 2998; Mandi 10 H8: 3968
8 | 14.245 | 22.1 | DMSO E1: 602; DMSO E2: 240; DMSO E3: 308; DMSO E4: 247; DMSO E5: 194; DMSO E6: 56; DMSO E7: 147; DMSO E8: 542; Mandi 0.1 F1: 2516; Mandi 0.1 F2: 2220; Mandi 0.1 F3: 1590; Mandi 0.1 F4: 1746; Mandi 0.1 F5: 1255; Mandi 0.1 F6: 895; Mandi 0.1 F7: 2065; Mandi 0.1 F8: 2391; Mandi 1 G1: 3973; Mandi 1 G2: 3068; Mandi 1 G3: 1185; Mandi 1 G4: 2063; Mandi 1 G5: 3670; Mandi 1 G6: 1909; Mandi 1 G7: 2657; Mandi 1 G8: 909; Mandi 10 H1: 2195; Mandi 10 H2: 2775; Mandi 10 H3: 3480; Mandi 10 H4: 2572; Mandi 10 H5: 3029; Mandi 10 H6: 2183; Mandi 10 H7: 3009; Mandi 10 H8: 4294
9 | 16.284 | 22.2 | DMSO E1: 690; DMSO E2: 245; DMSO E3: 321; DMSO E4: 237; DMSO E5: 193; DMSO E6: 53; DMSO E7: 166; DMSO E8: 545; Mandi 0.1 F1: 2522; Mandi 0.1 F2: 2071; Mandi 0.1 F3: 1483; Mandi 0.1 F4: 1847; Mandi 0.1 F5: 1370; Mandi 0.1 F6: 849; Mandi 0.1 F7: 2200; Mandi 0.1 F8: 2444; Mandi 1 G1: 4044; Mandi 1 G2: 3180; Mandi 1 G3: 1204; Mandi 1 G4: 2009; Mandi 1 G5: 3825; Mandi 1 G6: 1820; Mandi 1 G7: 2732; Mandi 1 G8: 956; Mandi 10 H1: 2231; Mandi 10 H2: 2746; Mandi 10 H3: 3509; Mandi 10 H4: 2548; Mandi 10 H5: 3096; Mandi 10 H6: 2289; Mandi 10 H7: 3086; Mandi 10 H8: 4335
10 | 18.296 | 22.2 | DMSO E1: 664; DMSO E2: 273; DMSO E3: 282; DMSO E4: 264; DMSO E5: 184; DMSO E6: 73; DMSO E7: 167; DMSO E8: 545; Mandi 0.1 F1: 2569; Mandi 0.1 F2: 2306; Mandi 0.1 F3: 1601; Mandi 0.1 F4: 1835; Mandi 0.1 F5: 1292; Mandi 0.1 F6: 950; Mandi 0.1 F7: 2129; Mandi 0.1 F8: 2508; Mandi 1 G1: 4208; Mandi 1 G2: 3082; Mandi 1 G3: 1233; Mandi 1 G4: 2117; Mandi 1 G5: 3807; Mandi 1 G6: 1813; Mandi 1 G7: 2839; Mandi 1 G8: 911; Mandi 10 H1: 2262; Mandi 10 H2: 3002; Mandi 10 H3: 3535; Mandi 10 H4: 2574; Mandi 10 H5: 3094; Mandi 10 H6: 2288; Mandi 10 H7: 3107; Mandi 10 H8: 4246
11 | 20.314 | 22.2 | DMSO E1: 628; DMSO E2: 302; DMSO E3: 318; DMSO E4: 242; DMSO E5: 209; DMSO E6: 59; DMSO E7: 186; DMSO E8: 538; Mandi 0.1 F1: 2704; Mandi 0.1 F2: 2284; Mandi 0.1 F3: 1604; Mandi 0.1 F4: 1903; Mandi 0.1 F5: 1315; Mandi 0.1 F6: 841; Mandi 0.1 F7: 2243; Mandi 0.1 F8: 2554; Mandi 1 G1: 4277; Mandi 1 G2: 3402; Mandi 1 G3: 1271; Mandi 1 G4: 2287; Mandi 1 G5: 3971; Mandi 1 G6: 1894; Mandi 1 G7: 2935; Mandi 1 G8: 928; Mandi 10 H1: 2383; Mandi 10 H2: 2908; Mandi 10 H3: 3685; Mandi 10 H4: 2812; Mandi 10 H5: 3196; Mandi 10 H6: 2352; Mandi 10 H7: 3254; Mandi 10 H8: 4345
12 | 22.353 | 22.2 | DMSO E1: 681; DMSO E2: 288; DMSO E3: 318; DMSO E4: 268; DMSO E5: 182; DMSO E6: 64; DMSO E7: 160; DMSO E8: 551; Mandi 0.1 F1: 2810; Mandi 0.1 F2: 2484; Mandi 0.1 F3: 1590; Mandi 0.1 F4: 1902; Mandi 0.1 F5: 1366; Mandi 0.1 F6: 932; Mandi 0.1 F7: 2191; Mandi 0.1 F8: 2598; Mandi 1 G1: 4372; Mandi 1 G2: 3276; Mandi 1 G3: 1237; Mandi 1 G4: 2198; Mandi 1 G5: 4072; Mandi 1 G6: 1939; Mandi 1 G7: 2915; Mandi 1 G8: 979; Mandi 10 H1: 2447; Mandi 10 H2: 2955; Mandi 10 H3: 3611; Mandi 10 H4: 2847; Mandi 10 H5: 3267; Mandi 10 H6: 2336; Mandi 10 H7: 3179; Mandi 10 H8: 4529
13 | 24.38 | 22.3 | DMSO E1: 717; DMSO E2: 283; DMSO E3: 326; DMSO E4: 296; DMSO E5: 202; DMSO E6: 57; DMSO E7: 177; DMSO E8: 605; Mandi 0.1 F1: 2776; Mandi 0.1 F2: 2492; Mandi 0.1 F3: 1705; Mandi 0.1 F4: 1972; Mandi 0.1 F5: 1371; Mandi 0.1 F6: 962; Mandi 0.1 F7: 2350; Mandi 0.1 F8: 2613; Mandi 1 G1: 4402; Mandi 1 G2: 3230; Mandi 1 G3: 1283; Mandi 1 G4: 2251; Mandi 1 G5: 3990; Mandi 1 G6: 1922; Mandi 1 G7: 2966; Mandi 1 G8: 1058; Mandi 10 H1: 2544; Mandi 10 H2: 3069; Mandi 10 H3: 3858; Mandi 10 H4: 2915; Mandi 10 H5: 3281; Mandi 10 H6: 2481; Mandi 10 H7: 3267; Mandi 10 H8: 4605
14 | 26.408 | 22.3 | DMSO E1: 665; DMSO E2: 331; DMSO E3: 352; DMSO E4: 306; DMSO E5: 192; DMSO E6: 75; DMSO E7: 201; DMSO E8: 568; Mandi 0.1 F1: 2900; Mandi 0.1 F2: 2449; Mandi 0.1 F3: 1714; Mandi 0.1 F4: 1971; Mandi 0.1 F5: 1415; Mandi 0.1 F6: 930; Mandi 0.1 F7: 2319; Mandi 0.1 F8: 2656; Mandi 1 G1: 4479; Mandi 1 G2: 3274; Mandi 1 G3: 1400; Mandi 1 G4: 2269; Mandi 1 G5: 4214; Mandi 1 G6: 1962; Mandi 1 G7: 2946; Mandi 1 G8: 1134; Mandi 10 H1: 2432; Mandi 10 H2: 3106; Mandi 10 H3: 3818; Mandi 10 H4: 2842; Mandi 10 H5: 3311; Mandi 10 H6: 2435; Mandi 10 H7: 3406; Mandi 10 H8: 4706
15 | 28.418 | 22.3 | DMSO E1: 718; DMSO E2: 338; DMSO E3: 332; DMSO E4: 297; DMSO E5: 199; DMSO E6: 77; DMSO E7: 186; DMSO E8: 591; Mandi 0.1 F1: 2951; Mandi 0.1 F2: 2525; Mandi 0.1 F3: 1760; Mandi 0.1 F4: 1970; Mandi 0.1 F5: 1531; Mandi 0.1 F6: 949; Mandi 0.1 F7: 2476; Mandi 0.1 F8: 2737; Mandi 1 G1: 4370; Mandi 1 G2: 3534; Mandi 1 G3: 1364; Mandi 1 G4: 2229; Mandi 1 G5: 4092; Mandi 1 G6: 2033; Mandi 1 G7: 3044; Mandi 1 G8: 1079; Mandi 10 H1: 2553; Mandi 10 H2: 3243; Mandi 10 H3: 3887; Mandi 10 H4: 2862; Mandi 10 H5: 3315; Mandi 10 H6: 2396; Mandi 10 H7: 3289; Mandi 10 H8: 4588
16 | 30.438 | 22.3 | DMSO E1: 726; DMSO E2: 309; DMSO E3: 322; DMSO E4: 259; DMSO E5: 217; DMSO E6: 60; DMSO E7: 200; DMSO E8: 594; Mandi 0.1 F1: 2930; Mandi 0.1 F2: 2597; Mandi 0.1 F3: 1730; Mandi 0.1 F4: 2091; Mandi 0.1 F5: 1537; Mandi 0.1 F6: 1040; Mandi 0.1 F7: 2359; Mandi 0.1 F8: 2780; Mandi 1 G1: 4635; Mandi 1 G2: 3568; Mandi 1 G3: 1364; Mandi 1 G4: 2304; Mandi 1 G5: 4192; Mandi 1 G6: 2116; Mandi 1 G7: 3072; Mandi 1 G8: 1060; Mandi 10 H1: 2614; Mandi 10 H2: 3206; Mandi 10 H3: 3833; Mandi 10 H4: 2973; Mandi 10 H5: 3421; Mandi 10 H6: 2641; Mandi 10 H7: 3472; Mandi 10 H8: 4801
17 | 32.442 | 22.2 | DMSO E1: 725; DMSO E2: 309; DMSO E3: 308; DMSO E4: 324; DMSO E5: 213; DMSO E6: 64; DMSO E7: 191; DMSO E8: 610; Mandi 0.1 F1: 3001; Mandi 0.1 F2: 2568; Mandi 0.1 F3: 1831; Mandi 0.1 F4: 2153; Mandi 0.1 F5: 1582; Mandi 0.1 F6: 943; Mandi 0.1 F7: 2449; Mandi 0.1 F8: 2768; Mandi 1 G1: 4573; Mandi 1 G2: 3564; Mandi 1 G3: 1412; Mandi 1 G4: 2372; Mandi 1 G5: 4245; Mandi 1 G6: 2060; Mandi 1 G7: 3087; Mandi 1 G8: 1119; Mandi 10 H1: 2540; Mandi 10 H2: 3262; Mandi 10 H3: 4146; Mandi 10 H4: 3018; Mandi 10 H5: 3566; Mandi 10 H6: 2584; Mandi 10 H7: 3485; Mandi 10 H8: 4877
18 | 34.46 | 22.2 | DMSO E1: 786; DMSO E2: 332; DMSO E3: 413; DMSO E4: 291; DMSO E5: 188; DMSO E6: 84; DMSO E7: 171; DMSO E8: 662; Mandi 0.1 F1: 3204; Mandi 0.1 F2: 2715; Mandi 0.1 F3: 1915; Mandi 0.1 F4: 2101; Mandi 0.1 F5: 1531; Mandi 0.1 F6: 1025; Mandi 0.1 F7: 2426; Mandi 0.1 F8: 2877; Mandi 1 G1: 4777; Mandi 1 G2: 3634; Mandi 1 G3: 1383; Mandi 1 G4: 2433; Mandi 1 G5: 4438; Mandi 1 G6: 2077; Mandi 1 G7: 3174; Mandi 1 G8: 1079; Mandi 10 H1: 2650; Mandi 10 H2: 3335; Mandi 10 H3: 4063; Mandi 10 H4: 3036; Mandi 10 H5: 3593; Mandi 10 H6: 2614; Mandi 10 H7: 3419; Mandi 10 H8: 4875
19 | 36.481 | 22.3 | DMSO E1: 746; DMSO E2: 298; DMSO E3: 334; DMSO E4: 301; DMSO E5: 246; DMSO E6: 85; DMSO E7: 208; DMSO E8: 666; Mandi 0.1 F1: 2970; Mandi 0.1 F2: 2598; Mandi 0.1 F3: 1889; Mandi 0.1 F4: 2160; Mandi 0.1 F5: 1601; Mandi 0.1 F6: 1057; Mandi 0.1 F7: 2649; Mandi 0.1 F8: 2947; Mandi 1 G1: 4801; Mandi 1 G2: 3661; Mandi 1 G3: 1423; Mandi 1 G4: 2374; Mandi 1 G5: 4424; Mandi 1 G6: 2203; Mandi 1 G7: 3284; Mandi 1 G8: 1085; Mandi 10 H1: 2783; Mandi 10 H2: 3333; Mandi 10 H3: 4044; Mandi 10 H4: 3107; Mandi 10 H5: 3614; Mandi 10 H6: 2683; Mandi 10 H7: 3526; Mandi 10 H8: 4909
20 | 38.495 | 22.3 | DMSO E1: 738; DMSO E2: 324; DMSO E3: 380; DMSO E4: 288; DMSO E5: 194; DMSO E6: 60; DMSO E7: 200; DMSO E8: 628; Mandi 0.1 F1: 3045; Mandi 0.1 F2: 2604; Mandi 0.1 F3: 1987; Mandi 0.1 F4: 2186; Mandi 0.1 F5: 1523; Mandi 0.1 F6: 1052; Mandi 0.1 F7: 2558; Mandi 0.1 F8: 3049; Mandi 1 G1: 4656; Mandi 1 G2: 3707; Mandi 1 G3: 1493; Mandi 1 G4: 2499; Mandi 1 G5: 4563; Mandi 1 G6: 2164; Mandi 1 G7: 3300; Mandi 1 G8: 1223; Mandi 10 H1: 2753; Mandi 10 H2: 3271; Mandi 10 H3: 4117; Mandi 10 H4: 3086; Mandi 10 H5: 3671; Mandi 10 H6: 2875; Mandi 10 H7: 3621; Mandi 10 H8: 5071
End Time |  |  | A2: 2021-03-24 17:02:43
Warning | Unable to meet given kinetic interval time for cycle '16'.
Warning | Unable to meet given kinetic interval time for cycles '1, 4, 17'.
Warning | Unable to meet given kinetic interval time for cycles '3, 17'.
Warning | Unable to meet given kinetic interval time for cycles '1, 4, 14, 15, 17'.
Warning | Unable to meet given kinetic interval time for cycle '13'.
Warning | Unable to meet given kinetic interval time for cycles '9, 17'.
Warning | Unable to meet given kinetic interval time for cycle '1'.
Warning | Unable to meet given kinetic interval time for cycles '2, 17'.
Warning | Unable to meet given kinetic interval time for cycles '1, 2, 4, 5, 7, 8, 10, 16'.
Warning | Unable to meet given kinetic interval time for cycles '1, 5, 9, 13'.
Warning | Unable to meet given kinetic interval time for cycles '1, 4, 5, 8, 10, 11, 17'.
Warning | Unable to meet given kinetic interval time for cycle '8'.
Warning | Unable to meet given kinetic interval time for cycles '1, 11, 19'.
Warning | Unable to meet given kinetic interval time for cycle '15'.
Warning | Unable to meet given kinetic interval time for cycles '1, 12'.
Warning | Unable to meet given kinetic interval time for cycles '8, 13'.