## ONT Samples
Sample | Sequencing platform | Sequencing flowcell | Barcoding kit | Sequencing kit | Sequencing protocol | Cell growth | RNA extraction | Cell line | PolyA selection | Spike in concentration | Sequencing depth | Extra notes
SGNex_HN1NPC7_cDNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-LSK208 | cDNA | NCC-HN1 is derived from a patient with tongue squamous cell carcinoma (Leong et al., 2014). Cells are cultured in RPMI media supplemented with 10% FBS, 1% Pen-Strep, in a 37°C incubator with 5% CO2. | Total RNA was extracted with Qiagen RNeasy kit according to manufacturer’s instruction. | HN1-NPC7 | no |  | 2129901 | Poly A enrichment Poly A enrichment was performed using Dynabeads mRNA Purification Kit (Cat. No. 61006), according to manufacturer’s protocol. Briefly, 5 µg of total RNA was added to Dynabeads/Binding Buffer suspension and incubated on a mixer for 5 min at room temperature. The beads were separated on a magnetic rack and supernatant was removed. Beads were washed twice with 200 µL of Washing Buffer B and eluted in 10 µL of 10 mM Tris-HCL, pH 7.5, yielding 52.35 ng of Poly A enriched RNA. cDNA library construction cDNA library was constructed according to the “2D Strand switching cDNA sequencing for the MinIONTM device using SQK-LSK208” protocol that was available on ONT community webpage, with slight modifications. Briefly, Poly A enriched RNA was reverse transcribed using SMARTer PCR cDNA Synthesis Kit (Cat. No. 634926) according to manufacturer’s protocol. Amplification was carried out using LongAmp Taq 2X Master Mix (Cat. No. M0287) and cleaned up with AMPure XP beads (Cat. No. A63882), yielding 2.5 µg cDNA. 1.5 µg of amplified cDNA was used for library building through end-prep, A-tailing and adapter ligation according to manufacturer’s protocol. Libraries were cleaned up with DynabeadsTM MyOneTM Streptavidin C1 beads (Cat. No. 65001) and the final library yield was approximately 200 ng. Libraries were sequenced on a R9 spoton flowcell for 48h and was basecalled on Albacore. Note: 2D basecalling not supported anymore for this flow cell
SGNex_MCF7-EV_directRNA_replicate2_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA | MCF7 cells were purchased from the American Type Culture Collection (ATCC, Manassas, VA, USA) and maintained in Dulbecco’s Modified Eagle Medium (DMEM; Biowest) supplemented with 10% fetal bovine serum (FBS, South America; Biowest). The cells were incubated at 37 °C in a humidified incubator containing 5% CO2. | Total RNA was extracted from MCF7 cells using the RNeasy Mini Kit (Qiagen) and treated with DNaseI on column. | MCF7 | NA |  | 1699983
SGNex_MCF7-EV_directRNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-RNA002 | directRNA |  |  | MCF7 | NA |  | 2297505
SGNex_NCC24_directRNA_replicate1_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA | All cell lines were maintained in a 37oC incubator with 5% CO2 and propagated in media containing 10% FBS, 1% Penicillin Streptomycin and 1% NEAA. SNU719 and NCC24 was cultured in RPMI-1640 medium and IM95 was cultured in DMEM medium supplemented with 10mg/L insulin. Cell lines were tested negative for mycoplasma contamination using the MycoAlert Mycoplasma Dectection kit (Lonza). Cell lines identities were confirmed by Short Tandem Repeat profiling using ANSI/ATCC ASN-0002-2011 guidelines. Source of cell lines: - NCC24 and SNU719 (Korean Cell Line Bank) - IM95 (Japan Health Science Research Resource Bank) | Total RNA was extracted with Qiagen AllPrep DNA/RNA Mini Kit (80204) according to manufacturer’s instruction. | NCC24 | Yes |  | 1148000
SGNex_IM95_directRNA_replicate1_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA |  |  | IM95 | Yes |  | 545117
SGNex_Hct116_directRNA_replicate6_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | Yes |  | 3852 | total RNA 1ug without rRNA depletion, primed with NNNNNNNNN adaptor (used 10 N replace 10 T)
SGNex_Myeloma-N104_directRNA_replicate1_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA | These are patient samples. | Total RNA was extracted from CD138+ cells with Qiazol Lysis Reagent (Qiagen). Briefly, cells were homogenized with Qiazol by passing through a 20-gauge needle (0.9mm diameter). Chloroform was then added and shaken vigorously by hand. Phase separation was achieved by centrifuging the samples at 12,000 x g for 15 minutes at 4°C. The upper aqueous phases containing RNA was transferred into a new tube, and isopropanol was added to precipitate the RNA. The RNA pellet was collected by centrifugation and washed with 75% ethanol. The pellet was then left to air-dry for 15 minutes and dissolved in RNAse-free water. The concentration and purity of RNA was measured by spectrophotometry (NanoDropTM; Thermo Fisher Scientific), and automated electrophoresis (2100 Bioanalyzer System; Agilent). | Myeloma-N104 | No |  | 914696
SGNex_Myeloma-N122_directRNA_replicate1_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA |  |  | Myeloma-N122 | No |  | 631763
SGNex_Myeloma-N082_directRNA_replicate1_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA |  |  | Myeloma-N082 | No |  | 368440
SGNex_Hct116_directRNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA | HCT116 was cultured and expanded routinely in McCoy’s 5A media (Thermofisher, Cat: 16600108) supplemented with 10% FBS (Thermofisher. Cat: 10438026), Penicillin-Streptomycin (Thermofisher, Cat: 15140122) and Sodium Pyruvate (Thermofisher, Cat: 11360070), in a humidified environment with 5% CO2 at 37 degrees celsius. Prior to RNA extraction, cells were harvested by trypsinization, washed with PBS, pelleted by centrifugation and snap frozen in liquid nitrogen. Each pellet was approximately 20-30 million cells. | Total RNA was extracted with Qiagen AllPrep DNA/RNA Mini Kit (80204) according to manufacturer’s instruction. | Hct116 | no |  | 108955
SGNex_Hct116_directRNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | no |  | 893412
SGNex_Hct116_directRNA_replicate1_run3 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | yes |  | 1316290
SGNex_Hct116_directcDNA_replicate1_run4 | minion | FLO-MIN107 | NA | SQK-DCS108 | direct-cDNA |  |  | Hct116 | no |  | 297536
SGNex_Hct116_directcDNA_replicate1_run5 | minion | FLO-MIN107 | NA | SQK-DCS108 | direct-cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 523945
SGNex_Hct116_cDNA_replicate1_run6 | minion | FLO-MIN106 | NA | SQK-PCS108 | cDNA PCR |  |  | Hct116 | no |  | 1171939
SGNex_Hek293T_directRNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA | Tissue culture. ATCC HEK293T CRL-3216 cells were cultivated in a sterile 5% CO2 incubator at 37 °C, and in DMEM supplemented with 10% FBS and 1% penicillin/streptomycin. Cells within passage 3–20 were used for experiments. HEK293T cells were regularly subjected to MycoAlert Plus Mycoplasma kit (Lonza LT07) to verify that they were mycoplasma-free. | RNA isolation. Total RNA was isolated from adherent HEK293T using Trizol-LS (Ambion 10296) according to manufacturer’s instructions and quantified using the Qubit RNA HS assay (ThermoFisher Q32855). | Hek293T | Yes |  | 599445
SGNex_Hek293T_directRNA_replicate2_run1 | minion | FLO-MIN106D | NA | SQK-RNA001 | directRNA |  |  | Hek293T | Yes |  | 1116713
SGNex_Hek293T_directRNA_replicate3_run1 | minion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | Hek293T | NA |  | 1395996
SGNex_Hek293T_directRNA_replicate4_run1 | minion | FLO-MIN106 | NA | SQK-RNA002 | directRNA |  |  | Hek293T | NA |  | 513668
SGNex_Hek293T_directRNA_replicate5_run1 | gridion | FLO-PRO002 | NA | SQK-RNA004 | directRNA |  |  | Hek293T | yes |  | 12470494
SGNex_K562_directRNA_replicate1_run1 | gridion | FLO-MIN106 | NA | SQK-RNA001 | directRNA | K562 suspension cells were maintained in RPMI plus 10% FBS and contains 1% of Gibco Penicillin Streptomycin Solution 10,000 U/mL cat no: 15140122, culture in 37C, 5% CO2 incubator. | Total RNA from cultured K562 cells was isolated using Invitrogen™ TRIzol™ Reagent, cat no: 15596018. Spin down the suspension cells, add 1ml trizol in pelleted cells. strong vortex, add 200ul of chloroform into tube, vortex the containing RNA mixture tubes, until it turns into white milky solution, centrifuge at 4C, transfer the supernatant phase to 1.5ml tube, add isopropanol to the aqueous phase (1:1), mix well, Spin down, a white pellet will be formed. After 70% ethanol wash the pellet, dry, re-suspend the RNA in 30ul of nuclease free water. | K562 | yes, Dynabead mRNA Purification Kit |  | 695205
SGNex_K562_directcDNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 2403750
SGNex_K562_cDNA_replicate1_run3 | minion | FLO-MIN106 | NA | SQK-PCS108 | cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 1393352
SGNex_K562_directcDNA_replicate2_run1 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 326683
SGNex_K562_directcDNA_replicate2_run2 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 280202
SGNex_K562_cDNAStranded_replicate2_run3 | minion | FLO-MIN106 | NA | SQK-PCS109 | cDNAStranded |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 2740227
SGNex_K562_directcDNA_replicate3_run1 | minion | FLO-MIN106D | EXP-NBD103 | SQK-DCS109 | direct-cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 543425
SGNex_K562_cDNAStranded_replicate3_run2 | minion | FLO-MIN106D | NA | SQK-PCS109 | cDNAStranded |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 7866554
SGNex_K562_cDNAStranded_replicate3_run3 | gridion | FLO-MIN106 | NA | SQK-PCS109 | cDNAStranded |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 4517199
SGNex_K562_directRNA_replicate4_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | K562 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @5ng | 1165566
SGNex_K562_directRNA_replicate5_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | K562 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @5ng | 1073887
SGNex_K562_directcDNA_replicate4_run2 | gridion | FLO-MIN106D | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @1.5ng | 2326020
SGNex_K562_cDNA_replicate3_run4 | gridion | FLO-MIN106D | NA | SQK-PCS109 | cDNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 10427472
SGNex_K562_directRNA_replicate6_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | K562 | yes, Dynabead mRNA Purification Kit |  | 1624792
SGNex_HepG2_directcDNA_replicate1_run1 | promethion | FLO-PRO001 | NA | SQK-DCS108 | direct-cDNA | Human liver cell line HepG2 (ATCC, cat# HB-8065) was grown in Dulbecco's Modified Eagle Medium (DMEM, GIBCO, cat# 11995-065) supplemented with heat-inactivated 10% fetal bovine serum (HyClone, cat# SV30169.03), 1% antibiotics (100 U/ml penicillin, 100 ug/ml streptomycin (GIBCO, cat# 15140-122)), and 1% non-essential amino acids solution (MEM NEAA 100x, GIBCO, cat# 11140-050). Cells were incubated at 37 °C, 5% CO2. | mRNAs from HepG2 and A549 cell lines were isolated from whole cells using Isolate II RNA Mini Kit (Bioline, cat# BIO-52072). The procedure was done according to the manufacturer’s instructions and included the following steps: 350 ul of lysis buffer and 3.5 ul 2-mercaptoethanol (supplemented separately, Bio-Rad, cat# 161-0710) added to each cell plate containing approximately 5x106 eukaryotic cultured cells. Then, cell lysates were placed onto ISOLATE II filters in a 2 ml collection tubes. After centrifuging during 1 min at 11,000 x g ISOLATE II filters were discarded and 350 ul ethanol (70%) was added to homogenized lysates, mixed thoroughly by pipetting up and down. Next, pipetted lysates were loaded onto ISOLATE II RNA mini columns; columns were centrifuged 30 sec at 11,000 x g and then, placed in a new collection tube. After that, 350 ul membrane desalting buffer was added onto the columns and again centrifuged at 11,000 x g for 1 min to dry column membrane. To digest DNA, 95 ul DNase I reaction mixture (containing 10 ul reconstituted DNase I and 90 ul reaction buffer for DNase) was added to each sample and incubated 15 min at room temperature. Then, three washing steps were performed according to the kit`s protocol and mRNA was eluted for each sample by adding 60 ul RNase-free water and centrifuging at 11,000 x g for 1 min. The concentration of mRNA for each sample was measured by NanoDrop 2000 spectrophotometer (Thermo Scientific). | HepG2 | yes, Dynabead mRNA Purification Kit |  | 583421 | cDNA+promethion modification: DCS108 (1) From 25µg of total RNA, we recovered 1.03µg of mRNA (4% recovery); (2) 250ng of mRNA was used as input to the Direct cDNA prep (DCS108) as per minION protocol, up to the final library ready for loading ; (3) In order to run on the PromethION, the SQB buffer from the LSK109 kit was used instead of the RBF in the minION kits; (4)Due to the low starting input, the final recovered library was 50.8ng: (5) Library was loaded and ran for 8 hours on the PromethION.)
SGNex_HepG2_directRNA_replicate5_run1 | promethion | FLO-PRO002 | NA | SQK-RNA002 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 7861846
SGNex_HepG2_directcDNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 1054854
SGNex_HepG2_directRNA_replicate1_run3 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 1359401
SGNex_HepG2_cDNA_replicate1_run4 | minion | FLO-MIN106 | NA | SQK-PCS108 | cDNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 3373084
SGNex_HepG2_directRNA_replicate2_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 213932
SGNex_HepG2_directRNA_replicate3_run1 | gridion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 135998
SGNex_HepG2_directcDNA_replicate4_run1 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 149321
SGNex_HepG2_directcDNA_replicate4_run2 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 611543
SGNex_HepG2_cDNAStranded_replicate4_run3 | minion | FLO-MIN106 | NA | SQK-PCS109 | cDNAStranded |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 1577247
SGNex_HepG2_directRNA_replicate5_run2 | minion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 2034736
SGNex_HepG2_directcDNA_replicate5_run3 | minion | FLO-MIN106D | EXP-NBD103 | SQK-DCS109 | direct-cDNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 1341340
SGNex_HepG2_cDNAStranded_replicate5_run4 | minion | FLO-MIN106D | NA | SQK-PCS109 | cDNAStranded |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 13431424
SGNex_HepG2_directRNA_replicate6_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HepG2 | yes, Dynabead mRNA Purification Kit |  | 1656793
SGNex_A549_directcDNA_replicate2_run1 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA | A549 cell line was grown in DMEM (Gibco, #11960044), supplemented with 10% Fetal Bovine Serum (Hyclone, #SV30160.03HI), 1% Penicillin-Streptomycin (Gibco, #15140122), 1% L-glutamine (Gibco, #25030081), 1% Sodium Pyruvate (Gibco, #11360070) and 1% MEM Non-Essential Amino Acids (Gibco, #11140076). The cells were grown to 70% confluence and passaged every 3 days. The cells were trypsinized and harvested for RNA extraction. |  | A549 | yes, Dynabead mRNA Purification Kit |  | 246339
SGNex_A549_directcDNA_replicate3_run1 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 78528
SGNex_A549_directcDNA_replicate3_run2 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 1881992
SGNex_A549_cDNAStranded_replicate3_run3 | minion | FLO-MIN106 | NA | SQK-PCS109 | cDNAStranded |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 2429224
SGNex_A549_directRNA_replicate5_run1 | minion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 1936853
SGNex_A549_cDNAStranded_replicate5_run2 | minion | FLO-MIN106D | NA | SQK-PCS109 | cDNAStranded |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 12232845
SGNex_A549_directcDNA_replicate5_run3 | gridion | FLO-MIN106D | NA | SQK-DCS109 | direct-cDNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 1158921
SGNex_A549_directRNA_replicate6_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 1435444
SGNex_A549_directRNA_replicate4_run1 | promethion | FLO-PRO002 | NA | SQK-RNA002 | directRNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 4731906
SGNex_A549_directRNA_replicate1_run1 | gridion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 536254
SGNex_A549_cDNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-PCS108 | cDNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 2976193
SGNex_A549_directcDNA_replicate1_run3 | gridion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | A549 | yes, Dynabead mRNA Purification Kit |  | 2138637
SGNex_H9_directRNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA | H9 (WA-09, passage 35) cells from WiCell was used in this study. hESCs were culture in mTeSR1 (STEMCELL Technologies) media according manufacturer's protocol. Briefly, cells were cultured on 30x diluted Matrigel matrix (Corning) coated dishes under normoxia (37°C, 21% O2, 5% CO2). Cell culture plates were coated with Matrigel for at least 1hr in the incubator before use. Culture medium was refreshed daily. Cells were subcultured using 1 mg/ml Dispase in DMEM/F12 (STEMCELL Technologies) every 3-6 days according to manufacturer’s protocol. | Total RNA was extracted with Qiagen AllPrep DNA/RNA Mini Kit (80204) according to manufacturer’s instruction. | H9 | NA |  | 669590
SGNex_H9_directcDNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | H9 | NA |  | 708186
SGNex_H9_cDNA_replicate2_run4 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA | Cell culture: human embryonic stem cells (H9) were cultured in mTeSRTM1 (#05851, stem cell technologies) medium, in the presence of 1X Supplement (#05852, stem cell technologies). | Trizol method (Thermo Fisher). | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 25990415
SGNex_H9_cDNA_replicate3_run4 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 26661355
SGNex_H9_cDNA_replicate4_run4 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 23772988
SGNex_H9_directcDNA_replicate2_run3 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 13836184
SGNex_H9_directcDNA_replicate3_run3 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 11685830
SGNex_H9_directcDNA_replicate4_run3 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 12338217
SGNex_H9_directRNA_replicate2_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 660799 | There is a all concatenated version of fastq.gz file in the provided fastq path
SGNex_H9_directRNA_replicate2_run2 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 318657
SGNex_H9_directRNA_replicate3_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 656225
SGNex_H9_directRNA_replicate3_run2 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 296721
SGNex_H9_directRNA_replicate4_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 929959
SGNex_H9_directRNA_replicate4_run2 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | H9 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng SIRV-4 | 223299
SGNex_HEYA8_cDNA_replicate1_run4 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA | HEYA8: ovarian cancer cell line, grown in RPMI media supplemented with 10% FBS, 1% P/S, 1% sodium pyruvate and 1% L-glut | Using BioLine Isolate II mini kit (Cat# BIO-52072) 1. Wash cells on 10cm dish twice with DPBS 2. Cell lysis o Make a mastermix of 350ul lysis buffer RLY and 3.5ul B-ME per dish o Add 350ul of mastermix to each dish o Scrap cells and collect in new 2ml tube 3. Filter lysate o Place isolate II filter (violet) in a 2ml collection tube o Load lysate and centrifuge 1min, 11,000g 4. Adjust RNA binding conditions o Discard violet filter o Add 350ul 70% EtOH and pipette mix 5. Bind RNA o Place isolate II RNA mini column (blue) in a 2ml collection tube o Pipette lysate up and down 2-3 times and load lysate into column o Centrifuge 30s, 11,000g o Place column in a new 2ml collection tube 6. Desalt silica membrane o Add 350ul membrane desalting buffer (MEM) o Centrifuge 1min, 11,000g to dry membrane 7. Digest DNA o Add 10ul of DNAse I to 90ul of reaction buffer per sample, make mastermix, pipette mix o Add 95ul of DNAse I reaction mixture directly to membrane o Incubate 15mins RTP 8. Wash and dry silica membrane o Wash once with 200ul wash buffer RW1, 11,000g, 30s o Wash once with 600ul wash buffer RW2, 11,000g, 30s o Wash once with 250ul wash buffer RW2, 11,000g, 2mins 9. Elute RNA o Add 60ul H20 directly to membrane § Ensure H20 covers membrane entirely § Incubate 5mins o Centrifuge 1min, 11,000g o Keep RNA on ice, store in -80C | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 27629966
SGNex_HEYA8_cDNA_replicate2_run4 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 27155084
SGNex_HEYA8_cDNA_replicate3_run3 | promethion | FLO-PRO002 | SQK-PCB109 | SQK-PCB109 | cDNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 24426092
SGNex_HEYA8_directcDNA_replicate1_run3 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 12729254
SGNex_HEYA8_directcDNA_replicate2_run3 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 12961301
SGNex_HEYA8_directcDNA_replicate3_run2 | promethion | FLO-PRO002 | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 10017902
SGNex_HEYA8_directRNA_replicate1_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 1097491 | There is a all concatenated version of fastq.gz file in the provided fastq path
SGNex_HEYA8_directRNA_replicate1_run2 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 265654
SGNex_HEYA8_directRNA_replicate2_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 1007926
SGNex_HEYA8_directRNA_replicate2_run2 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 609092
SGNex_HEYA8_directRNA_replicate3_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | HEYA8 | yes, Dynabead mRNA Purification Kit | 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 E2 | 1362327
SGNex_Hct116_directRNA_replicate2_run1 | minion | FLO-MIN107 | NA | SQK-RNA001 | directRNA | Volume used depends on culture plate/flask size Both cell lines cultured at 1X106 cells/ml with 25ml of Complete DMEM media in 150cmsq Flask for 3 days. Cultured media is removed by vacuum pump connected at BSC II. 15ml of PBS was used to wash off excess media coating the cells. Cells are then dissociated with 3.5ml of Trypsin which covered the surface area and neutralized with 7.5ml of same cell culture media (2.5 times of trypsin used). All cells are collected using serological pipet into labeled 15ml falcon tube. Tubes are centrifuged at 1100rpm, room temperature for 4mins. All supernatant are removed and cell pellets are lysed for RNA extraction using Trizol and transferred to the labeled snaptubes accordingly as stated in the RNA extraction protocol. Culture media and Neutralisation Complete DMEM media: Basic media + 10%FBS+ 1%PS SH30243.01 HYCLONE DMEM with High Glucose + S181BH-500 Biowest Foetal bovine serum (FBS), premium grade Heat inactivated +15140122 Penicillin Streptomycin Solution 100ML Dissociation buffer/ Trypsinization 25200056 Trypsin-EDTA (0.25%), phenol red, 100ml Wash buffer SH30028.02 - HYCLONE Dulbecco's Phosphate Buffered Tissue culture plasticware 355001 Falcon® 150cm² Rectangular Canted Neck Cell Culture Flask with Vented Cap 352099 Falcon® Conical Tube 15ml PS Screw Cap, 17 x 120mm MCT-175-C Axygen Micro Tubes 1.7ml Snaplock (500) | We are using Direct-zol™ RNA Miniprep kit (ZYR.R2052, Zymo research) for following samples RNA extraction. We have lysed the cell pellets collected from cell culture with 300ul TRIzol™ Reagent (15596018, Ambion) based on cell quantity (≤ 106 ) followed by using the Direct-zol™ RNA Miniprep kit. All the reagents and consumables from the kit are used to perform the remaining extraction steps provided by the manufacturer. All the steps are performed at room temperature and centrifugation at 10,000-16,000 x g for 30 seconds An equal volume of ethanol (95-100%) has added to lysed sample and mixed thoroughly before transferred the mixture to a Zymo-Spin™ IICR Column in a collection tube and centrifuge. Flow-through is discarded and 400 μl of RNA Wash Buffer is added to the column and centrifuged. Flow-through is discarded before applied 80ul of DNase I treatment (in-column) by the following dilution: 5 μl DNase I (6 U/μl) to 75 μl DNA Digestion Buffer. Samples are incubated at room temperature (20-30°C) for 15 minutes. 400 μl of Direct-zol™ RNA Prewash is added to the column and centrifuged. After flow-through has discarded, prewash step is repeated. For the last wash, 700 μl of RNA Wash Buffer is added to the column and centrifuged for 1 minute to ensure complete removal of the wash buffer. Column is then carefully transferred into an RNase-free tube. 30-50 μl of DNase/RNase-Free Water has directly to the column matrix and centrifuged for elution. The eluted RNA concentration is measured by Nanodrop and stored frozen at -80°C for sample collection. | Hct116 | no |  | 191639
SGNex_Hct116_directRNA_replicate2_run2 | minion | FLO-MIN107 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 25333
SGNex_Hct116_directRNA_replicate2_run3 | minion | FLO-MIN107 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 340483
SGNex_Hct116_directRNA_replicate2_run4 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | no |  | 202247
SGNex_Hct116_directRNA_replicate2_run5 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 164371
SGNex_Hct116_directRNA_replicate2_run6 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | Hct116 | no |  | 374321
SGNex_Hct116_directRNA_replicate3_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @5ng | 1250343
SGNex_Hct116_directcDNA_replicate3_run2 | gridion | FLO-MIN106D | NA | SQK-DCS109 | direct-cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @3ng | 6952609
SGNex_Hct116_directcDNA_replicate4_run1 | gridion | FLO-MIN106D | NA | SQK-DCS109 | direct-cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @3ng | 7656893
SGNex_Hct116_directcDNA_replicate5_run1 | gridion | FLO-MIN106D | NA | SQK-DCS109 | direct-cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @3ng | 6883525
SGNex_Hct116_cDNA_replicate3_run3 | gridion | FLO-MIN106D | NA | SQK-PCS109 | cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @0.1ng | 6367425
SGNex_Hct116_cDNA_replicate4_run2 | gridion | FLO-MIN106D | NA | SQK-PCS109 | cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @0.1ng | 6932978
SGNex_Hct116_cDNA_replicate3_run5 | promethion | FLO-PRO002 | NA | SQK-PCS110 (trial) | cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @0.04ng (40pg) , 1% SIRV set 4, 1:2000 dilution of 1µl stock at 5.35ng/µl, | 135163486
SGNex_Hct116_cDNA_replicate4_run4 | promethion | FLO-PRO002 | NA | SQK-PCS110 (trial) | cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @0.04ng (40pg) , 1% SIRV set 4, 1:2000 dilution of 1µl stock at 5.35ng/µl, | 121450765
SGNex_Hct116_cDNA_replicate4_run5 | gridion | FLO-MIN106D | NA | SQK-PCS111 (trial) | cDNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 20553192
SGNex_Hct116_directRNA_replicate3_run4 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 1185183
SGNex_Hct116_directRNA_replicate4_run3 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | Hct116 | yes, Dynabead mRNA Purification Kit |  | 1896643
SGNex_MCF7_directRNA_replicate1_run1 | minion | FLO-MIN106 | NA | SQK-RNA001 | directRNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 30520
SGNex_MCF7_directcDNA_replicate1_run2 | minion | FLO-MIN106 | NA | SQK-DCS108 | direct-cDNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 833885
SGNex_MCF7_cDNA_replicate1_run3 | minion | FLO-MIN106 | NA | SQK-PCS108 | cDNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 2849147
SGNex_MCF7_cDNAStranded_replicate2_run1 | gridion | FLO-MIN106D | NA | SQK-PCS109 | cDNAStranded |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 3988884
SGNex_MCF7_directRNA_replicate3_run1 | minion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 1674886
SGNex_MCF7_cDNAStranded_replicate3_run2 | gridion | FLO-MIN106D | NA | SQK-PCS109 | cDNAStranded |  |  | MCF7 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @0.05ng | 9443897
SGNex_MCF7_directcDNA_replicate3_run3 | gridion | FLO-MIN106D | EXP-NBD104 | SQK-DCS109 | direct-cDNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @1.5ng | 1830363
SGNex_MCF7_directRNA_replicate4_run1 | gridion | FLO-MIN106D | NA | SQK-RNA002 | directRNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @5ng | 1380103
SGNex_MCF7_directcDNA_replicate4_run2 | gridion | FLO-MIN106D | NA | SQK-DCS109 | direct-cDNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit | 1% RNA sequin Mix A v1.0 @3ng | 4948000
SGNex_MCF7_directRNA_replicate2_run2 | promethion | FLO-PRO002 | NA | SQK-RNA001 | directRNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 443509 | 37ug of total RNA was recovered and 36ug was input to mRNA enrichment. Enrichment yield was ~910ng (2.5%). All enriched mRNA was input to direct RNA prep, without reverse-transcription, similar to the prep by Wan Yue's group. Run started well with 1416/2229 = 63% pore occupancy but it decreased quite quickly within the first 20 hours and became saturated, run aborted.
SGNex_MCF7_directRNA_replicate2_run3 | promethion | FLO-PRO002 | NA | SQK-RNA002 | directRNA |  |  | MCF7 | yes, Dynabead mRNA Purification Kit |  | 7230921

## Illumina Samples
Sample | Cell line | Library preparation | Sequencing protocol | Spike in concentration | Sequencing depth
SGNex_A549_Illumina_replicate1_run1 | A549 | Short-read RNA-seq data was generated for three selected biological replicates from each of the 5 human cell lines analyzed with Nanopore long reads as part of the SG-NEx core data. 1µg of total RNA of each replicate was spiked with 10ng (1%) RNA sequin Mix A, v1.0 (Garvan Institute of Medical Research), followed by multiplexed library preparation with the TruSeq Stranded mRNA kit (Illumina), according to manufacturer’s instructions. | Indexed libraries were analyzed by D1000 ScreenTape Assay (Agilent Technologies) for size and concentration for equimolar pooling. Pooled library was quantified with the KAPA Library Quantification Kit (Roche) and sequenced on two Illumina HiSeq 4000 lanes with the paired-end 2 x 151bp workflow. | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 23474050
SGNex_A549_Illumina_replicate3_run1 | A549 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 28037339
SGNex_A549_Illumina_replicate5_run1 | A549 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 25473482
SGNex_HepG2_Illumina_replicate2_run1 | HepG2 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 24002139
SGNex_HepG2_Illumina_replicate4_run1 | HepG2 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 23891475
SGNex_HepG2_Illumina_replicate5_run1 | HepG2 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 27058493
SGNex_Hct116_Illumina_replicate3_run1 | Hct116 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 25843165
SGNex_Hct116_Illumina_replicate4_run1 | Hct116 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 24198262
SGNex_Hct116_Illumina_replicate5_run1 | Hct116 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 28972397
SGNex_K562_Illumina_replicate3_run1 | K562 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 24120786
SGNex_K562_Illumina_replicate4_run1 | K562 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 25114793
SGNex_K562_Illumina_replicate5_run1 | K562 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 21973035
SGNex_MCF7_Illumina_replicate2_run1 | MCF7 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 24829316
SGNex_MCF7_Illumina_replicate3_run1 | MCF7 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 20604845
SGNex_MCF7_Illumina_replicate4_run1 | MCF7 |  |  | 1% RNA sequin Mix A v1.0 @ 10ng to1000ng | 25466847
SGNex_H9_Illumina_replicate2_run1 | H9 | Short-read RNA-seq data was generated for three selected biological replicates from H9 and HEYA8 human cell lines analyzed with Nanopore long reads. 0.7µg of total RNA of each replicate was spiked with 7ng (1%) RNA sequin Mix A, v2.0 (Garvan Institute of Medical Research) and 7ng (1%) SIRV set 4 (Lexogen), followed by multiplexed library preparation with the TruSeq Stranded mRNA kit (Illumina), according to manufacturer’s instructions. |  | 1% Sequin (RNA Mix A, version 2) @8ng to 800ng + 1% SIRV-1 E2 @8ng to 800ng | 42081879
SGNex_H9_Illumina_replicate3_run1 | H9 |  |  | 1% Sequin (RNA Mix A, version 2) @8ng to 800ng + 1% SIRV-1 E2 @8ng to 800ng | 44893289
SGNex_H9_Illumina_replicate4_run1 | H9 |  |  | 1% Sequin (RNA Mix A, version 2) @8ng to 800ng + 1% SIRV-1 E2 @8ng to 800ng | 51467648
SGNex_HEYA8_Illumina_replicate1_run1 | HEYA8 |  |  | 1% SIRV-4 @8ng to 800ng | 45738153
SGNex_HEYA8_Illumina_replicate2_run1 | HEYA8 |  |  | 1% SIRV-4 @8ng to 800ng | 42643778
SGNex_HEYA8_Illumina_replicate3_run1 | HEYA8 |  |  | 1% SIRV-4 @8ng to 800ng | 38555756

## PacBio Samples
Sample | Cell line | Library preparation | Sequencing protocol | Spike in concentration | Sequencing depth | Extra notes
SGNex_MCF7_PacBio-SMRTcell_replicate5_run1 | MCF7 | 300ng of total RNA was spiked in with 6ng (1%) RNA sequin Mix A (V2) and 6ng (1%) SIRV-1 and 4 | Prepared libraries are then sequenced on PacBio Sequel II by Genomics WA Telethon Kids using PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 2329823 | Likely 10% of each RNA spike-in was added instead of 1% accidentily
SGNex_HepG2_PacBio-SMRTcell_replicate7_run1 | HepG2 |  | PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 3219563
SGNex_A549_PacBio-SMRTcell_replicate7_run1 | A549 |  | PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 2788118
SGNex_Hct116_PacBio-SMRTcell_replicate7_run1 | HCT116 |  | PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 2409308
SGNex_K562_PacBio-SMRTcell_replicate7_run1 | K562 |  | PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 2225946
SGNex_HEYA8_PacBio-SMRTcell_replicate4_run1 | HEYA8 |  | PacBio-SMRTcell | 300ng Sample RNA, 1% spike-in of 6ng RNA sequin Mix A, V2, 6ng SIRV-1 4 | 3426335
1:
2:
3:
4:
5:
6:

## m6ACE-seq data
m6ACE-seq protocol
ATCC HCT116 <exact clone name to be confirmed by wai leong> cells were cultivated in a sterile 5% CO2 incubator at 37 °C in McCoy 5a supplemented with 10% FBS and 1% penicillin–streptomycin. Cells within passages 3–20 were used for experiments. HCT116 cells were regularly subjected to testing with the MycoAlert Plus Mycoplasma kit (Lonza, LT07) to verify that they were free of Mycoplasma.
m6ACE library prep and analysis method are as described in "Atlas of quantitative single-base-resolution N6 -methyl-adenine methylomes"