## Sheet1
Table S1: Metrics of EM data acquisition and grid preparation utilized while importing movies for particle picking.
SN | EMPAIR ID | Micrograph Format | Gain File Format (if Exists) | Necessary GAIN file modification | Pixel Spacing (Å) | Acceleration Voltage (kV) | Spherical Aberration (mm) | Electron Dose (e/A^2) | Defocus range (μm) | Microscope | Detector
1 | 10389 | tif | mrc | Two MRCs for two different datasets | 0.639 | 300 | 2.7 | 42 | -0.2 to -0.5 | Titan Krios Microscope | K2 Summit Direct Electron Detector (Gatan)
2 | 10081 | mrc | N/A | Motion corrected 2D projection images of the N-terminal deleted innexin-6 gap junction hemichannels in nanodiscs. | 1.3 | 300 | 2.7 | 50 | -1.5 to -3.3 | Titan Krios Microscope | K2 Summit Direct Electron Detector (Gatan)
3 | 10289 | mrc | N/A | Motion corrected 2D projection images of innexin-6 gap junction hemichannels in nanodiscs. | 1.232 | 300 | 2.7 | 35 | Estimated with CTFFIND4 | JEM-3000SFF (JEOL) Microscope | K2 Summit Direct Electron Detector (Gatan)
4 | 11057 | tif | mrc | Please use CountCDSRef_2021-10-03_05.10.16_210922_2_5_230-1_0000.mrc as a gain reference without rotation and flipping. The four digits at the end of the file names (0000 to 0024) represent beam shift directions. | 0.752 | 300 | 2.7 | 50 | -0.8 to -2.3 | CRYO ARM 300 (JEOL) Microscope | GATAN K3 BIOQUANTUM (6k x 4k)
5 | 10444 | tif | mrc | Gain reference is provided, which need to be flipped ('Flip upside down (1)' in RELION). | 0.83 | 300 | 2.7 | 59.4 |  | Titan Krios Microscope | K3 Direct Electron Detector (Gatan)
6 | 10576 | tif | dm4 | NA | 0.679 | 300 | 2.7 | 40 |  | Titan Krios Microscope | K2 Summit Direct Electron Detector (Gatan)
7 | 10816 | tif | dm4 | The gain reference file is in dm4 format (Digital Micrograph). The super-resolution pixel size is 0.52 Angstrom (1.04 after binning) | 0.502 | 300 | 2.7 | 74 | -1.5 to -3.5 | Titan Krios Microscope | K2 Summit Direct Electron Detector (Gatan)
8 | 10526 | tif | dm4 | NA | 0.8283 | 300 | 2.7 | 71.2 | 0.3 to 0.8 | Titan Krios Microscope (ThermoFisher) | K2 Summit Direct Electron Detector (Gatan)
9 | 11051 | mrc | mrc | NA | 0.84 | 300 | 2.7 | 52.2 | 0.6 to 2.8 | Titan Krios Microscope (ThermoFisher) | K2 Summit Direct Electron Detector (Gatan)
10 | 10760 | mrc | N/A | Motion corrected 2D projection images of the N-terminal deleted innexin-6 gap junction hemichannels in nanodiscs. | 1.232 | 300 | 2.7 | 56 | 1.4 to 3.5 | JEM-3000SFF (JEOL) Microscope | K2 Summit Direct Electron Detector (Gatan)
11 | 11183 | mrc | N/A | Motion corrected 2D projection images of the N-terminal deleted innexin-6 gap junction hemichannels in nanodiscs. | 0.88 | 200 | 2.7 | 45 | 0.1 to 3.2 | G3 Talos Arctica Microscope | K3 Camera (Gatan)
12 | 10671 | tif | mrc | NA | 0.83 | 300 | 2.7 | 52.4 | −0.6 to −1.5 | Titan Krios G3i Microscope (ThermoFisher Scientific) | K3 Direct Electron Detector (Gatan)
13 | 10291 | mrc | N/A | Motion corrected 2D projection images of the N-terminal deleted innexin-6 gap junction hemichannels in nanodiscs. | 1.232 | 300 | 2.7 | 35 | Estimated with CTFFIND4 | JEM-3000SFF (JEOL) Microscope | K2 Summit Direct Electron Detector (Gatan)
14 | 10669 | mrc | N/A | Motion Corrected | 0.685 | 200 | 2.7 | 44 | −0.7 to −3.0 | Titan Krios Microscope (FEI) | K2 Summit Direct Electron Detector (Gatan)
15 | 10077 | mrc | N/A | Motion Corrected | 1.16 | 300 | 2.7 | 30 | -0.7 to -2.6 | Titan Krios Microscope (FEI) | Falcon II Direct Detector
16 | 10061 | mrc | N/A | Motion Corrected | 0.3185 | 300 | 2.7 | 45 | 0.6 to 2.0 | FEI TITAN KRIOS | GATAN K2 (4k x 4k)
17 | 10028 | mrc | N/A | Motion Corrected | 1.34 | 300 | 2.7 | 20 | 0.8 to 3.8 | Titan Krios Microscope (FEI) | FEI Falcon II Detector
18 | 10096 | mrc | N/A | Motion Corrected | 1.31 | 300 | 2.7 | 82 | -0.75 to -3.0 | Titan Krios Microscope (FEI) | K2 Summit Direct Electron Detector (Gatan)
19 | 10737 | tiff | mrc | NA | 1 | 300 | 2.7 | 58 |  | Titan Krios Microscope | GATAN K3 (6k x 4k)
20 | 10387 | mrc | N/A | Motion Corrected | 0.79 | 300 | 2.7 | 45 | 1.5 - 3.0 | FEI TITAN KRIOS | GATAN K2 SUMMIT (4k x 4k)
21 | 10532 | mrc | N/A | Motion Corrected | 1.03 | 300 | 2.7 | 45 |  | FEI TITAN KRIOS | FEI FALCON IV (4k x 4k)
22 | 10240 | mrc | N/A | Motion Corrected | 1.0961 | 300 | 2.7 | 62.61 | -1.5 to -2.5 | Titan Krios Microscope | GATAN K2 SUMMIT (4k x 4k)
23 | 10005 | mrc | N/A | Motion Corrected | 1.2156 | 200 | 2.7 | 41 | 1.5 to 3.0 | FEI POLARA 300 | GATAN K2 (4k x 4k)
24 | 10017 | mrc | N/A | Motion Corrected | 1.77 | 300 | 2.7 | 24 | 1.359 to 4.962 | FEI POLARA 300 | FEI FALCON II (4k x 4k)
25 | 10075 | mrc | N/A | Motion Corrected | 1.16 | 300 | 2.7 | 35 | 0.5 to 2.5 | FEI TITAN KRIOS | FEI FALCON II (4k x 4k)
26 | 10184 | mrc | N/A | Motion Corrected | 0.85 | 300 | 2.7 | 65 |  | FEI TITAN KRIOS | GATAN K2 QUANTUM (4k x 4k)
27 | 10059 | mrc | N/A | Motion Corrected | 1.2156 | 300 | 2.7 | 41 | 0.7 to 2.2 | FEI POLARA 300 | GATAN K2 SUMMIT (4k x 4k)
28 | 10406 | mrc | N/A | Motion Corrected | 1.07 | 300 | 2.7 | 58 | 0.8 to 2.7 | FEI TITAN KRIOS | GATAN K2 SUMMIT (4k x 4k)
29 | 10590 | mrc | N/A | Motion Corrected | 1.5 | 200 | 2.7 | 66.7 |  | FEI TALOS ARCTICA | GATAN K2 SUMMIT (4k x 4k)
30 | 10093 | mrc | N/A | Motion Corrected | 1.2156 | 300 | 2.7 | 54 | -1.4 to -3.3 | FEI POLARA 300 | GATAN K2 SUMMIT (4k x 4k)
31 | 10345 | mrc | N/A | Motion Corrected | 1.345 | 300 | 2.7 | 70 |  | FEI TITAN KRIOS | GATAN K2 SUMMIT (4k x 4k)
32 | 11056 | tiff | dm4 | NA | 0.83 | 300 | 2.7 | 66 | 0.8 to 1.6 | FEI TITAN KRIOS | GATAN K3 (6k x 4k)
33 | 10852 | tiff | dm4 | NA | 0.91 | 200 | 2.7 | 45 |  | FEI TALOS ARCTICA | GATAN K3 (6k x 4k)
34 | 10947 | mrc | N/A | Motion Corrected | 0.83 | 300 | 2.7 | 45 | 0.8-2.5 | TFS Krios | FEI FALCON IV (4k x 4k)