Radiomic MRI signature reveals three distinct subtypes of glioblastoma with different clinical and molecular characteristics, offering prognostic value beyond IDH1

Saima Rathore1,2†, Hamed Akbari1,2†, Martin Rozycki1,2, Kalil G. Abdullah3, MacLean P. Nasrallah4, Zev A. Binder3, Ramana V. Davuluri5, Robert A. Lustig6, Nadia Dahmane3, Michel Bilello1,2, Donald M. O’Rourke3, Christos Davatzikos1,2*

1Department of Radiology, Perelman School of Medicine; 2Center for Biomedical Image Computing and Analytics, Perelman School of Medicine; 3Department of Neurosurgery, Perelman School of Medicine; 4Department of Pathology and Laboratory Medicine, Perelman School of Medicine, University of Pennsylvania, Philadelphia, PA, USA. 5Department of Biomedical Informatics, Northwestern University Feinberg School of Medicine, Chicago, IL, USA. 6Department of Radiation Oncology, Perelman School of Medicine, University of Pennsylvania, Philadelphia, PA, USA.

S1. Data acquisition protocol

Pre-operative magnetic resonance images (MRIs) were acquired using a 3 Tesla scanner. Obtained for all patients prior to surgery were: T1-weighted (T1): matrix 192 × 256 × 192; resolution 0.98 × 0.98 × 1.00 mm3; repetition time (TR): 1760 ms; echo time (TE): 3.1 ms; T1 with contrast-enhanced (T1CE): matrix 192 × 256 × 192; resolution 0.98 × 0.98 × 1.00; TR: 1760 ms; TE: 3.1 ms. T2-weighted (T2): matrix 210 × 256 × 64; resolution 0.94 × 0.94 × 3.00; TR: 4680 ms; TE: 85 ms. T2 fluid-attenuated inversion recovery (FLAIR): matrix 192 × 256 × 60; resolution 0.94 × 0.94 × 3.00; TR: 9420 ms; TE: 141 ms. Diffusion tensor imaging (DTI): matrix 128 × 128 × 40; resolution 1.72 × 1.72 × 3.00; 30 gradient directions. Dynamic susceptibility contrast-enhanced (DSC)-MRI, gradient echo type echo planar imaging (GRE EPI) = field of view (FOV) 22 cm 128 × 128 × 20; resolution 1.72 × 1.72 × 3 mm3; TR: 2000 ms; TE: 45 ms. An initial loading dose of one-quarter of the total contrast dose was administered first to help minimize errors due to potential contrast leakage out of intravascular space, and DSC-MRI data were acquired during a second bolus of the remaining contrast dose after a 5-min delay for a total of 0.3 mL/kg or 1.5 times single dose MultiHance (gadobenate dimeglumine). For post-processing, blood volume maps were created on a Leonardo workstation (Siemens) using the Neuro Perfusion Evaluation task card as per clinical routine.

S2. Inclusion criteria and study source

Inclusion of patients was based on the following criteria: (i) age over 18 years, (ii) histo-pathological tissue diagnosis of glioblastoma (WHO grade IV), (iii) availability of 3 Tesla scanner data, and (iv) available pre-operative MRI consisting of pre-contrast axial T1, T1CE, T2, FLAIR, DTI, and DSC-MRI. The inclusion criterion for survival analysis was gross total resection of tumor. For molecular subtypes and epidermal growth factor receptor variant –III (EGFRvIII) analyses, the inclusion criterion was availability of data. Molecular subtypes and EGFRvIII mutation status were determined by the methods described in Pal et al.1 and Section S3, respectively. All patients were treated according to standard of care, which included maximal safe resection, radiotherapy to 6000 cGy, and concomitant and adjuvant chemotherapy with temozolomide2. The Karnofsky performance status (KPS) of the patients was obtained from the clinical records. The study was approved by the institutional review board of the University of Pennsylvania. The isocitrate dehydrogenase-1 (IDH1) mutation status and O6-methylguanine–DNA methyltransferase methylation status for the replication cohort were acquired from the clinical records. The IDH1 mutation status was determined by next generation sequencing.

S3. Determination of EGFRvIII mutation status

The most representative block per resected tissue specimen was chosen by a board certified neuropathologist on the basis of morphology for further genetic analysis. Total nucleic acids, enriched for RNA was extracted from the submitted Formalin-fixed Paraffin-embedded specimen according to manufacturer`s instructions (BeckmanCoulter, Inc., Brea, California.). cDNA was then synthesized from RNA, allowing detection of genomic rearrangements in an "intron-free environment" and allowing direct detection of EGFR normal and variant gene expression. Polymerase chain reaction (PCR) primers were designed to capture exons 1-2 (wildtype) and exons 1 to 8 (EGFRvIII mutant). In addition, three primer sets within EGFR are included to detect the level of RNA degradation in the sample using these sets with increasing target sizes (9-9: 93bp, 9-10: 141bp and 9-12: 251bp) and internal housekeeping genes expressed in the brain.

Sequencing of PCR-enriched libraries was performed on the Illumina MiSeq platform using multiplexed, paired-end reads.  Analysis and interpretation utilized a customized bioinformatics process. All variants listed are with reference to the hg19 Genome build.

This assay detects the presence or absence of the EGFRvIII directly demonstrating the presence of the critical “glycine” at the exon1-8 boundary and determines the relative burden of EGFRvIII to wildtype EGFR. This assay detects variants representing at least 5% of the total sequence reads. A bioinformatics pipeline, ‘EGFRvIII Picker v1.1’, was used to process the data and identify normal and abnormal reads.

Tables

Table S1: Description of the features used for unsupervised clustering. ED =Edema, NC = Non-enhancing tumor core, TU = Enhancing tumor core, PH = Peak height, PSR = Percent signal recovery, RCBV = Relative cerebral blood volume, TR = Diffusion trace signal, FA = Fractional anisotropy, RAD = Radial diffusivity, AX = Axial diffusivity.

| Feature name | Feature description |
| --- | --- |
| N_ED_VOL | Normalized volume of edema w.r.t total brain size |
| N_NC_VOL | Normalized volume of non-enhancing tumor core w.r.t total brain size |
| N_TU_VOL | Normalized volume of enhancing tumor |
| N_TU_VOL/ N_NC_VOL | Ratio of volume of enhancing tumor to volume of non-enhancing tumor core |
| N_ED_VOL /(N_NC_VOL+ N_ED_VOL+ N_TU_VOL) | Ratio of volume of edema to the volume of whole tumor (combined volume of edema, non-enhancing tumor core and enhancing tumor) |
| No. of Tumors | Number of tumors in the brain |
| DW | Diffusion of tumor in white matter (a parameter measured by biophysical growth model) |
| Time | Estimated growth time by the biophysical tumor growth model |
| ED_MEAN_T1 | Average T1 signal in edema |
| ED_MEAN_T1CE | Average T1CE signal in edema |
| ED_MEAN_T2 | Average T2 signal in edema |
| ED_MEAN_FLAIR | Average FLAIR signal in edema |
| ED_MEAN_AX | Average axial diffusivity in edema |
| ED_MEAN_FA | Average fractional anisotropy in edema |
| ED_MEAN_RAD | Average radial diffusivity in edema |
| ED_MEAN_TR | Average trace in edema |
| ED_MEAN_PH | Average peak height in edema |
| ED_MEAN_RCBV | Average relative cerebral blood volume in edema |
| ED_MEAN_PSR | Average percent signal recovery in edema |
| NC_MEAN_T1 | Average T1 signal in non-enhancing tumor core |
| NC_MEAN_T1CE | Average T1CE signal in non-enhancing tumor core |
| NC_MEAN_T2 | Average T2 signal in non-enhancing tumor core |
| NC_MEAN_FLAIR | Average FLAIR signal in non-enhancing tumor core |
| NC_MEAN_AX | Average axial diffusivity in non-enhancing tumor core |
| NC_MEAN_FA | Average fractional anisotropy in non-enhancing tumor core |
| NC_MEAN_RAD | Average radial diffusivity in non-enhancing tumor core |
| NC_MEAN_TR | Average trace in non-enhancing tumor core |
| NC_MEAN_PH | Average peak height in non-enhancing tumor core |
| NC_MEAN_RCBV | Average relative cerebral blood volume in non-enhancing tumor core |
| NC_MEAN_PSR | Average percent signal recovery in non-enhancing tumor core |
| TU_MEAN_T1 | Average T1 signal in enhancing tumor |
| TU_MEAN_T1CE | Average T1CE signal in enhancing tumor |
| TU_MEAN_T2 | Average T2 signal in enhancing tumor |
| TU_MEAN_FLAIR | Average FLAIR signal in enhancing tumor |
| TU_MEAN_AX | Average axial diffusivity in enhancing tumor |
| TU_MEAN_FA | Average fractional anisotropy in enhancing tumor |
| TU_MEAN_RAD | Average radial diffusivity in enhancing tumor |
| TU_MEAN_TR | Average trace in enhancing tumor |
| TU_MEAN_PH | Average peak height in enhancing tumor |
| TU_MEAN_RCBV | Average relative cerebral blood volume in enhancing tumor |
| TU_MEAN_PSR | Average percent signal recovery in enhancing tumor |
| ED_STD_T1 | Std. deviation of T1 signal in edema |
| ED_STD_T1CE | Std. deviation of T1CE signal in edema |
| ED_STD_T2 | Std. deviation of T2 signal in edema |
| ED_STD_FLAIR | Std. deviation of FLAIR signal in edema |
| ED_STD_AX | Std. deviation of axial diffusivity in edema |
| ED_STD_FA | Std. deviation of fractional anisotropy in edema |
| ED_STD_RAD | Std. deviation of radial diffusivity in edema |
| ED_STD_TR | Std. deviation of trace in edema |
| ED_STD_PH | Std. deviation of peak height in edema |
| ED_STD_RCBV | Std. deviation of relative cerebral blood volume in edema |
| ED_STD_PSR | Std. deviation of percent signal recovery in edema |
| NC_STD_T1 | Std. deviation of T1 signal in non-enhancing tumor core |
| NC_STD_T1CE | Std. deviation of T1CE signal in non-enhancing tumor core |
| NC_STD_T2 | Std. deviation of T2 signal in non-enhancing tumor core |
| NC_STD_FLAIR | Std. deviation of FLAIR signal in non-enhancing tumor core |
| NC_STD_AX | Std. deviation of axial diffusivity in non-enhancing tumor core |
| NC_STD_FA | Std. deviation of fractional anisotropy in non-enhancing tumor core |
| NC_STD_RAD | Std. deviation of radial diffusivity in non-enhancing tumor core |
| NC_STD_TR | Std. deviation of trace in non-enhancing tumor core |
| NC_STD_PH | Std. deviation of peak height in non-enhancing tumor core |
| NC_STD_RCBV | Std. deviation of relative cerebral blood volume in non-enhancing tumor core |
| NC_STD_PSR | Std. deviation of percent signal recovery in non-enhancing tumor core |
| TU_STD_T1 | Std. deviation of T1 signal in enhancing tumor |
| TU_STD_T1CE | Std. deviation of T1CE signal in enhancing tumor |
| TU_STD_T2 | Std. deviation of T2 signal in enhancing tumor |
| TU_STD_FLAIR | Std. deviation of FLAIR signal in enhancing tumor |
| TU_STD_AX | Std. deviation of axial diffusivity in enhancing tumor |
| TU_STD_FA | Std. deviation of fractional anisotropy in enhancing tumor |
| TU_STD_RAD | Std. deviation of radial diffusivity in enhancing tumor |
| TU_STD_TR | Std. deviation of trace in enhancing tumor |
| TU_STD_PH | Std. deviation of peak height in enhancing tumor |
| TU_STD_RCBV | Std. deviation of relative cerebral blood volume in enhancing tumor |
| TU_STD_PSR | Std. deviation of percent signal recovery in enhancing tumor |
| ED_BINS_T1_1-5 | Percentage of edema voxels in Bin #1-5 of T1 |
| NC_BINS_T1_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of T1 |
| TU_BINS_T1_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of T1 |
| ED_BINS_T1CE_1-5 | Percentage of edema voxels in Bin #1-5 of T1CE |
| NC_BINS_T1CE_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of T1CE |
| TU_BINS_T1CE_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of T1CE |
| ED_BINS_T2_1-5 | Percentage of edema voxels in Bin #1-5 of T2 |
| NC_BINS_T2_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of T2 |
| TU_BINS_T2_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of T2 |
| ED_BINS_FLAIR_1-5 | Percentage of edema voxels in Bin #1-5 of FLAIR |
| NC_BINS_FLAIR_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of FLAIR |
| TU_BINS_FLAIR_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of FLAIR |
| ED_BINS_AX_1-5 | Percentage of edema voxels in Bin #1-5 of axial diffusivity |
| NC_BINS_AX_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of axial diffusivity |
| TU_BINS_AX_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of axial diffusivity |
| ED_BINS_FA_1-5 | Percentage of edema voxels in Bin #1-5 of fractional anisotropy |
| NC_BINS_FA_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of fractional anisotropy |
| TU_BINS_FA_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of fractional anisotropy |
| ED_BINS_RAD_1-5 | Percentage of edema voxels in Bin #1-5 of radial diffusivity |
| NC_BINS_RAD_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of radial diffusivity |
| TU_BINS_RAD_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of radial diffusivity |
| ED_BINS_TR_1-5 | Percentage of edema voxels in Bin #1-5 of trace |
| NC_BINS_TR_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of trace |
| TU_BINS_TR_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of trace |
| ED_BINS_PH_1-5 | Percentage of edema voxels in Bin #1-5 of peak height |
| NC_BINS_PH_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of peak height |
| TU_BINS_PH_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of peak height |
| ED_BINS_RCBV_1-5 | Percentage of edema voxels in Bin #1-5 of relative cerebral blood volume |
| NC_BINS_RCBV_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of relative cerebral blood volume |
| TU_BINS_RCBV_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of relative cerebral blood volume |
| ED_BINS_PSR_1-5 | Percentage of edema voxels in Bin #1-5 of percent signal recovery |
| NC_BINS_PSR_1-5 | Percentage of non-enhancing tumor core voxels in Bin #1-5 of percent signal recovery |
| TU_BINS_PSR_1-5 | Percentage of enhancing tumor voxels in Bin #1-5 of percent signal recovery |
| ED_T1CE_Energy | Texture measure of Energy for edema in T1CE |
| ED_ T1CE _Contrast | Texture measure of Contrast for edema in T1CE |
| ED_ T1CE _Entropy | Texture measure of Entropy for edema in T1CE |
| ED_ T1CE _Homogeneity | Texture measure of Homogeneity for edema in T1CE |
| ED_ T1CE _Correlation | Texture measure of Correlation for edema in T1CE |
| ED_ T1CE _SumAverage | Texture measure of SumAverage for edema in T1CE |
| ED_ T1CE _Variance | Texture measure of Variance for edema in T1CE |
| ED_ T1CE _Dissimilarity | Texture measure of Dissimilarity for edema in T1CE |
| NC_ T1CE _Energy | Texture measure of Energy for non-enhancing tumor core in T1CE |
| NC_ T1CE _Contrast | Texture measure of Contrast for non-enhancing tumor core in T1CE |
| NC_ T1CE _Entropy | Texture measure of Entropy for non-enhancing tumor core in T1CE |
| NC_ T1CE _Homogeneity | Texture measure of Homogeneity for non-enhancing tumor core in T1CE |
| NC_ T1CE _Correlation | Texture measure of Correlation for non-enhancing tumor core in T1CE |
| NC_ T1CE _SumAverage | Texture measure of SumAverage for non-enhancing tumor core in T1CE |
| NC_ T1CE _Variance | Texture measure of Variance for non-enhancing tumor core in T1CE |
| NC_ T1CE _Dissimilarity | Texture measure of Dissimilarity for non-enhancing tumor core in T1CE |
| TU_ T1CE _Energy | Texture measure of Energy for enhancing tumor in T1CE |
| TU_ T1CE _Contrast | Texture measure of Contrast for enhancing tumor in T1CE |
| TU_ T1CE _Entropy | Texture measure of Entropy for enhancing tumor in T1CE |
| TU_ T1CE _Homogeneity | Texture measure of Homogeneity for enhancing tumor in T1CE |
| TU_T1CE_Correlation | Texture measure of Correlation for enhancing tumor in T1CE |
| TU_ T1CE _SumAverage | Texture measure of SumAverage for enhancing tumor in T1CE |
| TU_ T1CE _Variance | Texture measure of Variance for enhancing tumor in T1CE |
| TU_ T1CE _Dissimilarity | Texture measure of Dissimilarity for enhancing tumor in T1CE |
| NC_SPH | Sphericity of non-enhancing tumor core |
| NC_CIR | Circularity of non-enhancing tumor core |
| TUM_SPH | Sphericity of tumor core |
| TUM_CIR | Circularity of tumor core |
| WTUM_SPH | Sphericity of whole tumor |
| WTUM_CIR | Circularity of whole tumor |

Table S2: Demographics of the discovery cohort of glioblastoma subjects (N = 208). Percentages for EGFRvIII mutation and molecular subtypes are in terms of the available number of subjects.

| Characteristics | Category | Value |
| --- | --- | --- |
| Age (Years) |  |  |
|  | MEAN | 62.30 |
|  | Std. deviation | 12.63 |
| Gender |  |  |
|  | Male, n (%) | 120 (57.69) |
|  | Female, n (%) | 88 (42.31) |
| Survival |  |  |
|  | Available after excluding residual, n (%) | 151 (72.59) |
| EGFRvIII |  |  |
|  | Available, n (%) | 107 (51.44) |
|  | Tumors with EGFRvIII, n (%) | 33 (30.84) |
|  | Tumors without EGFRvIII, n (%) | 74 (69.15) |
| Molecular subtype |  |  |
|  | Available, n (%) | 78 (37.50) |
|  | Proneural, n (%) | 13 (16.67) |
|  | Neural, n (%) | 22 (28.21) |
|  | Mesenchymal, n (%) | 23 (29.49) |
|  | Classical, n (%) | 20 (25.64) |

Table S3: Demographics of the replication cohort of glioblastoma subjects (N = 53).

| Characteristics | Category | Value |
| --- | --- | --- |
| Age (Years) |  |  |
|  | MEAN | 61.96 |
|  | Std. deviation | 9.48 |
| Gender |  |  |
|  | Male, n (%) | 31 (58.49) |
|  | Female, n (%) | 22 (41.51) |
| Survival |  |  |
|  | Available after excluding residual, n (%) | 46 (86.79) |

Table S4: Karnofsky Performance Status of the subjects in complete discovery cohort and within different subtypes.

|  | Complete dataset | Rim-enhancing | Irregular | Solid |
| --- | --- | --- | --- | --- |
| MEAN | 74.44 | 73.91 | 75.09 | 74.11 |
| Std. deviation | 11.46 | 14.69 | 8.69 | 12.34 |
| Median | 70.00 | 70.00 | 80.00 | 70.00 |
| Range | 30-100 | 30-100 | 60-90 | 50-100 |

Figures

Fig S1: Image features significantly associated with each subtype calculated via ANOVA and effect size methods. This diagram represents different features shown in Figure 2 of the main manuscript. Instead of the histogram binning based features, average values are shown here for some features for clarity. Results are shown only for the discovery cohort. P<0.01 for all the features.

Pool of EGFRvIII subjects

Pool of EGFRvIII subjects

Solid subtype

Solid subtype

Irregular subtype

Irregular subtype

Fig S2: Effect sizes of the top-most 10 discriminative features between tumors with and without EGFRvIII from the pool of tumors with EGFRvIII (left), and individually in each of the two subtypes that had included the majority of EGFRvIII-mutated tumors. Features are in decreasing discriminative power from bottom-to-top. Positive and negative values of effect size, respectively, show higher and lower value of that feature for EGFRvIII-mutated tumors.

Fig S3. Heterogeneity in the peritumoral edema of irregular and solid subtypes. A. x-axis shows normalized volume of edema and y-axis shows average trace in edema. B. x-axis shows normalized volume of edema and y-axis shows average FLAIR signal in edema.

Fig S4. Kaplan–Meier survival curves of the molecular subtypes. Actual survival on x-axis is compared among each of the four molecular subtypes (p=0.08, log-rank test; hazard ratio = 1.01, 95% CI: 0.90-1.14, Cox proportional hazard model).

Fig S5. Kaplan–Meier survival curves of the imaging subtypes within replication cohort. Actual survival on x-axis is compared among each of the three imaging subtypes (p<0.001, log-rank test; hazard ratio = 3.74, 95% CI:    3.01-4.65, Cox proportional hazard model).

Fig S6. Kaplan–Meier survival curves of the imaging subtypes within IDH1-wildtype patients. Actual survival on x-axis is compared among each of the three imaging subtypes (p<0.001, log-rank test; hazard ratio = 3.38, 95% CI: 2.64- 4.34, Cox proportional hazard model).

References

1.	Pal S, Bi Y, Macyszyn L, Showe LC, O'Rourke DM, Davuluri RV. Isoform-level gene signature improves prognostic stratification and accurately classifies glioblastoma subtypes. Nucleic Acids Research. 2014; 42(8):e64.

2.	Stupp R, Hegi ME, Mason WP, et al. Effects of radiotherapy with concomitant and adjuvant temozolomide versus radiotherapy alone on survival in glioblastoma in a randomised phase III study: 5-year analysis of the EORTC-NCIC trial. The Lancet Oncology. 2009; 10(8):459-466.