## Table S3
Supplementary Table S3. WSU standard data for major and trace elements
"Bilateral geochemical asymmetry in the Karoo large igneous province" by A. Luttinen
Sample | BCR-1 | BCR-C* |  |  | BCR-P* |  |  | BCR-P* |  |  | TED† |  |  |  | Duplicate Runs
Method |  | XRF |  |  | XRF |  |  | ICP-MS |  |  | ICP-MS |  |  |  | XRF
Reference | 1 | 2 |  |  | 3 |  |  | 4 |  |  | 5 |  |  |  | 6
| Accepted | WSU 2010 (n=149) | σ | cv | WSU 1993 (n=11) | σ | cv | WSU 1992-94 (n=50) | σ | cv | WSU 2000-03 (n=54) | σ | cv |  | WSU 2016 (n=256) | RPD‡
SiO2 | 55.22 | 54.9007 | 0.21371 | 0.3893% | 55.14 | 0.036 | 0.07% | [6 empty] | SiO2 |  | 0.19%
TiO2 | 2.29 | 2.2698 | 0.0074407 | 0.3278% | 2.297 | 0.005 | 0.22% | [6 empty] | TiO2 |  | 0.92%
Al2O3 | 13.92 | 13.4949 | 0.064452 | 0.4776% | 13.58 | 0.03 | 0.22% | [6 empty] | Al2O3 |  | 0.5%
FeOtot | 12.32 | 12.479 | 0.036264 | 0.2906% | 12.8 | 0.026 | 0.2% | [6 empty] | FeOtot |  | 1.17%
MnO | 0.18 | 0.18482 | 0.00066459 | 0.3596% | 0.182 | 0.001 | 0.55% | [6 empty] | MnO |  | 0.68%
MgO | 3.55 | 3.3955 | 0.013184 | 0.3883% | 3.54 | 0.02 | 0.56% | [6 empty] | MgO |  | 1.33%
CaO | 7.09 | 6.981 | 0.021354 | 0.3059% | 6.99 | 0.014 | 0.2% | [6 empty] | CaO |  | 0.69%
Na2O | 3.34 | 3.3711 | 0.014328 | 0.425% | 3.36 | 0.035 | 1.04% | [6 empty] | Na2O |  | 1.34%
K2O | 1.72 | 1.7269 | 0.0048741 | 0.2822% | 1.73 | 0.004 | 0.23% | [6 empty] | K2O |  | 0.71%
P2O5 | 0.37 | 0.38174 | 0.0014861 | 0.3893% | 0.383 | 0.003 | 0.78% | [6 empty] | P2O5 |  | 2.16%
Cr | 16 | 6 | 0.85 | 14.17% | 19 | 1.83 | 9.6% | [6 empty] | Cr |  | 5.05%
Ni | 13 | 9 | 0.6 | 6.667% | 0 | 0.32 | [7 empty] | Ni |  | 6.61%
Sc | 33 | 32.6 | 0.7 | 2.147% | 31 | 2.46 | 7.9% |  |  |  | 47.33 | 1.82 | 3.845% | Sc |  | 5.34%
V | 407 | 403.5 | 2.25 | 0.5576% | 396 | 8.69 | 2.2% | [6 empty] | V |  | 2.6%
Cu | 19 | 16.2 | 0.75 | 4.63% | 9 | 1.85 | 20.6% | [6 empty] | Cu |  | 3.63%
Zn | 129.5 | 132 | 1.3 | 0.9848% | 129 | 2.27 | 1.8% | [6 empty] | Zn |  | 1.98%
Ga | 22 | 21.9 | 0.8 | 3.653% | 24 | 1.2 | 5% | [6 empty] | Ga |  | 3.82%
Ta | 0.81 | [6 empty] | 0.82 | 0.02 | 2.439% | 0.17 | 0.01 | 5.882% | Ta
Nb | 14 | 14 | 0.4 | 2.857% | 13.5 | 0.521 | 3.9% | 13.31 | 0.29 | 2.179% | 2.64 | 0.12 | 4.545% | Nb |  | 5.23%
Hf | 4.95 | [6 empty] | 4.67 | 0.07 | 1.499% | 1.87 | 0.04 | 2.139% | Hf
Zr | 190 | 188.6 | 0.95 | 0.5037% | 178 | 0.7 | 0.4% |  |  |  | 60.7 | 0.95 | 1.565% | Zr |  | 0.9%
Y | 38 | 36.5 | 0.55 | 1.507% | 38 | 0.52 | 1.4% | 38.11 | 0.29 | 0.761% | 28.9 | 0.67 | 2.318% | Y |  | 3.01%
Ba | 681 | 691.4 | 4.25 | 0.6147% | 681 | 12.64 | 1.9% | 670.5 | 12.68 | 1.891% | 71.18 | 1.63 | 2.29% | Ba |  | 1.57%
Rb | 47.2 | 48.2 | 0.45 | 0.9336% | 47 | 0.84 | 1.8% | 48.06 | 0.67 | 1.394% | 4.06 | 0.32 | 7.882% | Rb |  | 2.71%
Sr | 330 | 335.8 | 1.05 | 0.3127% | 326 | 2.32 | 0.7% |  |  |  | 208 | 3.48 | 1.673% | Sr |  | 0.73%
Cs | 0.96 | [6 empty] | 0.96 | 0.03 | 3.125% | 0.1 | 0.01 | 10%
Th | 5.98 | [6 empty] | 5.13 | 0.49 | 9.552% | 0.4 | 0.03 | 7.5%
U | 1.75 | [6 empty] | 1.15 | 0.11 | 9.565% | 0.14 | 0.01 | 7.143%
Pb | 13.6 | [6 empty] | 9.11 | 0.29 | 3.183% | 0.87 | 0.07 | 8.046%
La | 24.9 | [6 empty] | 26.26 | 0.49 | 1.866% | 4.18 | 0.11 | 2.632%
Ce | 53.7 | [6 empty] | 51.67 | 0.62 | 1.2% | 9.84 | 0.15 | 1.524%
Pr | 6.8 | [6 empty] | 6.32 | 0.06 | 0.9494% | 1.57 | 0.03 | 1.911%
Nd | 28.8 | [6 empty] | 27.36 | 0.48 | 1.754% | 8.19 | 0.15 | 1.832%
Sm | 6.59 | [6 empty] | 7.03 | 0.15 | 2.134% | 2.99 | 0.06 | 2.007%
Eu | 1.95 | [6 empty] | 2.14 | 0.04 | 1.869% | 1.17 | 0.02 | 1.709%
Gd | 6.68 | [6 empty] | 6.75 | 0.08 | 1.185% | 3.96 | 0.08 | 2.02%
Tb | 1.05 | [6 empty] | 1.17 | 0.01 | 0.8547% | 0.75 | 0.01 | 1.333%
Dy | 6.34 | [6 empty] | 7.14 | 0.1 | 1.401% | 5.03 | 0.07 | 1.392%
Ho | 1.26 | [6 empty] | 1.44 | 0.02 | 1.389% | 1.1 | 0.02 | 1.818%
Er | 3.63 | [6 empty] | 4.05 | 0.06 | 1.481% | 3.11 | 0.05 | 1.608%
Tm | 0.56 | [6 empty] | 0.55 | 0.01 | 1.818% | 0.46 | 0.01 | 2.174%
Yb | 3.38 | [6 empty] | 3.36 | 0.03 | 0.8929% | 2.89 | 0.03 | 1.038%
Lu | 0.51 | [6 empty] | 0.52 | 0.01 | 1.923% | 0.46 | 0.01 | 2.174%
* BCR-C and BCR-P represent intralaboratory standard samples that have been collected from the same quarry as BCR-1.
† TED represents an inter-laboratory standard sample of a basalt from the Oregon Cascade range.
‡ RPD = average values for relative percent difference (RPD= │(Aliquot 1 - Aliquot 2) / (0.5*(Aliquot 1 + Aliquot 2)│ *100%.
Non-normalized data from 256 duplicate samples (two aliquots of the same sample) from a wide range of geological materials, and spanning three instrumental re-calibration cycles yield
RPD values of ca. 1% (Al, Si, K, Ca, Mn, Fe, Sr, and Zr), ca. 2% (Mg, P, Ti, Zn, and Ba), 3%-4% (V, Cu, Ga, Rb, and Y), 5%-7% (Sc, Cr, Ni, Nb, Ce, and Nd), and 8-10% (La, Pb, and Th).
RPD generally increases with decreasing average concentration.
References
1. Govindaraju, K. 1994 compilation of working values and sample description for 383 Geostandards. Geostand. Newslett. 18, 15-53 (1994).
2. Johnson, D. M., Hooper, P. R. & Conrey, R. M. XRF analysis of rocks and minerals for major and trace elements on a single low dilution Li-tetraborate fused bead. Adv. X-ray Anal. 41, 843–867 (1999).
3. Hooper, P. R., Johnson, D. M. & Conrey, R. M. Major and trace element analyses of rocks and minerals by automated X-ray spectrometry. Washington State University, Geology Department, Open File Report (1993).
4. Knaack, C., Cornelius, S. B. & Hooper, P. R. Trace Element Analyses of Rocks and Minerals by ICP-MS (GeoAnalytical Lab, Washington State University, 1994).
5. Kelly, D., Boroughs, S., Wolff, J. A., & Neill, O. K. Estimation of analytical error for major, minor and trace element analysed by X-ray fluorescence at the Peter Hooper Geoanalytical Laboratory, Washington State University. Geological Society of America Abstracts with Programs 48, doi: 10.1130/abs/2016AM-284288 (2016).