An Implantable Peripheral Nerve Recording and Stimulation System for Experiments on Freely Moving Animal Subjects

Byunghun Lee1,3, Mukhesh K. Koripalli2, Yaoyao Jia1, Joshua Acosta2, M. S. E. Sendi1, Yoonsu Choi2, and Maysam Ghovanloo1*

1Georgia Institute of Technology, School of Electrical and Computer Engineering, Atlanta, 30308, USA

2University of Texas, Rio Grande Valley, Department of Electrical Engineering, Edinburg, 78539, USA

3Incheon National University, Department of Electrical Engineering, Incheon, 22012, South Korea

*mgh@gatech.edu

Figure S1. A conceptual view of power and data flows for inductively-powered wireless implantable neural recording and stimulation (WINeRS-8) system within the EnerCage-HC2 system, allowing for experiments involving long-term peripheral nerve recording and stimulation on small freely behaving animal subjects.

- (b)

Figure S2. Measured waveforms of OOK-PPM near-field downlink data telemetry between WINeRS-8 and EnerCage-HC2 systems. (a) Vcoil, S_OOK, FWD Data, and VPPM in WINeRS-8 system (see Fig. 4a), and (b) Tx_PPM from EnerCage-HC2 system to trigger CKREC in WINeRS-8 system with matched preamble (see Fig. 4b).

Figure S3. A battery-powered WINeRS-8 headstage equipped with a microcontroller (CC2541) for 2.4 GHz Bluetooth Low Energy (BLE), replacing OOK-PPM downlink data telemetry outside the EnerCage-HC2 system for an animal study to be conducted on a treadmill (Fig. 8b). An external 2.5 V LDO regulator is utilized to supply CC2541. A PCB antenna is implemented for the BLE communication at 2.4 GHz.

Figure S4. (a) Benchtop measurements on dual-SDR receivers with WINeRS-8 RF transmitter (Top) and received average power at two antennas, EAvr1 and EAvr2 (Bottom), (b) 36 MHz over-sampled transient RF signals after 1st and 2nd moving average filters in Fig. 5b, and (c) real time recovered and visualized signal of recording channel #1 in the customized GUI, developed in C++.