# Validation of four-dimensional flow cardiovascular magnetic resonance for aortic stenosis assessment

Gareth T Archer1,2 (mda03gta@sheffield.ac.uk), Alaa Elhawaz1 (afaelhawaz1@sheffield.ac.uk), Natasha Barker1 (nbarker1@sheffield.ac.uk), Benjamin Fidock1 (bfidock1@sheffield.ac.uk), Alexander Rothman1 (a.rothman@sheffield.ac.uk), R.J. van der Geest3 (R.J.van_der_Geest@lumc.nl), Rod Hose1,6 (d.r.hose@sheffield.ac.uk), Norman Briffa1,2 (n.briffa@nhs.net), Laurence O’Toole2 (laurence.o'toole@nhs.net), Ian R Hall2 (ian.hall15@nhs.net), Ever Grech2 (e.grech@nhs.net), Malenka Bissell4 (M.M.Bissell@leeds.ac.uk), Abdallah Al-Mohammad2 (abdallah.al-mohammad@nhs.net), Thomas A. Treibel (Thomas.Treibel@bartshealth.nhs.uk)5, Andrew J. Swift (a.j.swift@sheffield.ac.uk)1.6, James M. Wild1,6 (j.m.wild@sheffield.ac.uk), Pankaj Garg (P.Garg@sheffield.ac.uk)1,6

1 Department of Infection, Immunity & Cardiovascular Disease, University of Sheffield, Sheffield, UK

2 Sheffield Teaching Hospitals NHS Foundation Trust, Sheffield, UK

3 Division of Image Processing, Leiden University Medical Centre, Leiden, The Netherlands

4 Division of Biomedical Imaging, Leeds Institute of Cardiovascular and Metabolic Medicine, University of Leeds, Leeds, UK

5 Institute for Cardiovascular Sciences, University College London, London, UK.

6 Insigneo Institute of in-silico medicine, University of Sheffield

Supplementary Table 1. Type of valve patients received during aortic valve intervention (SAVR/TAVI).

| Patients | Type of valve implanted |
| --- | --- |
| Case 1 | Trifecta GT |
| Case 2 | Carpentier Edwards Perimount Magna Ease |
| Case 3 | Carpentier Edwards Perimount Magna Ease |
| Case 4 | Carpentier Edwards Perimount Magna Ease |
| Case 5 | Carbomedics Supra-Annular (Top Hat) |
| Case 6 | Livonova Bicarbon Bileaflet Slim Line |
| Case 7 | Sapien 3 Edwards TAVI |
| Case 8 | Medtronic CoreValve Evolut R |
| Case 9 | Livonova Bicarbon Bileaflet Slim |
| Case 10 | ON-X |
| Case 11 | ON-X |
| Case 12 | Medtronic CoreValve Evolut Pro R |

Supplementary Table 2. Peak pressure gradient recorded by all three modalities.

| Case detail | Invasive (mmHg) | 4D flow CMR (mmHg) | Doppler Echocardiography (mmHg) |
| --- | --- | --- | --- |
| Pre-intervention | 101 | 61 | 117 |
| Pre-intervention | 100 | 82 | 89 |
| Pre-intervention | 96 | 84 | 100 |
| Pre-intervention | 58 | 20 | 73 |
| Pre-intervention | 54 | 40 | 82 |
| Pre-intervention | 47 | 66 | 66 |
| Pre-intervention | 42 | 55 | 64 |
| Pre-intervention | 40 | 84 | 68 |
| Post-TAVI | 7 | 27 | 19 |
| Post-TAVI | 0 | 41 | 33 |
| Post-TAVI | 0 | 25 | 38 |

Supplementary Video 1. A case of study patient who had transcutaneous aortic valve implantation (TAVI) with Edwards Sapien valve.  Panel a  | Three-chamber cine showing the placement of aortic valve prosthesis. Panel b  | Demonstrates tracking of the aortic valve - the orange line is at the level of valvular annulus. Panel c  | Demonstrates the velocity vector overlayed over the three-chamber cine. The peak velocity was noted two slices above the centre orange line. Panel d  | Demonstrates reformated plane through the slices which show peak velocity. No significant artefacts were noted at this level of the reformated plane.