SUPPLEMENTARY INFORMATION

Occurrence of multiclass endocrine disrupting compounds in a drinking water supply system and associated risks

Sze Yee Weea, *Ahmad Zaharin Arisa,d, Fatimah Md. Yusoffb,d, Sarva Mangala Praveenac,d

aDepartment of Environment, Faculty of Forestry and Environment, Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia.

bDepartment of Aquaculture, Faculty of Agriculture, Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia.

cDepartment of Environmental and Occupational Health, Faculty of Medicine and Health Sciences, Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia.

dInternational Institute of Aquaculture and Aquatic Sciences, Universiti Putra Malaysia, 71050 Port Dickson, Negeri Sembilan, Malaysia

*Corresponding author	Ahmad Zaharin Aris

Tel: +603-97697455

Fax: +603-89438109

E-mail: zaharin@upm.edu.my

ORCID: 0000-0002-4827-0750

Supplementary Table S1 QA/QC parameters for the analysis of target EDCs in tap and river water.

| EDC group | Compound | QA/QC parameter |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Recovery ± RSD (%) |  | MDL (ng/L) |  | MQL (ng/L) |  | Matrix effect (%) |  | r value | Intra-day precision (% RSD) | Inter-day precision (% RSD) |
|  |  | T | R | T | R | T | R | T | R |  |  |  |
| Hormone | Testosterone | 88.36 ± 24.47 | 105.86 ± 0.44 | 0.06 | 0.02 | 0.20 | 0.07 | -19.36 | -67.47 | 0.9944 | 5.54 | 2.08 |
|  | Progesterone | 109.94 ± 29.30 | 117.58 ± 1.96 | 0.04 | 0.02 | 0.14 | 0.07 | 4.15 | -69.85 | 0.9974 | 13.30 | 6.02 |
|  | Estrone | 101.12 ± 8.51 | 97.60 ± 0.90 | 0.08 | 0.02 | 0.26 | 0.08 | 24.0 | -78.81 | 0.9879 | 0.11 | 0.60 |
|  | 17β-estradiol | 96.71 ± 9.83 | 106.42 ± 6.36 | 0.58 | 0.17 | 1.92 | 0.56 | 11.5 | -86.60 | 0.9876 | 0.84 | 1.61 |
|  | 17α-ethynylestradiol | 103.05 ± 2.13 | 67.11 ± 2.07 | 0.51 | 0.35 | 1.69 | 1.15 | 22.4 | -83.36 | 0.9990 | 9.65 | 5.54 |
| Pharmaceutical | Dexamethasone | 106.92 ± 37.53 | 86.12 ± 6.11 | 0.36 | 0.10 | 1.20 | 0.33 | -3.34 | -33.75 | 0.9841 | 4.44 | 0.76 |
|  | Primidone | 91.93 ± 55.09 | 99.26 ± 2.95 | 0.14 | 0.08 | 0.48 | 0.27 | -23.45 | -69.30 | 0.9996 | 0.50 | 1.65 |
|  | Propranolol | 90.07 ± 44.94 | 156.56 ± 4.88 | 0.03 | 0.01 | 0.09 | 0.03 | 14.47 | -57.99 | 0.9969 | 0.33 | 5.95 |
|  | Ciprofloxacin | 146.42 ± 14.63 | 62.66 ± 53.83 | 0.05 | 0.05 | 0.18 | 0.18 | -69.07 | -83.16 | 0.9014 | 5.14 | 3.34 |
|  | Caffeine | 133.67 ± 52.26 | 128.92 ± 8.03 | 0.01 | 0.01 | 0.04 | 0.05 | -13.56 | -53.21 | 0.9978 | 6.47 | 3.72 |
|  | Sulfamethoxazole | 107.08 ± 12.84 | 97.54 ± 2.80 | 0.03 | 0.01 | 0.11 | 0.02 | -17.59 | -33.58 | 0.9995 | 1.49 | 4.81 |
|  | Diclofenac | 95.27 ± 34.59 | 109.99 ± 3.56 | 2.56 | 0.45 | 8.55 | 1.50 | -46.93 | -72.41 | 0.9300 | 14.37 | 0.86 |
|  | Chloramphenicol | 85.00 ± 30.41 | 55.86 ± 2.97 | 0.23 | 0.09 | 0.75 | 0.30 | -62.55 | -82.54 | 0.9985 | 8.98 | 11.55 |
|  | Triclosan | 86.01 ± 43.21 | 75.32 ± 1.60 | 1.29 | 0.17 | 4.29 | 0.56 | -49.68 | -89.03 | 0.8909 | 2.81 | 2.49 |
| Plasticizer | Bisphenol A | 119.02 ± 10.03 | 111.37 ± 3.46 | 0.04 | 0.03 | 0.12 | 0.10 | 39.3 | -79.16 | 0.9953 | 5.86 | 1.09 |
|  | 4-octylphenol | 68.57 ± 54.83 | 25.53 ± 6.45 | 0.25 | 0.21 | 0.83 | 0.70 | 53.3 | -93.84 | 0.9812 | 5.62 | 4.16 |
|  | 4-nonylphenol | 55.97 ± 33.97 | NA | 2.29 | NA | 7.23 | NA | 37.6 | NA | 0.9946 | 3.41 | 2.05 |
| Pesticide | Diazinon | 100.95 ± 26.41 | 109.81 ± 4.76 | 0.08 | 0.01 | 0.26 | 0.04 | -15.86 | -50.20 | 0.9999 | 3.29 | 0.63 |
| Minimum |  | 55.97 | 25.53 | 0.01 | 0.01 | 0.04 | 0.02 | -69.07 | -93.84 | 0.8909 | 0.11 | 0.60 |
| Maximum |  | 146.42 | 156.56 | 2.56 | 0.45 | 8.55 | 1.50 | 53.3 | -33.58 | 0.9999 | 14.37 | 11.55 |

MDL: Method detection limit; MQL: Method quantification limit; NA: Not available; T: Tap water; R: River water.