## Slide 1
Quantitative proteomics reveal lineage-specific protein profiles in iPSC-derived Marfan syndrome smooth muscle cells
Cristiana Iosef1, Albert J. Pedroza1, Jason Z. Cui1, Alex R. Dalal1, Mamoru Arakawa1, Yasushi Tashima1, Tiffany K. Koyano1, Grayson Burdon1, Samantha M.P. Churovich1, Joshua O. Orrick1, Mitchel Pariani2 and Michael P. Fischbein1
1Department of Cardiothoracic Surgery, Stanford University, Stanford, CA
2Department of Pediatrics-Genetics, Stanford University, Stanford, CA
Corresponding Author:
Michael P. Fischbein, M.D., Ph.D.
Associate Professor, Stanford University Department of Cardiothoracic Surgery.
300 Pasteur Dr, Falk CVRB, Stanford, CA 94305.
(650) 721-2552
mfischbe@stanford.edu

## Slide 2
To obtain the western blots presented in Figure 4 Protein lysates from each specimen have been aliquoted in three pools which were resolved by SDS-PAGE as follows: pool-1 lead to mannose receptor 2 (MRC2) and Collagen (COL1A1) blotting; pool-2 led to integrin alpha V and tropomyosin (TPM3) blotting and pool-3 served for MMP2 assessments.
Majority of the markers investigated and presented in Figure 4 are high molecular weight (>100Kdal). Calibration of the electrophoresis and immune-blot conditions are particularly difficult when multiplex blot is required. In our case, blotting both the high molecular weight markers (collagen, mannose receptor 2 or integrin alpha V) with the loading control (GAPDH) on the same membrane is practically impossible. The long time period necessary for electrophoresis and also for electro-transfer significantly reduces the amount of low molecular weigh proteins, such as GAPDH. Thus, we proceeded with the GAPDH blot separately which sometimes led to small imperfections in matching the size/form/shape of the western blot bands.
Furthermore, we explored regulatory proteins which have significantly disproportionated expression compared to the housekeeping proteins such as GAPDH or Vinculin, thus, the long exposure time needed to reveal the signal given by the high molecular weight proteins leads to oversaturation of the housekeeping protein signal. We consider that comparisons at different exposure times are never recommended.
SDS-PAGE: Total protein per lane: 15ug; Bi-Tris 10% NuPAGE gels; Run: 120V Constant Voltage; Time 2hr
Electro-transfer: Run: 30V; Duration: 2.5 hrs for all markers except TPM3 and GAPDH (1hr)
Technical notes on Figures 4-5

## Slide 3
LM SMC
NC SMC
CTR Mild Severe
CTR Mild Severe
MRC2
MW~180KD
Ab181075
Dil: 1/300
COL1
MW~138KD
Ab6308
Dil:1/250
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
LM SMC
NC SMC
CTR Mild Severe
CTR Mild Severe
FIGURE 4A
FIGURE 5A
HUMAN iPSC SMC
Supplementary Figure IA. Raw Western blotting images for human iPSC SMC (Figures 4-5)
Integrin αV
MW ~150 KD
Ab179475
Dil: 1/250
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
FIGURE 5D
LM SMC
NC SMC
CTR Mild Severe
CTR Mild Severe
TBE1/MMP2
MW~68-74KD
Ab97779
Dil: 1/300
LM SMC
NC SMC
CTR Mild Severe
CTR Mild Severe
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
FIGURE 5B

## Slide 4
HUMAN iPSC SMC
Supplementary Figure IB. Raw gelatin zymography images for human iPSC SMC (From Figure 4C)
FIGURE 4C
iPSC-SMC Conditioned Medium
(Zymography Analysis)
ladder
NC LM NC LM NC LM
CTR
Mild
MFS
Severe
MFS

## Slide 5
MRC2
MW~180KD
Ab181075
Dil: 1/300
Integrin αV
MW ~150 KD
Ab179475
Dil: 1/250
HUMAN TISSUES
Albumin
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
Supplementary Figure IC. Raw Western blotting images for human tissue (Figures 4-5)
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
FIGURE 4C
FIGURE 5E

## Slide 6
MRC2
GAPDH
FIGURE 4A
MW~180KD
Ab181075
Dil: 1/300
MW~40-42KD
Ab181602
Dil: 1/2000
SDS-PAGE:
Total protein per lane: 15 μg Bi-Tris 4-12% NuPAGE gels
Run: 120V Constant Voltage
Time: 2hrs
Electro-transfer:
Run: 30V
Duration: 2hrs MRC2; GAPDH (1hr)
Imagine manipulation:
Images were corrected for brightness
Marker
Marker
Supplementary Figure IIA. Western blotting technical conditions for iPSC SMC (Figures 4-5)

## Slide 7
FIGURE 5A
COL1A1
GAPDH
MW~40-42KD
Ab181602
Dil: 1/2000
MW~138KD
Ab6308
Dil:1/250
SDS-PAGE:
Total protein per lane: 10 μg Bi-Tris 4-12% NuPAGE gels
Run: 120V Constant Voltage
Time: 2hrs
Electro-transfer:
Run: 30V
Duration: (2hrs) COL1A1; GAPDH (1hr)
Imagine manipulation:
Images were corrected for brightness.
Marker
Marker
Supplementary Figure IIB. Western blotting technical conditions for iPSC SMC (Figures 4-5)

## Slide 8
Integrin alpha V
GAPDH
FIGURE 5D
MW~40-42KD
Ab181602
Dil: 1/2000
MW ~150 KD
Ab179475
Dil: 1/250
Marker
Marker
SDS-PAGE:
Total protein per lane: 15 μg Bi-Tris 4-12% NuPAGE gels
Run: 120V Constant Voltage
Time: 2hrs
Electro-transfer:
Run: 30V
Duration: 2hrs Integrin alpha V; GAPDH (1hr)
Imagine manipulation:
Images were corrected for brightness
Supplementary Figure IIC. Western blotting technical conditions for iPSC SMC (Figures 4-5)

## Slide 9
TBE1/MMP2
GAPDH
FIGURE 5B
MW~40-42KD
Ab181602
Dil: 1/2000
MW~68-74KD
Ab97779
Dil: 1/300
Marker
Marker
SDS-PAGE:
Total protein per lane: 15 μg Bi-Tris 4-12% NuPAGE gels
Run: 120V Constant Voltage
Time: 2hrs
Electro-transfer:
Run: 30V
Duration: 2hrs TBE1/MMP2; GAPDH (1hr)
Imagine manipulation:
Images were corrected for brightness
Supplementary Figure IID. Western blotting technical conditions for iPSC SMC (Figures 4-5)

## Slide 10
FIGURE 5E
Integrin aV
Integrin b1
Unspecific
band
GAPDH
Integrin aV
Vinculin
overexposed
Approach #1
Approach #2
SDS-PAGE:
Total protein per lane: 10 μg Bi-Tris 10% NuPAGE gels
Run: 120V Constant Voltage
Time: 2hrs
Electro-transfer:
Run: 30V
Duration: 2hrs for all markers
except GAPDH (1hr)
Imagine manipulation:
Images were corrected for brightness.
MW ~150 KD
Ab179475
Dil: 1/250
MW~40-42KD
Ab181602
Dil: 1/2000
Marker
Marker
Supplementary Figure IIE. Western blotting technical conditions for human tissue (Figures 4-5)

## Slide 11
Mild
MFS
Severe
MFS
CTR
MW
Marker
SOX1
(Ectoderm)
Brachyury
(Mesoderm)
Sox17
(Endoderm)
Mild
MFS
Severe
MFS
CTR
MW
Marker
Mild
MFS
Severe
MFS
CTR
MW
Marker
Sample not included
in the study
Sample not included
in the study
RT-PCR products were separated in TBE polyacrylamide gels (Novex,Thermo Scientific).
Ethidium Bromide was used for staining of the amplicons.
Sample not included
in the study
Supplementary Figure III. Technical notes for PCR data (Figure 1C)