Flexible Sensor with Electrophoretic Polymerized Graphene Oxide/PEDOT:PSS Composite for Voltammetric Determination of Dopamine Concentration

Seung Hyeon Ko1, 2, Seung Wook Kim2, and Yi Jae Lee1*

1Brain Science Institute, Korea Institute of Science and Technology, Seoul, 02792, Republic of Korea

2Department of Chemical and Biological Engineering, Korea University, Seoul, 02841, Republic of Korea

(Supporting information)

*Corresponding author email: yijaelee@kist.re.kr

Supplementary Table. S1. XPS surface elemental analysis parameters of GO, PEDOT:PSS, and GO/PEDOT:PSS composite.

Supplementary Table S2. XPS fitting parameters of GO, PEDOT:PSS, and GO/PEDOT:PSS.

[GO]

[PEDOT:PSS]

[GO/PEDOT:PSS]

Supplementary Table. S3. Comparison of the specification of the DA sensor of this works and the previous works.

Supplementary Fig. S1. Comparison of (a and b) electrochemical impedance (EIS) (n=3), (c) cyclic voltammograms (CV) (n=3), and the (d) calculated charge storage capacity (CSC) of the prepared GO/PEDOT:PSS composite with mixture ratio condition of 1:1, 2:1, 5:1, and 10:1; The EIS measurement was conducted ranged from 1 to 100,000 Hz frequency in 0.1 M PBS (pH 7.4) and the scan rate of CV was 100 mV/s-1.

Table. Summary of the DPV response of the prepared GO/PEDOT:PSS composite with different mixture ratio to the various DA concentration.

Supplementary Fig. S2. (Top) Comparison of the peak current responses of the prepared GO/PEDOT:PSS composite with different mixture ratio (1:1, 2:1, 5:1, and 10:1) to the DA concentration of ranged from 0.01 to 0.7 μM by differential pulse voltammetry (DPV); (Bottom table) Summary of the DPV response of the prepared GO/PEDOT:PSS composite with different mixture ratio to the various DA concentration.

Supplementary Fig. S3. Comparison of (a and b) electrochemical impedance (EIS) (n=3), (c) cyclic voltammograms (CV) (n=3), and the (d) calculated charge storage capacity (CSC) of the prepared GO/PEDOT:PSS composite with polymerization time condition of 50, 150, 300, and 600 s; The EIS measurement was conducted ranged from 1 to 100,000 Hz frequency in 0.1 M PBS (pH 7.4) and the scan rate of CV was 100 mV/s-1.

Supplementary Fig. S4. Comparison of FT-IR spectra of Au, PEDOT:PSS, GO, and GO/PEDOT:PSS.

Supplementary Fig. S5. O1s peak of XPS spectra of PEDOT:PSS and GO/PEDOT:PSS composite deposited on gold electrode.

Supplementary Fig. S6. DPV curves of PEDOT:PSS, Au, GO, and GO/PEDOT:PSS in co-presence of 1 mM AA, 50 μM UA, 10 μM DA

Supplementary Fig. S7. (a) Comparison of CV for the GO/PEDOT:PSS composite to the different pH values from 5.0 to 9.0 in 0.1 M PBS with 1 mM dopamine (scan rate of 100 mVs-1); (b) The relationship of (dopamine oxidation) peak current (Ip, blue line) and peak potential (Ep, red line) to the different pH value. Error bars represent standard deviation (n = 3).

Table. Summary of the DPV response of the prepared electrodes to the various DA concentration.

Supplementary Fig. S8. (a) Comparison of the oxidation peak current change at 10 μM DA concentration of GO and GO/PEDOT:PSS composite electrodes to the DPV scanning cycles; (b) Comparison of the peak current responses of the prepared GO/PEDOT:PSS composite with different electrode (PEDOT:PSS, Au, GO, and GO/PEDOT:PSS) to the DA concentration of ranged from 0.01 to 0.7 μM by differential pulse voltammetry (DPV) (n=3); (Bottom table) Summary of the DPV response of the prepared different electrodes to the various DA concentration.

Supplementary Fig. S9. Fabrication sequence for the flexible DA sensor with Au working, counter, and reference electrode (Left); Fabricated flexible DA sensor with Au, PEDOT:PSS, GO, and GO/PEDOT composite electrode (Right).