Allele frequencies of single nucleotide polymorphisms of clinically important drug-metabolizing enzymes CYP2C9, CYP2C19, and CYP3A4 in a Thai population

Authors: Rattanaporn Sukprasonga,b, Sumonrat Chuwongwattanac, Napatrupron Koomdeea,b, Thawinee Jantararoungtonga,b, Santirhat Prommasa,b, Pimonpan Jindaa,b, Jiratha Rachanakula,b, Nutthan Nuntharadthanaphonga,b, Nutcha Jongjitsooka,b, Apichaya Puangpetcha,b, and Chonlaphat Sukasema,b

Supplementary Table 1. CYP2C19 alleles and diplotypes frequencies by Taqman real-time PCR (n=180).

| Allele | Frequency (%) N (%) |
| --- | --- |
| *1 | 240 (66.67) |
| *2 | 102 (28.33) |
| *3 | 15 (4.17) |
| *17 | 3 (0.83) |
| Diplotype |  |
| *1/*1 | 80 (44.44) |
| *1/*2 | 69 (38.33) |
| *1/*3 | 10 (5.56) |
| *1/*17 | 2 (1.11) |
| *2/*2 | 14 (7.77) |
| *2/*3 | 3 (1.67) |
| *2/*17 | 1(0.56) |
| *3/*3 | 1(0.56) |

Supplementary Table 2. CYP2C19 alleles and diplotypes frequencies by Luminex xTAG (n=180).

| Allele | Frequency (%) N (%) |
| --- | --- |
| *1 | 239 (66.39) |
| *2 | 101 (28.05) |
| *3 | 15 (4.17) |
| *6 | 2 (0.56) |
| *17 | 3 (0.83) |
| Diplotype |  |
| *1/*1 | 79 (43.88) |
| *1/*2 | 68 (37.77) |
| *1/*3 | 10 (5.56) |
| *1/*6 | 1(0.56) |
| *1/*17 | 2 (1.11) |
| *2/*2 | 14 (7.77) |
| *2/*3 | 3 (1.67) |
| *2/*6 | 1(0.56) |
| *2/*17 | 1(0.56) |
| *3/*3 | 1(0.56) |

Supplementary Table 3. Comparison between Luminex xTAG v3 and Taqman SNP Genotyping Assay for the detection of CYP2C19 variants.

| Parameters | Luminex xTAG v3 | Taqman SNP Genotyping Assay |
| --- | --- | --- |
| Target Gene Capacity | CYP2C19 (10 polymorphisms) | CYP2C19 (3 polymorphisms) |
| Polymorphisms | 19154G>A), 17948G>A, 1A>G, C90033C>T, 12748G>A, 19294T>A, 12711T>C, 12784G>A, 19153C>T, -806C>T | G681G>A, 636G>A, -806C>T |
| The number of Variants, Alleles detection of CYP2C19 gene | 10 alleles; *2, *3, *4, *5, *6, *7, *8, *9, *10, *17 | 3 alleles; *2, *3, *17 |
| Platform/ Detection Method | Bead-based array, Multiplex ASPE | TaqMan SNP genotyping with Real-time PCR |
| Turnaround time (TAT) | ~8.30 hours | ~2.15 hours |
| Process | 6 steps; 1. Extraction and Purification, 2. Multiplex PCR Reaction with Amplicon Treatment, 3. Allele Specific Primer Extension, 4. Bead Hybridization, 5. Addition of Reporter Molecule, 6. Data Acquisition and Analysis | 3 steps; 1. Denaturation, 2. Annealing, 3. Extension |
| Sample Type | Whole Blood EDTA or Citrate | Whole Blood EDTA |
| DNA Quantity (ng/PCR) | 4-300 ng/mL (24-1800 ng/PCR) | 1-20 ng genomic DNA/well |
| DNA Quality: A260/280 ratio | 1.5 | 1.8-2.0 |
| Number of samples per kit | 48 | 96-well plate |
| Instrument | Luminex 100/200 | Applied Biosystems ViiA7 system |
| Manufacturer | Luminex Molecular Diagnostics, Inc. | Applied Biosystems |
| FDA Cleared | May 2013 | Research Use Only |