Supplemental Table 1. Criteria and results for evaluation of the adequacy of carotid and cardiac measurements

Supplemental Table 1A. Criteria for evaluation of the adequacy of carotid and cardiac measurements

Total Score >= 4: clinically interpretable

Total Score <= 4: clinically uninterpretable

| Carotid POCUS Measurements | Score |
| --- | --- |
| Measurement of diameter obtained in systole | 1 |
| Diameter measured 1-2cm proximal to carotid bulb | 1 |
| Diameter measured from intima to intima | 1 |
| Doppler gate placed at the center of the CCA | 1 |
| Doppler gate parallel to CCA wall with angle correction of 60° | 1 |
| Well-defined spectral waveform obtained | 1 |
| Echocardiographic Measurements | Score |
| Measurement of diameter obtained in systole | 1 |
| Diameter measured within 0.5 to 1cm to the aortic annulus | 1 |
| Diameter measured from inner to inner | 1 |
| Doppler gate placed in the center of the LVOT at apical view | 1 |
| Doppler gates parallel to the LVOT at the proper angle (<20°) | 1 |
| Well-defined spectral waveform obtained | 1 |

CCA, common carotid artery; LVOT, left ventricular outflow tract

Supplemental Table 1B. Results of the evaluation of the adequacy of carotid and cardiac measurements

|  | Carotid measurement | Cardiac measurement |
| --- | --- | --- |
| Score (mean, SD) | 5.4 (0.7) | 5.1 (0.7) |

SD, standard deviation