Supplement 12. Comparison of the area under the curve (AUC), sensitivity and specificity with and without oversampling

|  |  | MIMIC III |  | Adapted MIMIC to Rabin |  | Rabin Self |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | with operational | without operational | with operational | without operational | with operational | without operational |
| Unbalanced | AUC | 0.91 | 0.83 | 0.97 | 0.94 | 0.95 | 0.94 |
|  | Sensitivity | 0.83 | 0.68 | 1.0 | 0.95 | 0.97 | 0.95 |
|  | Specificity | 0.80 | 0.79 | 0.8 | 0.82 | 0.8 | 0.82 |
| RandomOversampling | AUC | 0.90 | 0.83 | 0.96 | 0.92 | 0.95 | 0.92 |
|  | Sensitivity | 0.82 | 0.68 | 0.99 | 0.95 | 0.95 | 0.90 |
|  | Specificity | 0.80 | 0.80 | 0.80 | 0.82 | 0.82 | 0.82 |
| SMOTE | AUC | 0.86 | 0.73 | 0.94 | 0.92 | 0.94 | 0.94 |
|  | Sensitivity | 0.73 | 0.54 | 0.90 | 0.86 | 0.96 | 0.92 |
|  | Specificity | 0.80 | 0.80 | 0.82 | 0.80 | 0.8 | 0.81 |

Table S1. Comparison of AUC, sensitivity and specificity with and without oversampling. The comparison was done for the same conditions detailed in Figure 5.

Sensitivity (sometimes named the detection rate in a clinical setting) of a test is the proportion of people who test positive for the disease among those who have the disease.

Specificity of a test is the proportion of those who truly do not have the condition who test negative for the condition.