Supplement A General descriptions of the coffee shops.

| Shop | Building characteristics | Ventilation facilities |
| --- | --- | --- |
| A | Indoor area: 806 m3 Opening hour: 7:00-22:00 locating on the main traffic street: yes ETS-free area: yes Kind of building: apartment Floor: 1st floor Types of the services: light meals and coffee Interior Design Materials & Finishes: laminate | Air condition: 7 independent air conditioners Ventilation: no window, one range hood for kitchens, exchange of outdoor air by door opened Dominated natural ventilation (DNV) |
| B | Indoor area: 95 m3 Opening hour: 10:00-18:30 locating on the main traffic street: no ETS-free area: yes Kind of building: single house Floor: 1st floor Types of the services: coffee Interior Design Materials & Finishes: conerete | Air condition: one independent air conditioners, one fan Ventilation: 3 windows, keep windows and door opened during business hours Dominated natural ventilation (DNV) |
| C | Indoor area: 182 m3 Opening hour: (weekday) 11:00-20:00 (weekend) 11:00-01:00 locating on the main traffic street: no ETS-free area: yes (daytime) ETS area: yes (night time) Kind of building: single house Floor: 1st floor Types of the services: light meals and coffee Interior Design Materials & Finishes: conerete and ceramic tile | Air condition: 2 independent air conditioners, one fan, one air purifier Ventilation: no window, one range hood for kitchens, exchange of outdoor air by door opened Dominated natural ventilation (DNV) |
| D | Indoor area: 100 m3 Opening hour: 10:00-18:30 locating on the main traffic street: no Smoking indoors: banned Kind of building: single house Floor: 1st floor Types of the services: light meals and coffee Interior Design Materials & Finishes: conerete and ceramic tile | Air condition: 2 independent air conditioners, one fan, one air purifier Ventilation: no window, one range hood for kitchens, keep door opened during business hours Dominated natural ventilation (DNV) |

ETS, environmental tobacco smoke.