Supplementary Figure legends

Supplementary Figure 1

Simulation of insoluble lansoprazole release from β-TCP scaffolds. Cylindrical porous β-TCP test scaffolds were immersed in 3-ml of lansoprazole solution in DMSO (250 mM or 500 mM) for three minutes, followed by a rinse in 6-ml of PBS solution for one day once. The volume of the test samples was equal to that of the experimental materials. The prepared samples were immersed in 30-ml of PBS solution while stirring for one day, followed by the determination of lansoprazole concentrations in the PBS solution by ultraviolet-visible absorption spectroscopy (λmax=285.4 nm; Spectrophotometer U-3010, Hitachi High-Tech Science Corp., Tokyo, Japan) [25]. We changed the PBS solution every day and measured lansoprazole concentrations in the PBS solution at the time of the replacement for five successive days (n = 1).

Supplementary Figure 2

Radiographic, µ-CT, and histological images of lower amounts of insoluble lansoprazole-impregnated artificial bones embedded for four weeks in a rabbit cortical bone defect model. In contrast to the results regarding higher amounts of insoluble lansoprazole-impregnated artificial bones (Figure 1), radiolucent areas and fibrogranulomatous tissues surrounding the materials were not observed. Scale bars, 1 mm.

Supplementary Figure 3

Histomorphometric evaluation of lower amounts of insoluble lansoprazole-impregnated artificial bones embedded for four weeks in a rabbit cortical bone defect model. The percentage of new bone formation within the entire material (TBA/TMA ratio, left) and the specific area of the material embedded in the cortical bone area (PBA/PMA ratio, right). The mean and SD (n = 3) are indicated. *p < 0.05 by the Jonckheere-Terpstra tread test over the indicated concentration range of insoluble lansoprazole solution.

Supplementary Figure 4

Magnified images of the corresponding tissue specimens shown in Figure 5. The magnified images show the interface between the host bones and the materials. Note no fibrogranulomatous tissue formation in the interfaces.