## Final dataset
Sample Run at | Sample ID |  |  |  | SARS-CoV-2 v2 Lab Assay |  |  | Concordance
[5 empty] | FAM | HEX | Overall Lab Assay Result |  | Invalid runs removed (8)
|  | SARS Cq | RNaseP_Call | Overall QPOC call | Avg. Ct | Avg. Ct
SGUL (RDS cassettes/ Older Assay) | S1.1 | 31.24 | 39.49 | POSITIVE | 29.6 | 31.03 | POSITIVE | YES
| S2.1 | 27.34 | FAIL | POSITIVE | 23.4 | 27.23 | POSITIVE | YES
| S4.1 | NA | 30.62 | NEGATIVE | NA | 23.5 | NEGATIVE | YES
| S5.1 | 20.88 | FAIL | POSITIVE | 21.45 | 27.26 | POSITIVE | YES
| S6.1 | 33.43 | 33.55 | POSITIVE | 24.66 | 28.01 | POSITIVE | YES
| S7.1 | 28.67 | 26.44 | POSITIVE | 20.15 | 26.56 | POSITIVE | YES
| S8.1 | 35.67 | 33.67 | POSITIVE | 30.3 | 28.55 | POSITIVE | YES
| S9.1 | NA | 33.95 | NEGATIVE | NA | 28.94 | NEGATIVE | YES
| S10.1 | NA | 26.63 | NEGATIVE | 27.27 | 25.02 | POSITIVE | NO
| S11.1 | 32.62 | FAIL | POSITIVE | 23.62 | 29.91 | POSITIVE | YES
| S1.2 | 31.35 | 28.88 | POSITIVE | 23.4 | 30.26 | POSITIVE | YES
| S2.2 | 30.27 | 38.18 | POSITIVE | 25.58 | 29.26 | POSITIVE | YES | YES (CUT OFF) | Concordant if CT cut off is applied but not concordant if it is not
| S3.1 | 30.61 | 30.55 | POSITIVE | 26.51 | 30.25 | POSITIVE | YES | YES/NO (CUT OFF) | Concordant if CT cut off is not applied but is not concordant if it is
| S7.2 | 32.05 | 33.8 | POSITIVE | 27.76 | 30.26 | POSITIVE | YES | [5 empty] | TP | True Positive
| S3.2 | 30.52 | 31.14 | POSITIVE | 22.86 | 27.18 | POSITIVE | YES | [5 empty] | FP | False Positive
| S7.3 | NA | 39.97 | NEGATIVE | 35.96 | 33.47 | POSITIVE | YES (CUT OFF) | [5 empty] | TN | True Negative
| S3.3 | 38.44 | 35.81 | POSITIVE | 32.8 | 31.6 | POSITIVE | YES | [5 empty] | FN | False Negative
QMDX (UVC cassettes/ Newer assay) | S19.1 | 34.69 | 34.76 | POSITIVE | 25.255 | 28.46 | POSITIVE | YES
| S25.1 | 41.8 | 36.43 | POSITIVE | 34.765 | 28.31 | POSITIVE | YES |  |  | Test Positive | Test Negative | Total | Sensitivity | TP/(TP+FN)
| S26.1 | 32.32 | 31.77 | POSITIVE | 23.105 | 26.39 | POSITIVE | YES |  | QMDx Positive | TP | FP | TP + FP | Specificity | TN/(TN+FP)
| S27.1 | NA | 34.46 | NEGATIVE | 36.775 | 25.79 | POSITIVE | YES (CUT OFF) |  | QMDx Negative | FN | TN | FN + TN | Positive Predictive Value | TP/(TP+FP)
| S18.1 | 31.74 | 33.87 | POSITIVE | 23.675 | 27.19 | POSITIVE | YES |  | Total | TP + FN | FP + TN | TP + FP + FN + TN | Negative Predictive Value | TN(TN+FN)
| S21.1 | 31.35 | FAIL | POSITIVE | 23.055 | 27.215 | POSITIVE | YES | [5 empty] | Accuracy | TP+TN/(TP+FP+FN+TN)
| S15.1 | 32.11 | 31.94 | POSITIVE | 24.475 | 25.745 | POSITIVE | YES |  | With Ct 35 cut off
| S16.1 | 26.93 | FAIL | POSITIVE | 18.87 | 23.855 | POSITIVE | YES
| S20.1 | 31.03 | 31.25 | POSITIVE | 22.125 | 26.69 | POSITIVE | YES |  |  | Test Positive | Test Negative | Total | Sensitivity | 96.88% | (83.78%- 99.92% CI)
| S24.1 | NA | 35.77 | NEGATIVE | 37.855 | 30.08 | POSITIVE | YES (CUT OFF) |  | QMDx Positive | 31 | 2 | 33 | Specificity | 98.26% | (93.86% to 99.79% CI)
| S17.1 | 39.25 | 37.72 | POSITIVE | 34.765 | 29.825 | POSITIVE | YES |  | QMDx Negative | 1 | 113 | 114 | Positive Predictive Value | 93.94% | 79.67% to 98.40%
| S21.2 | 39.67 | 36.36 | POSITIVE | 31.905 | 30.12 | POSITIVE | YES |  | Total | 32 | 115 | 147 | Negative Predictive Value | 99.12% | 94.26% to 99.87%
| S22.1 | 22.44 | 19.2 | POSITIVE | 13.14 | 22.32 | POSITIVE | YES |  | Additional FP due to a positive being detected on QPOC with Ct 35 - could be removed? |  |  |  | Accuracy | 97.96%
| S22.2 | 31.01 | 36.01 | POSITIVE | 20.415 | 25.39 | POSITIVE | YES
| S23.1 | NA | 37.5 | NEGATIVE | NA | 31.16 | NEGATIVE | YES |  | Without Ct 35 cut off
| S20.2 | 32.99 | 33.34 | POSITIVE | 25.75 | 29.195 | POSITIVE | YES
| S16.2 | 33.15 | 32.61 | POSITIVE | 28.145 | 27.72 | POSITIVE | YES |  |  | Test Positive | Test Negative | Total | Sensitivity | 80% | (64.35% to 90.95% CI)
| S27.2 | NA | 37.24 | NEGATIVE | NA | 30.925 | NEGATIVE | YES |  | QMDx Positive | 32 | 1 | 33 | Specificity | 99.07% | (94.9% to 99.98% CI)
| S27.3 | NA | 37.24 | NEGATIVE | NA | 31.425 | NEGATIVE | YES |  | QMDx Negative | 8 | 106 | 114 | Positive Predictive Value | 96.97% | 81.89% to 99.56%
| S28.2 | NA | 32.7 | NEGATIVE | NA | 28.31 | NEGATIVE | YES |  | Total | 40 | 107 | 147 | Negative Predictive Value | 92.98% | 87.70% to 96.10%
| S28.1 | NA | 35.96 | NEGATIVE | 36.7* | 30.15 | POSITIVE | YES (CUT OFF)
| S1.3 | 41.54 | 38.8 | POSITIVE | 32.895 | 32.635 | POSITIVE | YES | [7 empty] | CI determined using Clopper-Pearson method
| S11.2 | 32.41 | 31.48 | POSITIVE | 23.96 | 30.44 | POSITIVE | YES | [7 empty] | https://www.medcalc.org/calc/diagnostic_test.php
| S20.3 | 27.28 | FAIL | POSITIVE | 19.135 | 27.755 | POSITIVE | YES
| S19.2 | NA | 36.78 | NEGATIVE | 37.04 | 31.325 | POSITIVE | YES (CUT OFF)
| S19.3 | NA | 34.16 | NEGATIVE | 38.1* | 27.885 | POSITIVE | YES (CUT OFF)
| S9.2 | 38.62 | 31.98 | POSITIVE | 37.185 | 25.87 | POSITIVE | YES/NO (CUT OFF)
| S12.1 | NA | 36.73 | NEGATIVE | NA | 29.71 | NEGATIVE | YES
| S13.1 | 35.55 | 32.92 | POSITIVE | 30.68 | 28.165 | POSITIVE | YES
| S14.1 | NA | 36.34 | NEGATIVE | 38.23 | 30.07 | POSITIVE | YES (CUT OFF)
| Q1 | NA | 36.1 | NEGATIVE | NA | 28.44 | NEGATIVE | YES
| Q2 | NA | 39.06 | NEGATIVE | NA | 33.6 | NEGATIVE | YES
| Q3 | NA | 35.9 | NEGATIVE | NA | 29.36 | NEGATIVE | YES
| Q4 | NA | 33.7 | NEGATIVE | NA | 27.75 | NEGATIVE | YES
| Q5 | NA | 34.02 | NEGATIVE | NA | 26.1 | NEGATIVE | YES
| Q6 | NA | 37.59 | NEGATIVE | NA | 31.56 | NEGATIVE | YES
| Q7 | NA | 33.66 | NEGATIVE | NA | 28.63 | NEGATIVE | YES
| Q8 | NA | 32.15 | NEGATIVE | NA | 26.62 | NEGATIVE | YES
| Q9 | NA | 34.97 | NEGATIVE | NA | 29.72 | NEGATIVE | YES
| Q10 | NA | 31.79 | NEGATIVE | NA | 26.18 | NEGATIVE | YES
| Q11 | NA | 33.19 | NEGATIVE | NA | 27.63 | NEGATIVE | YES
| Q12 | NA | 37.33 | NEGATIVE | NA | 31.54 | NEGATIVE | YES
| Q13 | NA | 34.4 | NEGATIVE | NA | 29.36 | NEGATIVE | YES
| Q14 | NA | 35.18 | NEGATIVE | NA | 28.34 | NEGATIVE | YES
| Q15 | NA | 33.63 | NEGATIVE | NA | 27.92 | NEGATIVE | YES
| Q16 | NA | 34.83 | NEGATIVE | NA | 29.66 | NEGATIVE | YES
| Q17 | NA | 29.82 | NEGATIVE | NA | 26.17 | NEGATIVE | YES
| Q18 | NA | 37.78 | NEGATIVE | NA | 31.58 | NEGATIVE | YES
| Q19 | NA | 32.44 | NEGATIVE | NA | 27.16 | NEGATIVE | YES
| Q21 | NA | 35.89 | NEGATIVE | NA | 29.92 | NEGATIVE | YES
| Q22 | NA | 32.5 | NEGATIVE | NA | 27.13 | NEGATIVE | YES
| Q23 | NA | 36.45 | NEGATIVE | NA | 30.88 | NEGATIVE | YES
| Q24 | NA | 39.2 | NEGATIVE | NA | 33.06 | NEGATIVE | YES
| Q25 | NA | 34.74 | NEGATIVE | NA | 29.16 | NEGATIVE | YES
| Q26 | NA | 34.96 | NEGATIVE | NA | 29.09 | NEGATIVE | YES
| Q27 | NA | 38.44 | NEGATIVE | NA | 31.72 | NEGATIVE | YES
| Q28 | NA | 31.77 | NEGATIVE | NA | 26.17 | NEGATIVE | YES
| Q29 | NA | 37.43 | NEGATIVE | NA | 32.6 | NEGATIVE | YES
| Q30 | NA | 37.5 | NEGATIVE | NA | 31.33 | NEGATIVE | YES
| Q31 | NA | 34.82 | NEGATIVE | NA | 29.74 | NEGATIVE | YES
| Q32 | NA | 31.36 | NEGATIVE | NA | 26.31 | NEGATIVE | YES
| Q33 | NA | 38.79 | NEGATIVE | NA | 29.67 | NEGATIVE | YES
| Q34 | NA | 32.75 | NEGATIVE | NA | 26.26 | NEGATIVE | YES
| Q35 | NA | 37.46 | NEGATIVE | NA | 31.68 | NEGATIVE | YES
| Q36 | 44.33 | 36.93 | POSITIVE | NA | 29.77 | NEGATIVE | NO
| Q37 | NA | 35.36 | NEGATIVE | NA | 27.75 | NEGATIVE | YES
| Q38 | NA | 32.82 | NEGATIVE | NA | 26.6 | NEGATIVE | YES
| Q39 | NA | 32.19 | NEGATIVE | NA | 26.89 | NEGATIVE | YES
| Q40 | NA | 34.4 | NEGATIVE | NA | 29.58 | NEGATIVE | YES
| Q41 | NA | 35.47 | NEGATIVE | NA | 29.19 | NEGATIVE | YES
| Q42 | NA | 39.25 | NEGATIVE | NA | 33.9 | NEGATIVE | YES
| Q43 | NA | 35.24 | NEGATIVE | NA | 28.75 | NEGATIVE | YES
| Q44 | NA | 33.24 | NEGATIVE | NA | 27.8 | NEGATIVE | YES
| Q45 | NA | 38.39 | NEGATIVE | NA | 32.71 | NEGATIVE | YES
| Q46 | NA | 34.62 | NEGATIVE | NA | 28.99 | NEGATIVE | YES
| Q47 | NA | 36.04 | NEGATIVE | NA | 29.94 | NEGATIVE | YES
| Q48 | NA | 33.56 | NEGATIVE | NA | 27.83 | NEGATIVE | YES
| Q49 | NA | 36.64 | NEGATIVE | NA | 31.45 | NEGATIVE | YES
| Q50 | NA | 34.39 | NEGATIVE | NA | 27.84 | NEGATIVE | YES
| Q51 | NA | 35.98 | NEGATIVE | NA | 29.37 | NEGATIVE | YES
| Q52 | NA | 34.2 | NEGATIVE | NA | 27.48 | NEGATIVE | YES
| Q53 | NA | 31.76 | NEGATIVE | NA | 26.09 | NEGATIVE | YES
| Q54 | NA | 30.83 | NEGATIVE | NA | 25.94 | NEGATIVE | YES
| Q55 | NA | 34.2 | NEGATIVE | NA | 28.29 | NEGATIVE | YES
| Q56 | NA | 38.17 | NEGATIVE | NA | 31.46 | NEGATIVE | YES
| Q57 | NA | 34.04 | NEGATIVE | NA | 28.07 | NEGATIVE | YES
| Q58 | NA | 31.78 | NEGATIVE | NA | 26.63 | NEGATIVE | YES
| Q59 | NA | 31.03 | NEGATIVE | NA | 26.59 | NEGATIVE | YES
| Q60 | NA | 33.67 | NEGATIVE | NA | 27.8 | NEGATIVE | YES
| Q61 | NA | 31.83 | NEGATIVE | NA | 24.89 | NEGATIVE | YES
| Q62 | NA | 36.81 | NEGATIVE | NA | 29.98 | NEGATIVE | YES
| Q63 | NA | 39.01 | NEGATIVE | NA | 31.81 | NEGATIVE | YES
| Q64 | NA | 35.06 | NEGATIVE | NA | 28.07 | NEGATIVE | YES
| Q65 | NA | 34.33 | NEGATIVE | NA | 28.98 | NEGATIVE | YES
| Q66 | NA | 34.08 | NEGATIVE | NA | 28.37 | NEGATIVE | YES
| Q67 | NA | 33.37 | NEGATIVE | NA | 27.51 | NEGATIVE | YES
| Q68 | NA | 35.27 | NEGATIVE | NA | 28.94 | NEGATIVE | YES
| Q69 | NA | 33.39 | NEGATIVE | NA | 27.41 | NEGATIVE | YES
| Q70 | NA | 35.03 | NEGATIVE | NA | 29.15 | NEGATIVE | YES
| Q71 | NA | 35.28 | NEGATIVE | NA | 29.67 | NEGATIVE | YES
| Q72 | NA | 34.49 | NEGATIVE | NA | 29.71 | NEGATIVE | YES
| Q73 | NA | 36.47 | NEGATIVE | NA | 30.22 | NEGATIVE | YES
| Q74 | NA | 31.6 | NEGATIVE | NA | 26.22 | NEGATIVE | YES
| Q75 | NA | 31.22 | NEGATIVE | NA | 25.66 | NEGATIVE | YES
| Q76 | NA | 36.2 | NEGATIVE | NA | 28.38 | NEGATIVE | YES
| Q77 | NA | 29.28 | NEGATIVE | NA | 24.39 | NEGATIVE | YES
| Q78 | NA | 37.5 | NEGATIVE | NA | 34.61 | NEGATIVE | YES
| Q79 | NA | 34.88 | NEGATIVE | NA | 28.75 | NEGATIVE | YES
| Q80 | NA | 38.56 | NEGATIVE | NA | 30.54 | NEGATIVE | YES
| Q81 | NA | 32.84 | NEGATIVE | NA | 26.99 | NEGATIVE | YES
| Q82 | NA | 33.64 | NEGATIVE | NA | 27.93 | NEGATIVE | YES
| Q83 | NA | 34.36 | NEGATIVE | NA | 29.47 | NEGATIVE | YES
| Q84 | NA | 34.39 | NEGATIVE | NA | 28.16 | NEGATIVE | YES
| Q85 | NA | 38.98 | NEGATIVE | NA | 30.52 | NEGATIVE | YES
| Q86 | NA | 37.26 | NEGATIVE | NA | 31.95 | NEGATIVE | YES
| Q87 | NA | 34.65 | NEGATIVE | NA | 28.77 | NEGATIVE | YES
| Q88 | NA | 33.09 | NEGATIVE | NA | 27.78 | NEGATIVE | YES
| Q89 | NA | 37.49 | NEGATIVE | NA | 31.46 | NEGATIVE | YES
| Q90 | NA | 35.92 | NEGATIVE | NA | 27.04 | NEGATIVE | YES
| Q91 | NA | 32.69 | NEGATIVE | NA | 27.11 | NEGATIVE | YES
| Q92 | NA | 30.6 | NEGATIVE | NA | 26.35 | NEGATIVE | YES
| Q93 | NA | 32.32 | NEGATIVE | NA | 27.51 | NEGATIVE | YES
| Q94 | NA | 34.3 | NEGATIVE | NA | 28.99 | NEGATIVE | YES
| Q95 | NA | 36.6 | NEGATIVE | NA | 29.86 | NEGATIVE | YES
| Q96 | NA | 38.3 | NEGATIVE | NA | 31.04 | NEGATIVE | YES
| Q97 | NA | 33.81 | NEGATIVE | NA | 28.31 | NEGATIVE | YES
| Q98 | NA | 32.3 | NEGATIVE | NA | 26.88 | NEGATIVE | YES
| Q99 | NA | 38.96 | NEGATIVE | NA | 32.65 | NEGATIVE | YES
| Q100 | NA | 31.5 | NEGATIVE | NA | 26.87 | NEGATIVE | YES
| Q101 | NA | 37.15 | NEGATIVE | NA | 29.42 | NEGATIVE | YES
Data removed:
1 run with no patient consent Invalid runs
Data not shown:
Repeated data, only 1 result per patient-first valid run
The first valid result is reported however in no case was the result different after a number of valid runs for example a negative then a positive or vice versa.
Totals:
Data removed:
1 run with no patient consent Invalid runs
Data not shown:
Repeated data, only 1 result per patient-first valid run
The first valid result is reported however in no case was the result different after a number of valid runs for example a negative then a positive or vice versa.
Totals:

## Hospital Ct Values
Patient
| CT value E gene | CT value ORF-1 gene | CT value S gene
S1 | 18.85 | 18.52 |  | Key: | 2 ct values for each patient, if they are E and S gene values the test was from altona, if they are E and ORF the test was Roche
S2 | 19.6 | 21.8
S3 | 29.68 | 29.37
S4 | 31.28 |  | 30.32
S5 | 19.75 |  | 19.5
S6 | 30.94 |  | 30.2
S7 | 31.87 |  | 31.12
S8 | 24.46 |  | 24.29
S9 | no data available
S10 | 19.71 |  | 19.12
S11 | 20.63 | 20.53
S12 | 26.67 | 26.22
S13 | no data available
S14 | 24.71 | 24.67
S15 | no data available
S16 | 15.2 | 16.8
S17 | no data available
S18 | no data available
S19 | 16 |  | 16
S20 | 15.76 | 15.58
S21 | 17 |  | 17
S22 | 18.78 | 19.05
S23 | 27.22 |  | 26.67
S24 | 28.72 | 28.48
S25 | no data available
S26 | 20.78 |  | 20.62
S27 | 31 |  | 30
S28 | 30.05 |  | 29.48

## Samples
Patient | Sample ID | Days post hospital swab
S1 | S1.1 | 1
| S1.2 | 5
| S1.3 | 9
S2 | S2.1 | 1
| S2.2 | 5
S3 | S3.1 | 7
| S3.2 | 8
| S3.3 | 12
S4 | S4.1 | 4
S5 | S5.1 | 3
S6 | S6.1 | 2
S7 | S7.1 | 3
| S7.2 | 7
| S7.3 | 10
S8 | S8.1 | 3
S9 | S9.1 | 1
| S9.2 | 4
S10 | S10.1 | 3
S11 | S11.1 | 4
| S11.2 | 7
S12 | S12.1 | 6
S13 | S13.1 | 5
S14 | S14.1 | 8
S15 | S15.1 | 2
S16 | S16.1 | 2
| S16.2 | 9
S17 | S17.1 | 2
S18 | S18.1 | 3
S19 | S19.1 | 1
| S19.2 | 4
| S19.3 | 7
S20 | S20.1 | 0
| S20.2 | 6
| S20.3 | 8
S21 | S21.1 | 1
| S21.2 | 3
S22 | S22.1 | 3
| S22.2 | 7
S23 | S23.1 | 1
S24 | S24.1 | 2
S25 | S25.1 | 1
S26 | S26.1 | 1
S27 | S27.1 | 3
| S27.2 | 5
| S27.3 | 10
S28 | S28.1 | 4
| S28.2 | 8
28 | 47