Effects of basin-scale climate modes and upwelling on nearshore marine heatwaves and cold spells in the California Current

Supplemental Materials

Table S1. Summary of temperature sensors used for the Diablo Canyon data.

| Manufacturer | Dates Used | Unit Type | Reported Accuracy | Reported Resolution |
| --- | --- | --- | --- | --- |
| ENDECO | 1977–1982 | Type 109 | 0.2°C | 0.1°C |
| Sea Data | 1982–1999 | TR-2 | 0.1°C | 0.01°C |
| Hugrun* | 1999–2016 | Seamon-mini™ | 0.025°C | 0.001°C |
| Star Oddi | 2014–present | Starmon-mini | 0.025°C | 0.001°C |