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Table S1. Summary of temperature sensors used for the Diablo Canyon data. 

	Manufacturer
	Dates Used
	Unit Type
	Reported Accuracy
	Reported Resolution

	ENDECO
	1977–1982
	Type 109
	0.2°C
	0.1°C

	Sea Data
	1982–1999
	TR-2
	0.1°C
	0.01°C

	Hugrun*
	1999–2016
	Seamon-mini™
	0.025°C
	0.001°C

	Star Oddi
	2014–present
	Starmon-mini
	0.025°C
	0.001°C




