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Dataset Name	1
File name	E:\X'Pert Data\2023\3\Dr Khaled xrd\1.xrdml
Comment	Configuration=Stage Flat Samples, Owner=r, Creation date=2/28/2009 2:36:26 PM
     	Goniometer=PW3050/60 (Theta/Theta); Minimum step size 2Theta:0.001; Minimum step size Omega:0.001
     	Sample stage=PW3071/xx Bracket
     	Diffractometer system=XPERT-PRO
     	Measurement program=Program1, Owner=r, Creation date=7/7/2004 10:36:35 AM
Measurement Date / Time	3/18/2023 12:12:37 PM
Operator	cwi
Raw Data Origin	XRD measurement (*.XRDML)
Scan Axis	Gonio
Start Position [°2Th.]	5.0100
End Position [°2Th.]	89.9900
Step Size [°2Th.]	0.0200
Scan Step Time [s]	1.0000
Scan Type	Continuous
Offset [°2Th.]	0.0000
Divergence Slit Type	Fixed
Divergence Slit Size [°]	0.4785
Specimen Length [mm]	10.00
Receiving Slit Size [mm]	0.1000
Measurement Temperature [°C]	25.00
Anode Material	Cu
K-Alpha1 [Å]	1.54060
K-Alpha2 [Å]	1.54443
K-Beta [Å]	1.39225
K-A2 / K-A1 Ratio	0.50000
Generator Settings	30 mA, 40 kV
Diffractometer Type	0000000000005545
Diffractometer Number	0
Goniometer Radius [mm]	240.00
Dist. Focus-Diverg. Slit [mm]	91.00
Incident Beam Monochromator	No
Spinning	No
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	Pos. [°2Th.]
	Height [cts]
	FWHM [°2Th.]
	d-spacing [Å]
	Rel. Int. [%]
	Tip width [°2Th.]
	Matched by

	10.0341
	11.50
	0.0787
	8.81557
	52.27
	0.0945
	

	10.6947
	14.69
	0.0590
	8.27246
	66.76
	0.0708
	

	11.7830
	7.72
	0.0984
	7.51074
	35.09
	0.1181
	

	23.1501
	22.00
	0.0787
	3.84216
	100.00
	0.0945
	

	23.4513
	11.89
	0.1968
	3.79350
	54.02
	0.2362
	

	31.5697
	13.60
	0.0394
	2.83406
	61.82
	0.0472
	

	53.8896
	7.41
	0.0960
	1.69994
	33.66
	0.1152
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Insert Measurement:
- File name = "1.xrdml"
- Modification time = "3/18/2023 1:32:24 PM"
- Modification editor = "cwi"

Default properties:
- Measurement step axis = "None"
- Internal wavelengths used from anode material: Copper (Cu)
- Original K-Alpha1 wavelength = "1.54060"
- Used K-Alpha1 wavelength = "1.54060"
- Original K-Alpha2 wavelength = "1.54443"
- Used K-Alpha2 wavelength = "1.54443"
- Original K-Beta wavelength = "1.39225"
- Used K-Beta wavelength = "1.39225"
- Incident beam monochromator = "No"
- Dist. focus to div. slit = "91.00000"
- Irradiated length = "10.00000"
- Spinner used = "No"
- Receiving slit size = "0.10000"
- Linear detector mode = "None"
- Length linear detector = "2"
- Step axis value = "0.00000"
- Offset = "0.00000"
- Sample length = "10.00000"
- Modification time = "3/18/2023 1:32:24 PM"
- Modification editor = "cwi"

Determine Background:
- Correction method = "Automatic"
- Bending factor = "21"
- Use smoothed input data = "Yes"
- Granularity = "18"
- Add to net scan = "Nothing"
- Modification time = "9/26/2022 9:58:01 AM"
- Modification editor = "cwi"

Determine Background:
- Correction method = "Automatic"
- Bending factor = "5"
- Use smoothed input data = "Yes"
- Granularity = "20"
- Add to net scan = "Nothing"
- Modification time = "2/22/2001 10:17:43 AM"
- Modification editor = "PANalytical"

Search Peaks:
- Minimum significance = "2.00"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "2/20/2001 11:55:18 AM"
- Modification editor = "PANalytical"

Search & Match:
- Data source = Profile
- Restriction = "None"
- Scoring schema = "Multi phase"
- Auto residue = "Yes"
- Match intensity = "Yes"
- Demote unmatched strong = "Yes"
- Allow pattern shift = "No"
- Two theta shift = "0"
- Identify = "Yes"
- Max. no. of accepted patterns = "5"
- Minimum score = "27"
- Search depth = "6"
- Min. new lines / total lines = "40"
- Minimum new lines = "3"
- Minimum scale factor = "0.06"
- Modification time = "2/16/2001 11:03:07 AM"
- Modification editor = "PANalytical"

Determine Background:
- Correction method = "Automatic"
- Bending factor = "5"
- Use smoothed input data = "Yes"
- Granularity = "20"
- Add to net scan = "Nothing"
- Modification time = "2/22/2001 10:17:43 AM"
- Modification editor = "PANalytical"

Search Peaks:
- Minimum significance = "2.00"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "2/20/2001 11:55:18 AM"
- Modification editor = "PANalytical"

Search & Match:
- Data source = Profile
- Restriction = "Restriction set"
- Description = "Common phases subfile only"
- All of: elements = ""
- At least one of: elements = ""
- None of: elements = ""
- Maximum no. of elements = "105"
- Skip marked as deleted by ICDD = "No"
- Skip marked as deleted by a user = "No"
- Skip non ambient pressure = "No"
- Skip non ambient temperature = "No"
- Quality marks set = ""
- Subfiles = "Common Phase"
- Scoring schema = "Multi phase"
- Auto residue = "Yes"
- Match intensity = "Yes"
- Demote unmatched strong = "Yes"
- Allow pattern shift = "No"
- Two theta shift = "0"
- Identify = "Yes"
- Max. no. of accepted patterns = "5"
- Minimum score = "27"
- Search depth = "6"
- Min. new lines / total lines = "40"
- Minimum new lines = "3"
- Minimum scale factor = "0.06"
- Modification time = "2/16/2001 3:30:09 PM"
- Modification editor = "PANalytical"

Smooth:
- Type of smoothing = "Polynomial"
- Polynomial type = "Low pass"
- Convolution range = "5"
- Modification time = "3/18/2023 1:33:14 PM"
- Modification editor = "cwi"

Search Peaks:
- Minimum significance = "0.50"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "3/18/2023 1:33:41 PM"
- Modification editor = "cwi"

Determine Background:
- Correction method = "Automatic"
- Bending factor = "5"
- Use smoothed input data = "Yes"
- Granularity = "20"
- Add to net scan = "Nothing"
- Modification time = "2/22/2001 10:17:43 AM"
- Modification editor = "PANalytical"

Search Peaks:
- Minimum significance = "2.00"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "2/20/2001 11:55:18 AM"
- Modification editor = "PANalytical"

Search & Match:
- Data source = Profile
- Restriction = "None"
- Scoring schema = "Multi phase"
- Auto residue = "Yes"
- Match intensity = "Yes"
- Demote unmatched strong = "Yes"
- Allow pattern shift = "No"
- Two theta shift = "0"
- Identify = "Yes"
- Max. no. of accepted patterns = "5"
- Minimum score = "27"
- Search depth = "6"
- Min. new lines / total lines = "40"
- Minimum new lines = "3"
- Minimum scale factor = "0.06"
- Modification time = "2/16/2001 11:03:07 AM"
- Modification editor = "PANalytical"

Search & Match:
- Data source = Profile
- Restriction = "Restriction set"
- Description = "Minerals subfile only"
- All of: elements = ""
- At least one of: elements = ""
- None of: elements = ""
- Maximum no. of elements = "105"
- Skip marked as deleted by ICDD = "No"
- Skip marked as deleted by a user = "No"
- Skip non ambient pressure = "No"
- Skip non ambient temperature = "No"
- Quality marks set = ""
- Subfiles = "Mineral"
- Scoring schema = "Multi phase"
- Auto residue = "Yes"
- Match intensity = "Yes"
- Demote unmatched strong = "No"
- Allow pattern shift = "No"
- Two theta shift = "0"
- Identify = "No"
- Modification time = "1/11/2001 10:27:07 AM"
- Modification editor = "PANalytical"

Determine Background:
- Correction method = "Automatic"
- Bending factor = "5"
- Use smoothed input data = "Yes"
- Granularity = "20"
- Add to net scan = "Nothing"
- Modification time = "2/22/2001 10:17:43 AM"
- Modification editor = "PANalytical"

Search Peaks:
- Minimum significance = "2.00"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "2/20/2001 11:55:18 AM"
- Modification editor = "PANalytical"

Search & Match:
- Data source = Profile
- Restriction = "None"
- Scoring schema = "Multi phase"
- Auto residue = "Yes"
- Match intensity = "Yes"
- Demote unmatched strong = "Yes"
- Allow pattern shift = "No"
- Two theta shift = "0"
- Identify = "Yes"
- Max. no. of accepted patterns = "5"
- Minimum score = "27"
- Search depth = "6"
- Min. new lines / total lines = "40"
- Minimum new lines = "3"
- Minimum scale factor = "0.06"
- Modification time = "2/16/2001 11:03:07 AM"
- Modification editor = "PANalytical"

Search Peaks:
- Minimum significance = "0.50"
- Minimum tip width = "0.01"
- Maximum tip width = "1.00"
- Peak base width = "2.00"
- Method = "Minimum 2nd derivative"
- Modification time = "3/18/2023 1:37:40 PM"
- Modification editor = "cwi"
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