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	Cell type/response
	Score

	
	0
	1
	2
	3
	4

	Polymorphonuclear cells
	0
	Rare,1-5/HPF
	5-10/HPF
	Heavy infiltrate
	Packed

	Lymphocytes
	0
	Rare,1-5/HPF
	5-10/HPF
	Heavy infiltrate
	Packed

	Plasma cells
	0
	Rare,1-5/HPF
	5-10/HPF
	Heavy infiltrate
	Packed

	Macrophages
	0
	Rare,1-5/HPF
	5-10/HPF
	Heavy infiltrate
	Packed

	Giant cells
	0
	Rare,1-2/HPF
	3-5/HPF
	Heavy infiltrate
	Sheets

	Necrosis
	0
	Minimal
	Mild
	Moderate
	Severe

	Calculation 
	Subtotal (x2)

	Neovascularization
	0
	Minimal capillary proliferation, focal, 1-3 buds

	Groups of 4-7 capillaries with supporting fibroblastic structures
	Broad band of capillaries with supporting structures
	Extensive band if capillaries with supporting fibroblastic structures

	Edema
	0
	Minimal 
	Mild
	Moderate 
	Severe

	Hemorrhage
	0
	Minimal focal 
	Mild, focal to multifocal 
	Moderate, focally extensive 
	Severe, focally extensive 

	Hemosiderin
	0
	Minimal 
	Mild
	Moderate
	Severe

	Calculation 
	Subtotal

	
	Total

	
	Group Total

	
	Arithmetic Mean


*HPF= High Power Field

Defined by the ISO 10993-6:2016(E), a score difference between 0.0 to 2.9 is considered no or minimal host reaction, 3.0 to 8.9 slight host reaction, 9.0 to 15.0 moderate host reaction
