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	Participant ID
	Implant eye
	Number of electrodes included in study / Total number of electrodes measured
	Excluded electrodes

	UM01
	Left
	27 / 30
	Not visible on OCT (3)

	UM02
	Left
	26 / 30
	Not visible on OCT (4)

	CL01
	Right
	56 / 60
	High impedance (1)
Not visible on OCT (3)

	CL02
	Right
	45 / 60
	High impedance (1)
Threshold >677 µA (12)
Not visible on OCT (2)

	CL03
	Right
	54 / 60
	High impedance (2)
Not visible on OCT (4)

	CL04
	Right
	35 / 60
	High impedance (7)
Threshold >677 µA (11)
Not visible on OCT (7)

	CL05
	Left
	47 / 60
	High impedance (5)
Not visible on OCT (8)
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Supplementary Figure S1. Method for calculating retinal area activated (mm2)
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