Table S1. A comparative analysis of kidney segmentation methods in ultrasound images

| Method | Method | Dataset | Evaluation Metrics | Limitations |
| --- | --- | --- | --- | --- |
| Proposed method | CNN: Fast-Unet++ | 744 sagittal and axial images | DSC, JC, MAD | Polycystic morphology |
| Chen et al. (2023) S1 | CNN: Asymmetric U-shaped network with hybrid attention mechanism | 300 sagittal images | Accuracy, DSC, JC, Recall, Precision, and ASSD | - False detections and missed detections due to the inﬂuence of image quality, blurred boundaries and heterogeneous structure - Not considering the disturbance of speckle noise to segmentation results - Not considering the real-time nature of ultrasound |
| Peng et al. (2023) S2 | CNN: Deep fusion learning network + searching polygon tracking | 380 sagittal images obtained from 115 patients | DSC, JC | Memory burden of the method due to searching polygon tracking method |
| Song et al. (2023) S3 | CNN: Shape aware dual-task multi-scale fusion network + a self-correction strategy | - | DSC, JC, HD, and ASSD | Geometric shape constraints |
| Alex et al. (2022) S4 | CNN: YSegNet (based on VGG-16) | 700 sagittal images | Accuracy, DSC, JC, Speciﬁcity, Recall, and Precision | VGG-16 is a heavy network that has a lot of parameters to learn. The authors tried to compensate with augmentation |
| Chen et al (2022) S5 | CNN | 400 sagittal images | Accuracy, DSC, JC, Recall, Precision, and ASSD | - False detections and missed detections due to the inﬂuence of image quality, blurred boundaries and heterogeneous structure - Not considering the real-time nature of ultrasound |
| Chen et al (2021) S6 | CNN: SDFNet | 500 sagittal images | Accuracy, IoU, Precision, Recall, Specificity, and F1 | - Missed detection and false detection on individual images. - Not considering the real-time nature of ultrasound |
| Yin et al (2020) 32 | CNN + boundary distance regression | 289 sagittal images | DSC, MD, JC, Recall, Precision, and ASSD | Dependency of the method to the shape of training data, decreases the performance of method for axial images. |
| Ravishankar et al. (2017) 34 | CNN: FCN | 231 sagittal images | DSC | Large number of training parameters of FCN that needs more training images. |
| Ardon et al (2015) 14 | SVM + model based deformation | 480 3D ultrasound images | DSC | Dependency of the final result to the SVM |

CNN: Convolutional neural network, DSC: Dice similarity coefficient, JC: Jaccard coefficient, MAD: Mean absolute distance, ASSD: Average symmetric surface distance, HD: Hausdorff distance, IoU: Intersection over Union, FCN: Fully convolutional network

Figure S1. Swarm scatter plot of the DSC achieved on the 100 samples of sagittal and axial images in the test set.

References

- Chen, G. P. et al. Asymmetric U-shaped network with hybrid attention mechanism for kidney ultrasound images segmentation. Expert Syst. Appl. 212, 118847 (2023).

- Peng, T., Gu, Y., Ruan, S. J., Wu, Q. J. & Cai, J. Novel Solution for Using Neural Networks for Kidney Boundary Extraction in 2D Ultrasound Data. Biomol. 2023, Vol. 13, Page 1548 13, 1548 (2023).

- Song, Z., Liu, X., Gong, Y., Hao, T. & Zeng, K. A Two-Stage Framework for Kidney Segmentation in Ultrasound Images. 60–74 (2023) doi:10.1007/978-981-99-5847-4_5.

- Alex, D. M., Abraham Chandy, D., Hepzibah Christinal, A., Singh, A. & Pushkaran, M. YSegNet: a novel deep learning network for kidney segmentation in 2D ultrasound images. Neural Comput. Appl. 34, 22405–22416 (2022).

- Chen, G. et al. A novel convolutional neural network for kidney ultrasound images segmentation. Comput. Methods Programs Biomed. 218, 106712 (2022).

- Chen, G. et al. SDFNet: Automatic segmentation of kidney ultrasound images using multi-scale low-level structural feature. Expert Syst. Appl. 185, 115619 (2021).