Supplemental Data
Supplementary Table S1. The complete set of air leakage pressure data for three groups; TTSC, ENDOCRAP and HS
TTSC: through-the-scope clip
HS: hand suture
	No
	Air Leakage Pressure (mmHg)

	
	TTSC
	ENDOCRAP
	HS

	1
	34
	56
	108

	2
	112
	98
	132

	3
	60
	178
	96

	4
	88
	60
	108

	5
	82
	158
	96

	6
	55
	104
	172

	7
	83
	106
	152

	8
	69
	128
	142

	9
	87
	165
	170

	10
	66
	132
	98













Supplementary Table S2. The complete set of procedure time data for three groups; TTSC, ENDOCRAP and HS
TTSC: through-the-scope clip
HS: hand suture
	No
	Procedure Time (min)

	
	TTSC
	ENDOCRAP
	HS

	1
	24.95
	10.93
	8.85

	2
	42.12
	21.77
	10.55

	3
	11.83
	14.28
	11.72

	4
	32.97
	16.48
	5.43

	5
	38.20
	9.18
	5.55

	6
	10.12
	24.15
	6.92

	7
	7.70
	11.90
	7.45

	8
	14.45
	13.30
	7.75

	9
	30.03
	27.30
	6.32

	10
	9.97
	39.73
	7.50














Supplementary Video title
Ex-vivo gastric perforation closure using ENDOCRAB

Video legends
Closing a 20mm gastric perforation in a porcine stomach using ENDOCRAB: Sewing and knotting procedure for mucosal-submucosal apposition
