| micro CT readouts |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Name | Description | Unit | Formula |
| From P01 | NP01 | Number of voxels at the end of inspiration phase (P01) | \ | Counting of lung voxels in P01 |
|  | VP01 | Total lung volume at the end of inspiration phase (P01) | mm3 | NP01∙voxel size |
|  | MLAP01 | Mean lung attenuation at the end of inspiration phase (P01) | HU | i=1 NP01HUiNP01 |
|  | Air | Volume of air at the end of inspiration phase (P01) | mm3 | VP01∙MLAP01-1000(HU) |
| From P02 | NP02 | Number of voxels at the end of expiration phase (P02) | \ | Counting of lung voxels in P02 |
|  | VP02 | Total lung volume at the end of expiration phase (P02) | mm3 | NP02∙voxel size |
|  | MLAP02 | Mean lung attenuation at the end of expiration phase (P02) | HU | i=1 NP02HUiNP02 |
|  | FRC | Functional residual capacity: Volume of air at the end of inspiration phase (P02) | mm3 | VP02∙MLAP02-1000(HU) |

| micro CT biomarkers of interest |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name | Description | Unit | Formula |
| %GasP02 | Percentage of gas volume at the end of expiration phase (P02) | % | FRC∙100/VP02 |
| Tissue | Lung volume without gas | mm3 | VP02-FRC |
| Tidal Volume (TV) | Volume of air exchanged between inspiration and expiration | mm3 | Air-FRC |

Supplementary Table 1: micro CT automatically extracted parameters

Supplementary Table 2: micro CT automatically computed biomarkers of interest