Supplementary Tables

Table 1. Magnetic resonance imaging anesthesia protocol.

| Premedication: The anesthesiologist for each patient chose one of the combinations from 1-5. |  |
| --- | --- |
| 1. | Butorphanol 0.4 mg/kg IV |
| 2. | Butorphanol 0.3-0.4 mg/kg IV + Dexmedetomidine 2-3 mcg/kg IV |
| 3. | Butorphanol 0.3 mg/kg IM + Dexmedetomidine 3 mcg/kg IM +/- Dexmedetomidine 2-3 mcg/kg IV |
| 4. | Hydromorphone 0.1 mg/kg IV + Dexmedetomidine 2 mcg/kg IV |
| 5. | Hydromorphone 0.1 mg/kg IM + Dexmedetomidine 3 mcg/kg IM +/- Dexmedetomidine 2-3 mcg/kg IV |
| +/- | Maropitant 1 mg/kg IV |
| Induction: |  |
| Propofol 2-4 mg/kg IV +/- Midazolam 0.2-0.4 mg/kg IV |  |
| Maintenance: The anesthesiologist for each patient chose either isoflurane or propofol depending on the patient’s health. |  |
| 1. | Isoflurane |
| 2. | Propofol 0.15-0.4 mg/kg/min |

The needs of each patient were considered when selecting the anesthesia protocol.

Table 2. Imaging parameters for the conventional magnetic resonance imaging (MRI)

| Sequence | TR (ms) | TE (ms) | FOV (cm) | Slice thickness (mm) | Gap (mm) |
| --- | --- | --- | --- | --- | --- |
| T1 MPRAGE | 2300 | 3.68 | 22 x 22 | 0.5 | 0.25 |
| T2 SAG | 3000 | 100 | 14 x 14 | 2.5 | 0.25 |
| T2 TRANS | 3270 | 105 | 11 x 11 | 3 | 0.9 |
| FLAIR | 9000 | 90 | 12 x 12 | 3 | 0.9 |
| SWI | 43 | 20.9 | 14 x 14 | 1.5 | 0.3 |

Conventional MRI was performed in each patient in addition to the diffusion tensor imaging studies. MPRAGE: magnetization-prepared rapid gradient echo; SAG:  sagittal; TRANS: transverse; FLAIR: fluid attention inversion recovery; SWI; susceptibility weighted imaging. TR: repetition time; TE: echo time; FOV: field of view.