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Figure 1S Distribution map of the HM and physicochemical parameters: (a) pH, (b)TDS, (c) Temperature, (d) Ca2+, (e) Mg2+, (f) Na+, (g) K+, (h) HCO3−, (i) CO3−, (j) Cl−, (k) SO42−, (l) NO3−, (m) EC, (n) TH, (o) Mn and (p) Fe.

Table 1S Classification of water quality based on WQI values (1)
	WQI
	Categories
	Explanation and Potential Uses

	0–25
	Excellent
	Drinking, Irrigation and Industrial

	26–50
	Good
	Domestic, Irrigation and Industrial

	51–75
	Poor
	Irrigation and Industrial

	76–100
	Very Poor
	Irrigation

	>100
	Unsuitable for drinking
	Restricted use for Irrigation



Table 2S Statistical analysis and classes of IWQIs.
	Criteria
	Min
	Max
	Mean
	Range
	Class

	IWQI
	99.64
	107.66
	104.36
	85 - 100
	No restriction

	
	
	
	
	70 - 85
	Low restriction

	
	
	
	
	55 - 70
	Moderate restriction

	
	
	
	
	40 - 55
	High restriction

	
	
	
	
	0 - 40
	Severe restriction

	SAR
	0.37
	0.68
	0.49
	<10
	Excellent

	
	
	
	
	10–18
	Good

	
	
	
	
	19–26
	Fair Poor

	
	
	
	
	>26
	Unsuitable

	Na%
	13.75
	18.72
	16.11
	<20%
	Excellent

	
	
	
	
	21%–40%
	Good

	
	
	
	
	41%–60%
	Permissible

	
	
	
	
	61%–80%
	Doubtful

	
	
	
	
	> 80%
	Unsuitable

	SSP
	12.52
	17.59
	14.88
	<60
	Suitable

	
	
	
	
	>60
	Unsuitable

	PS
	0.73
	1.66
	1.04
	PS < 3.0
	Excellent to good

	
	
	
	
	PS = 3.0–5.0 
	Good to injurious

	
	
	
	
	PS > 5.0 
	Injurious to unsatisfactory

	RSC
	-1.27
	0.58
	-0.53
	<1.25
	Good

	
	
	
	
	1.25-2.5
	Doubtful

	
	
	
	
	>2.5
	Unsuitable



Table 3S Mean values of HQ oral of Mn, Fe and NO3 for adults and children
	Parameters
	
	Minimum
	Maximum
	Mean

	
	Fe
	0.001
	0.125
	0.024

	HQ Oral for Adult
	Mn
	0.025
	0.439
	0.074

	
	NO3-
	0.050
	0.243
	0.137

	 
	Fe
	0.002
	0.477
	0.092

	HQ Oral for Children
	Mn
	0.096
	1.678
	0.281

	 
	NO3-
	0.190
	0.927
	0.523

	
	HIOral for Adult
	0.096
	0.577
	0.235

	Non-carcinogenic risk
	HIOral for Children
	0.366
	2.201
	0.896



Table 4S Non carcinogenic values of Fe, Mn and NO3 for both Adults and Children
	Samples
	Locations
	Date
	HQ Fe
	HQ Mn
	HQ NO3
	HI 

	
	
	
	Adults
	Children
	Adults
	Children
	Adults
	Children
	Adults
	Children

	1
	S1
	1/9/2019
	0.12
	0.48
	0.13
	0.48
	0.18
	0.70
	0.43
	1.65

	2
	S1
	2/6/2019
	0.02
	0.09
	0.04
	0.14
	0.21
	0.81
	0.27
	1.05

	3
	S1
	3/6/2019
	0.01
	0.05
	0.04
	0.14
	0.19
	0.74
	0.24
	0.93

	4
	S1
	4/3/2019
	0.02
	0.07
	0.19
	0.72
	0.18
	0.70
	0.39
	1.48

	5
	S1
	5/8/2019
	0.03
	0.10
	0.06
	0.24
	0.12
	0.44
	0.20
	0.78

	6
	S1
	6/5/2019
	0.02
	0.09
	0.05
	0.19
	0.07
	0.28
	0.15
	0.57

	7
	S1
	7/3/2019
	0.01
	0.04
	0.05
	0.19
	0.08
	0.29
	0.14
	0.52

	8
	S1
	8/7/2019
	0.02
	0.08
	0.06
	0.24
	0.09
	0.35
	0.18
	0.67

	9
	S1
	9/4/2019
	0.01
	0.02
	0.13
	0.48
	0.07
	0.26
	0.20
	0.76

	10
	S1
	10/2/2019
	0.01
	0.03
	0.19
	0.72
	0.23
	0.87
	0.42
	1.62

	11
	S1
	11/6/2019
	0.01
	0.03
	0.04
	0.14
	0.20
	0.75
	0.24
	0.93

	12
	S1
	12/4/2019
	0.02
	0.08
	0.04
	0.14
	0.16
	0.61
	0.22
	0.84

	13
	S2
	1/9/2019
	0.10
	0.39
	0.13
	0.48
	0.18
	0.70
	0.41
	1.56

	14
	S2
	2/6/2019
	0.05
	0.18
	0.06
	0.24
	0.21
	0.79
	0.32
	1.21

	15
	S2
	3/6/2019
	0.01
	0.04
	0.04
	0.14
	0.23
	0.87
	0.28
	1.06

	16
	S2
	4/3/2019
	0.02
	0.07
	0.06
	0.24
	0.16
	0.63
	0.24
	0.93

	17
	S2
	5/8/2019
	0.03
	0.11
	0.05
	0.19
	0.12
	0.47
	0.20
	0.77

	18
	S2
	6/5/2019
	0.03
	0.11
	0.04
	0.14
	0.07
	0.26
	0.13
	0.51

	19
	S2
	7/3/2019
	0.01
	0.05
	0.13
	0.48
	0.07
	0.28
	0.21
	0.81

	20
	S2
	8/7/2019
	0.00
	0.02
	0.05
	0.19
	0.10
	0.37
	0.15
	0.57

	21
	S2
	9/4/2019
	0.01
	0.03
	0.05
	0.19
	0.09
	0.32
	0.14
	0.55

	22
	S2
	10/2/2019
	0.01
	0.04
	0.06
	0.24
	0.20
	0.76
	0.27
	1.04

	23
	S2
	11/6/2019
	0.01
	0.02
	0.19
	0.72
	0.12
	0.47
	0.32
	1.21

	24
	S2
	12/4/2019
	0.02
	0.07
	0.06
	0.24
	0.12
	0.47
	0.21
	0.79

	25
	S3
	1/9/2019
	0.10
	0.39
	0.13
	0.48
	0.21
	0.79
	0.43
	1.66

	26
	S3
	2/6/2019
	0.02
	0.08
	0.04
	0.14
	0.18
	0.68
	0.24
	0.90

	27
	S3
	3/6/2019
	0.01
	0.04
	0.04
	0.14
	0.19
	0.72
	0.24
	0.90

	28
	S3
	4/3/2019
	0.02
	0.07
	0.06
	0.24
	0.20
	0.76
	0.28
	1.08

	29
	S3
	5/8/2019
	0.03
	0.12
	0.06
	0.24
	0.12
	0.45
	0.21
	0.81

	30
	S3
	6/5/2019
	0.02
	0.09
	0.06
	0.24
	0.07
	0.25
	0.15
	0.58

	31
	S3
	7/3/2019
	0.01
	0.04
	0.05
	0.19
	0.07
	0.26
	0.13
	0.49

	32
	S3
	8/7/2019
	0.03
	0.12
	0.05
	0.19
	0.05
	0.20
	0.14
	0.52

	33
	S3
	9/4/2019
	0.00
	0.02
	0.06
	0.24
	0.05
	0.20
	0.12
	0.46

	34
	S3
	10/2/2019
	0.01
	0.02
	0.25
	0.96
	0.21
	0.82
	0.47
	1.80

	35
	S3
	11/6/2019
	0.00
	0.02
	0.19
	0.72
	0.21
	0.79
	0.40
	1.52

	36
	S3
	12/4/2019
	0.01
	0.03
	0.03
	0.10
	0.18
	0.68
	0.21
	0.81

	37
	S4
	1/9/2019
	0.11
	0.42
	0.13
	0.48
	0.17
	0.66
	0.41
	1.56

	38
	S4
	2/6/2019
	0.05
	0.21
	0.06
	0.24
	0.22
	0.83
	0.33
	1.27

	39
	S4
	3/6/2019
	0.01
	0.04
	0.04
	0.14
	0.24
	0.93
	0.29
	1.11

	40
	S4
	4/3/2019
	0.02
	0.06
	0.05
	0.19
	0.21
	0.81
	0.28
	1.06

	41
	S4
	5/8/2019
	0.02
	0.08
	0.04
	0.14
	0.15
	0.58
	0.21
	0.80

	42
	S4
	6/5/2019
	0.03
	0.12
	0.05
	0.19
	0.10
	0.39
	0.18
	0.70

	43
	S4
	7/3/2019
	0.01
	0.03
	0.13
	0.48
	0.05
	0.19
	0.18
	0.70

	44
	S4
	8/7/2019
	0.00
	0.02
	0.05
	0.19
	0.11
	0.42
	0.16
	0.63

	45
	S4
	9/4/2019
	0.01
	0.02
	0.03
	0.10
	0.09
	0.33
	0.12
	0.45

	46
	S4
	10/2/2019
	0.01
	0.04
	0.04
	0.14
	0.10
	0.39
	0.15
	0.57

	47
	S4
	11/6/2019
	0.01
	0.04
	0.05
	0.19
	0.12
	0.47
	0.19
	0.71

	48
	S4
	12/4/2019
	0.01
	0.02
	0.05
	0.19
	0.14
	0.54
	0.20
	0.76

	49
	S5
	1/10/2019
	0.10
	0.38
	0.13
	0.48
	0.20
	0.75
	0.42
	1.61

	50
	S5
	2/7/2019
	0.01
	0.05
	0.04
	0.14
	0.19
	0.74
	0.24
	0.93

	51
	S5
	3/7/2019
	0.02
	0.07
	0.06
	0.24
	0.18
	0.68
	0.26
	0.99

	52
	S5
	4/4/2019
	0.02
	0.06
	0.06
	0.24
	0.20
	0.76
	0.28
	1.06

	53
	S5
	5/9/2019
	0.02
	0.09
	0.06
	0.24
	0.09
	0.33
	0.17
	0.66

	54
	S5
	6/6/2019
	0.07
	0.26
	0.05
	0.19
	0.08
	0.30
	0.20
	0.75

	55
	S5
	7/4/2019
	0.01
	0.03
	0.04
	0.14
	0.05
	0.19
	0.10
	0.37

	56
	S5
	8/1/2019
	0.02
	0.07
	0.04
	0.14
	0.09
	0.32
	0.14
	0.53

	57
	S5
	9/5/2019
	0.01
	0.04
	0.04
	0.14
	0.08
	0.32
	0.13
	0.50

	58
	S5
	10/3/2019
	0.01
	0.04
	0.06
	0.24
	0.12
	0.45
	0.19
	0.73

	59
	S5
	11/7/2019
	0.01
	0.05
	0.44
	1.68
	0.12
	0.47
	0.58
	2.20

	60
	S5
	12/5/2019
	0.00
	0.00
	0.03
	0.10
	0.12
	0.47
	0.15
	0.57

	61
	S6
	1/10/2019
	0.02
	0.09
	0.04
	0.14
	0.18
	0.70
	0.25
	0.94

	62
	S6
	2/7/2019
	0.01
	0.04
	0.06
	0.24
	0.19
	0.74
	0.27
	1.02

	63
	S6
	3/7/2019
	0.02
	0.06
	0.06
	0.24
	0.19
	0.72
	0.27
	1.01

	64
	S6
	4/4/2019
	0.03
	0.12
	0.06
	0.24
	0.10
	0.38
	0.19
	0.73

	65
	S6
	5/9/2019
	0.02
	0.07
	0.06
	0.24
	0.08
	0.29
	0.16
	0.60

	66
	S6
	6/6/2019
	0.06
	0.23
	0.05
	0.19
	0.07
	0.26
	0.18
	0.69

	67
	S6
	7/4/2019
	0.02
	0.07
	0.04
	0.14
	0.05
	0.20
	0.11
	0.41

	68
	S6
	8/1/2019
	0.03
	0.11
	0.04
	0.14
	0.05
	0.20
	0.12
	0.45

	69
	S6
	9/5/2019
	0.01
	0.04
	0.04
	0.14
	0.09
	0.36
	0.14
	0.54

	70
	S6
	10/3/2019
	0.01
	0.05
	0.25
	0.96
	0.20
	0.76
	0.46
	1.77

	71
	S6
	11/7/2019
	0.01
	0.02
	0.03
	0.10
	0.21
	0.81
	0.24
	0.93

	72
	S6
	12/5/2019
	0.00
	0.01
	0.06
	0.24
	0.14
	0.54
	0.21
	0.79

	73
	S7
	1/10/2019
	0.12
	0.45
	0.13
	0.48
	0.19
	0.74
	0.44
	1.67

	74
	S7
	2/7/2019
	0.03
	0.12
	0.04
	0.14
	0.18
	0.70
	0.25
	0.96

	75
	S7
	3/7/2019
	0.01
	0.05
	0.06
	0.24
	0.24
	0.90
	0.31
	1.19

	76
	S7
	4/4/2019
	0.02
	0.06
	0.05
	0.19
	0.20
	0.78
	0.27
	1.03

	77
	S7
	5/9/2019
	0.03
	0.11
	0.05
	0.19
	0.08
	0.29
	0.15
	0.59

	78
	S7
	6/6/2019
	0.06
	0.23
	0.04
	0.14
	0.07
	0.28
	0.17
	0.66

	79
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	0.05
	0.20
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	0.71

	80
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	0.55
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