Gut microbiota analysis

Extraction of genome DNA

Total genome DNA from samples was extracted using CTAB/SDS method. DNA concentration and purity were monitored on 1ug/μL using sterile water.

Amplicon Generation

16S rRNA/18S rRNA/ITS genes of distinct regions (16S V4/16S V3/16S V3-V4/16S V4-V5,18S V4/18S V9, ITS1/ITS2, Arc V4) were amplified used specific primer (e.g.16S V4:515F-806R,18S V4: 528F-706R, 18S V9:1380F-1510R, et.al) with the barcode. All PCR reactions were carried out with 15 μL of Phusion® High-Fidelity PCR Master Mix (New England Biolabs); 0.2 μM of forward and reverse primers, and about 10 ng template DNA. Thermal cycling consisted of initial denaturation at 98°C for 1 min, followed by 30 cycles of denaturation at 98°C for 10 s, annealing at 50°C for 30 s, and elongation at 72°C for 30 s. Finally 72℃ for 5 min.

PCR Products quantification and qualification

Mix same volume of IX loading buffer (contained SYB green) with PCR products and operate electrophoresis on 2% agarose gel for detection. PCR products was mixed in equidensity ratios. Then, mixture PCR products was purified with Qiagen Gel Extraction Kit(Qiagen, Germany).

Library preparation and sequencing

Sequencing libraries were generated using TruSeq® DNA PCR-Free Sample Preparation Kit (Illumina, USA) following manufacturer's recommendations and index codes were added. The library quality was assessed on the Qubit@2.0 Fluorometer (Thermo Scientific) and Agilent Bioanalyzer 2100 system. At last, the library was sequenced on an Illumina NovaSeq platform and 250 bp paired-end reads were generated.

Targeted metabonomics of short-chain fatty acids

Metabolites Extraction:

Take sample into the 2 mL EP tubes, extracted with 1 mL H2O, vortex mixing for 10 s. Homogenized in ball mill for 4 min at 40 Hz, then ultrasound treated for 5 min (incubated in ice water), repeat 3 times. Centrifuge for 20 min at 5000 rpm, 4 °C. Transfer the supernatant 0.8 mL into a fresh 2 mL EP tubes; Add 0.1 mL 50 % H2SO4 and 0.8 mL of extracting solution (25 mg/L stock in methyl tert-butyl ether) as internal standard, vortex mixing for 10 s, oscillations in 10 min, then ultrasound treated for 10 min (incubated in ice water). Centrifuge for 15 min at 10000 rpm, 4 °C. Keep at −20 °C for 30 min. Transfer the supernatant into a fresh 2 mL glass vial, for GC-MS analysis.

GC-MS Analysis:

SHIMADZU GC2030-QP2020 NX gas chromatography-mass spectrometer. The system utilized a HP-FFAP capillary column. A 1 μL aliquot of the analyte was injected in split mode (5:1). Helium was used as the carrier gas, the front inlet purge flow was 3 mL min−1, and the gas flow rate through the column was 1.2 mL min−1. The initial temperature was kept at 50 °C for 1 min, then raised to 150 °C at a rate of 50 °C min−1 for 1 min, then raised to 170 °C at a rate of 10 °C min−1 for 0 min,then raised to 225 °C at a rate of 20 °C min−1 for 1 min,then raised to 240 °C at a rate of 40 °C min−1 for 1 min. The injection, transfer line, quad and ion source temperatures were 220 °C, 240 °C, 150 °C and 200 °C. The energy was -70 eV in electron impact mode. The mass spectrometry data were acquired in Scan/SIM mode with the m/z range of 33-150 after a solvent delay of 3.75 min.