relationshipS between capnogram parameters by Mainstream and sidestream TECHNIQUES at different breathing frequencies

József Tolnai1, Ferenc Rárosi1, Ibolya Tóth1, Barna Babik2, Zoltán Novák3, Ferenc Peták1*, 
Gergely H. Fodor1*

*: equal contributions

ONLINE DATA SUPPLEMENT

Figure S1: Time domain (top panels) and volumetric (bottom panels) capnograms obtained simultaneously using mainstream (blue) and sidestream (orange) techniques at low (panels A and D), medium (panels B and E), and high (panels C and F) breathing frequencies. Blunting of the transition zones between phases 2 and 3 is apparent when using sidestream capnography, with these distortions becoming more pronounced at the highest breathing rate.

Figure S2: Bland-Altman plots for the time domain measurement of the phase 2 and phase 3 slopes assessed by mainstream (S2T,MS and S3T,MS) and sidestream (S2T,SS and S3T,SS) capnography techniques. Measurements were obtained at low (blue), medium (white) and high (red) breathing frequencies. Continuous horizontal lines with the corresponding colors denote the mean bias values; dashed lines with the corresponding colors indicate the 95% limits of agreements.

Figure S3: Bland-Altman plots for phase 2 and phase 3 slopes of the volumetric capnogram assessed by mainstream (S2V,MS and S3V,MS) and sidestream (S2V,SS and S3V,SS) techniques. Measurements were obtained at low (blue), medium (white) and high (red) breathing frequencies. Continuous horizontal lines with the corresponding colors denote the mean bias values; dashed lines with the corresponding colors indicate the 95% limits of agreements.

Figure S4: Bland-Altman plots for Fowler’s anatomical dead space fraction, Bohr’s physiological dead phase fraction, and the end-tidal CO2 concentration measured by mainstream (VDFMS, VDBMS and ETCO2,MS) and sidestream (VDFSS , VDBSS and ETCO2,SS)  techniques. Measurements were obtained at low (blue), medium (white) and high (red) breathing frequencies. Continuous horizontal lines with the corresponding colors denote the mean bias values; dashed lines with the corresponding colors indicate the 95% limits of agreements.