The effects of RT-qPCR standards on reproducibility and comparability in monitoring SARS-CoV-2 levels in wastewater

Aapo Juutinena, b, #, Ananda Tiwaric, d, #, Anna-Maria Hokajärvic, Oskari Luomalaa, Aleksi Kolehmainenc, Eveliina Nurmic, Elisa Salmivirtac, Tarja Pitkänenc,d, Anssi Lipponenc,e*

aDepartment of Health Security, Finnish Institute for Health and Welfare, Mannerheimintie 166, 00271, Helsinki, Finland

bResearch Unit of Population Health, Faculty of Medicine, University of Oulu, Finland

cDepartment of Health Security, Expert Microbiology Research Unit, Finnish Institute for Health and Welfare.

dDepartment of Food Hygiene and Environmental Health, Faculty of Veterinary Medicine, University of Helsinki, Finland.

eUniversity of Eastern Finland, Department of Medicine, Unit of Biomedicine, Kuopio, Finland.

# AJ and AT contributed equally and shared the first authorship.

*Corresponding author: Anssi Lipponen (anssi.lipponen@thl.fi)

| Supplemental table S1. Description of wastewater treatment plants in this study1. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WWTP, location | Municipalities served by the WWTP | Number of samples included (N) | Population served / total in the area (coverage) | 24h-composite sampling method | Industrial wastewater proportion % |
| Viikinmäki, Helsinki | Helsinki, Sipoo, Kerava, Tuusula, Järvenpää, Pornainen, Mäntsälä, Vantaa (half of the population) | 39 | 860 000 / 946 321 (0.91) | Flow and time | 7 |
| Suomenoja, Espoo | Espoo, Vantaa (half of the population), Kirkkonummi, Kauniainen, Siuntio | 38 | 390 000 / 465 142 (0.84) | Flow | 5 |
| Kakolanmäki, Turku | Turku, Naantali, Masku, Raisio, Kaarina, Paimio, Mynämäki, Nousiainen, Rusko, Lieto, Aura, Pöytyä, Oripää, Marttila | 38 | 300 000 /346 367 (0.87) | Flow | 15 |
| Taskila, Oulu | Oulu, Muhos, Utajärvi, Ii | 35 | 200 000 / 227 297 (0.88) | Time | NA |
| Viinikanlahti, Tampere | Tampere, Kangasala, Pirkkala, Lempäälä | 40 | 200 000 /314 171 (0.64) | Flow | NA |
| Nenäinniemi, Jyväskylä | Jyväskylä, Laukaa, Muurame, Uurainen | 39 | 154 600 /175 415 (0.88) | Flow | 10 |
| Kuhasalo, Joensuu | Joensuu, Kontiolahti, Liperi, Polvijärvi | 33 | 98 000 /108 120 (0.91) | Flow | 20 |
| Lehtoniemi, Kuopio | Kuopio | 32 | 90 697 /119 533 (0.76) | Flow and time | NA |
| Pått, Vaasa | Vaasa, Mustasaari, Maalahti | 33 | 69 500 /92 576 (0.75) | Flow | NA |
| Total |  | 327 |  |  |  |

| Supplemental table S2. Nucleic acid sequences of the primers and probes used in the study to detect SARS-CoV-2 and Mengovirus. |  |  |  |
| --- | --- | --- | --- |
| Target virus | Oligonucleotide | Sequence and label (5' → 3') | Reference |
| SARS-CoV-2 | 2019-nCoV_N2-F | TTACAAACATTGGCCGCAAA | Lu et al. 20202 |
|  | 2019-nCoV_N2-R | GCGCGACATTCCGAAGAA | Lu et al. 20202 |
|  | 2019-nCoV_N2- P | FAM-ACAATTTGCCCCCAGCGCTTCAG-BHQ1 | Lu et al. 20202 |
| Mengovirus | Mengo 110 | GCG GGT CCT GCC GAA AGT | Pintó et al. 20093 |
|  | Mengo 209 | GAA GTA ACA TAT AGA CAG ACG CAC AC | Pintó et al. 20093 |
|  | Mengo 147 | FAM-ATC ACA TTA CTG GCC GAA GC-MGB | Pintó et al. 20093 |

FAM: 6-carboxyfluorescein; BHQ1: Black Hole Quencher 1; MGB: Minor Groove Binder.For SARS-CoV-2 and Mengovrus primers were purchased from IDT with standard purification.  SARS-CoV-2 probe were purchased from IDT and for Mengovirus from Applied Biosystems with HPLC purification.

Supplemental Table S3. Details of RT-qPCR reactions and the cycling conditions used in the study.

| Target | Reaction volume | RT-qPCR reaction mix | Thermal cycling conditions | Reference |
| --- | --- | --- | --- | --- |
| SARS-CoV-2 | 25 μl | RNA sample: 5 μl Primers: 0.2 μM Probe: 0.2 μM TaqMan Fast Virus 1-step Master Mix: 6.25 ul | 50°C for 5 min for reverse transcription, followed by 95°C for 20 s, and then 45 cycles of 95°C for 15 s and 58°C for 1 min | Lu et al. 20202, Medema et al. 20204 |
| Mengo-virus | 25 μl | RNA sample: 5 μl Primers: 0.8 μM Probe: 0.2 μM TaqMan Fast Virus 1-step Master Mix: 6.25 ul | 50°C for 5 min for reverse transcription, followed by 95°C for 20 s, and then 45 cycles of 95°C for 15 s and 60°C for 1 min. | Pintó et al. 20093, ISO/TS 15216-1:20175 |

| Supplemental table S4. Comparison of the slopes between the standards. ANOVA indicated differences between IDT vs. CODEX and IDT vs. EURM019 (p<0.001). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Df | Sum.Sq | Mean.sq | F value | P-value |  |
| IDT vs. CODEX | Between groups | 1 | 2.2 | 2.2 | 136.9 | < 0.001 |  |
|  | Within groups | 46 | 0.7 | 0.02 |  |  |  |
| IDT vs. EURM019 | Between groups | 1 | 1.2 | 1.2 | 29.1 | < 0.001 |  |
|  | Within groups | 54 | 2.2 | 0.04 |  |  |  |

| Supplemental table S5. Comparison of the efficiencies between the standards. ANOVA indicated differences between IDT vs. CODEX and IDT vs. EURM019 (p<0.001). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Df | Sum.Sq | Mean.sq | F value | P-value |
| IDT vs. CODEX | Between groups | 1 | 4829 | 4829 | 122.8 | < 0.001 |
|  | Within groups | 46 | 1809 | 39 |  |  |
| IDT vs. EURM019 | Between groups | 1 | 2977 | 2977.2 | 28.58 | < 0.001 |
|  | Within groups | 54 | 5625 | 104.2 |  |  |

Supplemental figure S1. Time series of number of virus RNA-copies with IDT and CODEX standards by municipality. IDT samples in green, CODEX in blue.

Supplemental figure S2. Time series of number of virus RNA-copies with IDT and EURM019 standards by municipality. IDT samples in green, EURM019 in orange.

MIQE checklist

| ITEM TO CHECK | IMPORTANCE | CHECKLIST |
| --- | --- | --- |
| EXPERIMENTAL DESIGN |  |  |
| Definition of experimental and control groups | E | Provided in materials and methods. |
| Number within each group | E | Provided in materials and methods. |
| Assay carried out by core lab or investigator's lab? | D | In laboratory of Finnish Institute for Health and Welfare laboratory, Kuopio, Finland. |
| Acknowledgement of authors' contributions | D | See authors' contributions in main text. |
| SAMPLE |  |  |
| Description | E | Total RNA extracted from wastewater. |
| Volume/mass of sample processed | D | See materials and methods section 2.3 for details. |
| Microdissection or macrodissection | E | Not relevant to this study |
| Processing procedure | E | See materials and methods section 2.3 for details. |
| If frozen - how and how quickly? | E | Not relevant to this study |
| If fixed - with what, how quickly? | E | Not relevant to this study |
| Sample storage conditions and duration (especially for FFPE samples) | E | Fresh wastewater samples were used. Standard by description in Materials and Methods |
| NUCLEIC ACID EXTRACTION |  |  |
| Procedure and/or instrumentation | E | See materials and methods section 2.3 |
| Name of kit and details of any modifications | E | See materials and methods section 2.3 |
| Source of additional reagents used | D | Not relevant to this study |
| Details of DNase or RNAse treatment | E | Not relevant to this study |
| Contamination assessment (DNA or RNA) | E | Not relevant to this study |
| Nucleic acid quantification | E | Not relevant to this study |
| Instrument and method | E | Not relevant to this study |
| Purity (A260/A280) | D | Not relevant to this study |
| Yield | D | Not relevant to this study |
| RNA integrity method/instrument | E | Not relevant to this study |
| RIN/RQI or Cq of 3' and 5' transcripts | E | Not relevant to this study |
| Electrophoresis traces | D | Not relevant to this study |
| Inhibition testing (Cq dilutions, spike or other) | E | See materials and methods section 2.4 |
| REVERSE TRANSCRIPTION |  |  |
| Complete reaction conditions | E | One step RT-qPCR mastermix were used. See materials and methods section 2.4 |
| Amount of RNA and reaction volume | E | 5µl of template nucleic acid in 25µl reaction |
| Priming oligonucleotide (if using GSP) and concentration | E | One step master mix used and so unknown |
| Reverse transcriptase and concentration | E | One step master mix used and so unknown |
| Temperature and time | E | 50C 5 min. See suppplementary Table S3. |
| Manufacturer of reagents and catalogue numbers | D | Applied Biosystems, ThermoFisher Scientific, #4444436, |
| Cqs with and without RT | D* | Not applicable for this study |
| Storage conditions of cDNA | D | Not applicable for this study |
| qPCR TARGET INFORMATION |  |  |
| If multiplex, efficiency and LOD of each assay. | E | Not applicable for this study |
| Sequence accession number | E | N2 gene of SARS-CoV-2 by 2019-nCoV_N2-F and 2019-nCoV_N2-R primers (Lu et al. 2020). |
| Location of amplicon | D | N2 gene |
| Amplicon length | E | 67 bp (Lu et al. 2020) |
| In silico specificity screen (BLAST, etc) | E | See (Lu et al. 2020) |
| Pseudogenes, retropseudogenes or other homologs? | D | See (Lu et al. 2020) |
| Sequence alignment | D | See (Lu et al. 2020) |
| Secondary structure analysis of amplicon | D | See (Lu et al. 2020) |
| Location of each primer by exon or intron (if applicable) | E | See (Lu et al. 2020) |
| What splice variants are targeted? | E | See (Lu et al. 2020) |
| qPCR OLIGONUCLEOTIDES |  |  |
| Primer sequences | E | Supplemental Table S2 |
| RTPrimerDB Identification Number | D | Not applicable for this study |
| Probe sequences | D** | Supplemental Table S2 |
| Location and identity of any modifications | E | No modifications were done |
| Manufacturer of oligonucleotides | D | IDT |
| Purification method | D | N2 Primers with standard purifiaction and probes with HPLC. |
| qPCR PROTOCOL |  |  |
| Complete reaction conditions | E | See materials and methods section 2.4 |
| Reaction volume and amount of cDNA/DNA | E | By one step mastermix (Applied Biosystems, ThermoFisher Scientific, #4444436), see supplemental Table S3. |
| Primer, (probe), Mg++ and dNTP concentrations | E | By one step mastermix (Applied Biosystems, ThermoFisher Scientific, #4444436) |
| Polymerase identity and concentration | E | By one step mastermix (Applied Biosystems, ThermoFisher Scientific, #4444436) |
| Buffer/kit identity and manufacturer | E | By one step mastermix (Applied Biosystems, ThermoFisher Scientific, #4444436) |
| Exact chemical constitution of the buffer | D | By one step mastermix (Applied Biosystems, ThermoFisher Scientific, #4444436) |
| Additives (SYBR Green I, DMSO, etc.) | E | Not used. |
| Manufacturer of plates/tubes and catalog number | D |  |
| Complete thermocycling parameters | E | Supplemental Table S3 |
| Reaction setup (manual/robotic) | D | Manual pipeting. |
| Manufacturer of qPCR instrument | E | QuantStudio 6 Flex real-time PCR system (Applied Biosystems, ThermoFisher Scientific) |
| qPCR VALIDATION |  |  |
| Evidence of optimisation (from gradients) | D |  |
| Specificity (gel, sequence, melt, or digest) | E | Supplemental table S2 and (Lu et al. 2020) |
| For SYBR Green I, Cq of the NTC | E | Not relevant to this study |
| Standard curves with slope and y-intercept | E | See results 3.1, Table 2 |
| PCR efficiency calculated from slope | E | See results 3.1, Table 2 |
| Confidence interval for PCR efficiency or standard error | D | See results 3.1, Table 2 |
| r2 of standard curve | E | See results 3.1, Table 2 |
| Linear dynamic range | E | See results 3.1 |
| Cq variation at lower limit | E | See results 3.1 |
| Confidence intervals throughout range | D |  |
| Evidence for limit of detection | E | See results 3.1 |
| If multiplex, efficiency and LOD of each assay. | E | Not applicable for this study |
| DATA ANALYSIS |  |  |
| qPCR analysis program (source, version) | E | QuantStudio Real-Time PCR Software v1.7.2 |
| Cq method determination | E | Threshold |
| Outlier identification and disposition | E | QuantStudion QC tools that uses calculated confidence in between replicates. If over 2 standarpoint outliers in standard curve, experiment was repeated. |
| Results of NTCs | E | NTCs did not exceeded threshold. |
| Justification of number and choice of reference genes | E | Not relevant to this study |
| Description of normalisation method | E | Not applicable for this study |
| Number and concordance of biological replicates | D |  |
| Number and stage (RT or qPCR) of technical replicates | E | 2 techincal relpicates in RT-qPCR for wastewater samples and each standard points. |
| Repeatability (intra-assay variation) | E | See results 3.1, Table 2 |
| Reproducibility (inter-assay variation, %CV) | D | Not applicable for this study |
| Power analysis | D | Not applicable for this study |
| Statistical methods for result significance | E | See materials and methods |
| Software (source, version) | E | QuantStudio 6 Flex real-time PCR system (Applied Biosystems, ThermoFisher Scientific) |
| Cq or raw data submission using RDML | D | Data availabe according to data availabilty statement. |

References

1.	Tiwari, A. et al. Detection and quantification of SARS-CoV-2 RNA in wastewater influent in relation to reported COVID-19 incidence in Finland. Water Res. 215, 118220 (2022).

2.	Lu, X. et al. US CDC Real-Time Reverse Transcription PCR Panel for Detection of Severe Acute Respiratory Syndrome Coronavirus 2. Emerg. Infect. Dis. 26, 1654–1665 (2020).

3.	Pintó, R. M., Costafreda, M. I. & Bosch, A. Risk Assessment in Shellfish-Borne Outbreaks of Hepatitis A. Appl. Environ. Microbiol. 75, 7350–7355 (2009).

4.	Medema, G., Heijnen, L., Elsinga, G., Italiaander, R. & Brouwer, A. Presence of SARS-Coronavirus-2 RNA in Sewage and Correlation with Reported COVID-19 Prevalence in the Early Stage of the Epidemic in The Netherlands. Environ. Sci. Technol. Lett. 7, 511–516 (2020).

5.	ISO 15216-1:2017. Microbiology of the food chain, Horizontal method for determination of hepatitis A virus and norovirus using real-time RT-PCR, Part 1: Method for quantification. (2017).