
	Compound Type 
	Compound Name
	MRM Transition(s)
	Dwell Time (ms)*
	Declustering Potential DP(V)
	Entrance Potential EP(V)
	Collision Energy CE(V)
	Collision Cell Exit Potential CXP(V)
	Approximate Retention Time (min)

	Analyte
	[bookmark: OLE_LINK6][bookmark: OLE_LINK8]resveratrol（BLLC）
	227.1/185
	150
	--98
	-10
	-25
	-16
	4.4

	Internal Standard 
	BLLC-IS
	231.1/189
	150
	-100
	-10
	-30
	-16
	4.4

	Analyte
	resveratrol-3-O-β-D-glucuronide（R3G）
	403.1/227.0
	150
	-100
	-14
	-35
	-16
	2.8

	Internal Standard 
	R3G-IS
	409.1/233.0
	150
	-100
	-14
	-35
	-16
	2.8

	Analyte
	resveratrol-4-O-β-D-glucuronide（R4G）
	403.1/227.0
	150
	-100
	-14
	-35
	-16
	2.3

	Internal Standard 
	R4G-IS
	407.1/231.0
	150
	-100
	-14
	-35
	-16
	2.3

	Analyte
	resveratrol-3-O-D-sulfate（R3S）
	306.9/227.0
	150
	-60
	-12
	-45
	-16
	3.4

	*Note: Dwell time refers to the amount of time the instrument spends monitoring each MRM transition during a scan cycle. 
	


MS parameters
