| Compound Type | Compound Name | MRM Transition(s) | Dwell Time (ms)* | Declustering Potential DP(V) | Entrance Potential EP(V) | Collision Energy CE(V) | Collision Cell Exit Potential CXP(V) | Approximate Retention Time (min) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | resveratrol（BLLC） | 227.1/185 | 150 | --98 | -10 | -25 | -16 | 4.4 |
| Internal Standard | BLLC-IS | 231.1/189 | 150 | -100 | -10 | -30 | -16 | 4.4 |
| Analyte | resveratrol-3-O-β-D-glucuronide（R3G） | 403.1/227.0 | 150 | -100 | -14 | -35 | -16 | 2.8 |
| Internal Standard | R3G-IS | 409.1/233.0 | 150 | -100 | -14 | -35 | -16 | 2.8 |
| Analyte | resveratrol-4-O-β-D-glucuronide（R4G） | 403.1/227.0 | 150 | -100 | -14 | -35 | -16 | 2.3 |
| Internal Standard | R4G-IS | 407.1/231.0 | 150 | -100 | -14 | -35 | -16 | 2.3 |
| Analyte | resveratrol-3-O-D-sulfate（R3S） | 306.9/227.0 | 150 | -60 | -12 | -45 | -16 | 3.4 |
| *Note: Dwell time refers to the amount of time the instrument spends monitoring each MRM transition during a scan cycle. |  |  |  |  |  |  |  |  |

MS parameters