ISR Data
ISR Results for Resveratrol-3-O-β-glucuronide (R3G)

| ISR=97.22% |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample ID | Original Value (ng/mL) | ISR Value (ng/mL) | Mean (ng/mL) | Difference (%) |
| PK319-K01-P1-09-T | 205.5 | 217.0 | 211.3 | 5.44 |
| PK319-K01-P1-16-T | 804.0 | 821.0 | 812.5 | 2.09 |
| PK319-K01-P1-21-T | 245.2 | 282.3 | 263.75 | 14.07 |
| PK319-K01-P2-08-T | 7388 | 8228 | 7808 | 10.76 |
| PK319-K01-P2-16-T | 963.3 | 967.2 | 965.25 | 0.40 |
| PK319-K01-P2-21-T | 147.1 | 146.6 | 146.9 | -0.34 |
| PK319-K02-P1-09-T | 310.1 | 331.5 | 320.8 | 6.67 |
| PK319-K02-P1-16-T | 321.4 | 341.2 | 331.3 | 5.98 |
| PK319-K02-P1-21-T | 198.3 | 200.7 | 199.5 | 1.20 |
| PK319-K02-P2-08-T | 2574 | 2833 | 2704 | 9.58 |
| PK319-K02-P2-16-T | 851.7 | 930.7 | 891.2 | 8.86 |
| PK319-K02-P2-21-T | 159.4 | 169.6 | 164.5 | 6.20 |
| PK319-K03-P1-09-T | 1339 | 1438 | 1389 | 7.13 |
| PK319-K03-P1-16-T | 762.3 | 908.6 | 835.5 | 17.51 |
| PK319-K03-P1-21-T | 35.97 | 44.15 | 40.06 | 20.42 |
| PK319-K03-P2-08-T | 260.5 | 240.1 | 250.3 | -8.15 |
| PK319-K03-P2-16-T | 584.4 | 621.6 | 603.0 | 6.17 |
| PK319-K03-P2-21-T | 163.7 | 164.5 | 164.1 | 0.49 |
| PK319-K04-P1-09-T | 16660 | 16430 | 16545 | -1.39 |
| PK319-K04-P1-16-T | 1010 | 1096 | 1053 | 8.17 |
| PK319-K04-P1-21-T | 116.9 | 127.3 | 122.1 | 8.52 |
| PK319-K04-P2-08-T | 151.8 | 168.4 | 160.1 | 10.37 |
| PK319-K04-P2-16-T | 114.8 | 128.9 | 121.9 | 11.57 |
| PK319-K04-P2-21-T | 269.3 | 308.4 | 288.9 | 13.54 |
| PK319-K05-P1-09-T | 13850 | 15230 | 14540 | 9.49 |
| PK319-K05-P1-16-T | 806.8 | 831.8 | 819.3 | 3.05 |
| PK319-K05-P1-21-T | 165.1 | 168.2 | 166.7 | 1.86 |
| PK319-K05-P2-08-T | 87.54 | 94.20 | 90.87 | 7.33 |
| PK319-K05-P2-16-T | 519.1 | 632.3 | 575.7 | 19.66 |
| PK319-K05-P2-21-T | 139.8 | 139.5 | 139.7 | -0.21 |
| PK319-K06-P1-09-T | 396.6 | 445.9 | 421.3 | 11.70 |
| PK319-K06-P1-16-T | 1228 | 1399 | 1314 | 13.02 |
| PK319-K06-P1-21-T | 223.0 | 235.1 | 229.1 | 5.28 |
| PK319-K06-P2-08-T | 6484 | 6703 | 6594 | 3.32 |
| PK319-K06-P2-16-T | 664.3 | 652.5 | 658.4 | -1.79 |
| PK319-K06-P2-21-T | 184.7 | 248.6 | 216.7 | 29.49 |
| PK319-K07-P1-09-T | 12010 | 13040 | 12525 | 8.22 |
| PK319-K07-P1-16-T | 815.9 | 821.0 | 818.5 | 0.62 |
| PK319-K07-P1-21-T | 174.6 | 173.9 | 174.3 | -0.40 |
| PK319-K07-P2-08-T | 505.1 | 542.0 | 523.6 | 7.05 |
| PK319-K07-P2-16-T | 462.1 | 491.3 | 476.7 | 6.13 |
| PK319-K07-P2-21-T | 200.2 | 210.2 | 205.2 | 4.87 |
| PK319-K08-P1-09-T | 308.2 | 300.4 | 304.3 | -2.56 |
| PK319-K08-P1-16-T | 1108 | 1130 | 1119 | 1.97 |
| PK319-K08-P1-21-T | 201.3 | 205.2 | 203.3 | 1.92 |
| PK319-K08-P2-08-T | 7502 | 7242 | 7372 | -3.53 |
| PK319-K08-P2-16-T | 1398 | 1362 | 1380 | -2.61 |
| PK319-K08-P2-21-T | 155.1 | 151.2 | 153.2 | -2.55 |
| PK319-K09-P1-09-T | 15510 | 16440 | 15975 | 5.82 |
| PK319-K09-P1-16-T | 1189 | 1177 | 1183 | -1.01 |
| PK319-K09-P1-21-T | 297.8 | 321.6 | 309.7 | 7.68 |
| PK319-K09-P2-08-T | 347.0 | 347.6 | 347.3 | 0.17 |
| PK319-K09-P2-16-T | 447.9 | 426.8 | 437.4 | -4.82 |
| PK319-K09-P2-21-T | 156.4 | 143.9 | 150.2 | -8.33 |
| PK319-K10-P1-09-T | 368.2 | 346.7 | 357.5 | -6.01 |
| PK319-K10-P1-16-T | 961.6 | 945.0 | 953.3 | -1.74 |
| PK319-K10-P1-21-T | 232.0 | 235.9 | 234.0 | 1.67 |
| PK319-K10-P2-08-T | 14210 | 13050 | 13630 | -8.51 |
| PK319-K10-P2-16-T | 1657 | 1611 | 1634 | -2.82 |
| PK319-K10-P2-21-T | 250.5 | 233.5 | 242.0 | -7.02 |
| PK319-K11-P1-09-T | 13290 | 13190 | 13240 | -0.76 |
| PK319-K11-P1-16-T | 829.8 | 829.8 | 829.8 | 0.00 |
| PK319-K11-P1-21-T | 357.2 | 350.8 | 354.0 | -1.81 |
| PK319-K11-P2-08-T | 316.3 | 326.7 | 321.5 | 3.23 |
| PK319-K11-P2-16-T | 220.7 | 227.6 | 224.2 | 3.08 |
| PK319-K11-P2-21-T | 191.3 | 199.1 | 195.2 | 4.00 |
| PK319-K12-P1-09-T | 444.9 | 438.3 | 441.6 | -1.49 |
| PK319-K12-P1-16-T | 300.9 | 285.1 | 293.0 | -5.39 |
| PK319-K12-P1-21-T | 202.0 | 197.8 | 199.9 | -2.10 |
| PK319-K12-P2-08-T | 9219 | 9218 | 9219 | -0.01 |
| PK319-K12-P2-16-T | 698.5 | 705.8 | 702.2 | 1.04 |
| PK319-K12-P2-21-T | 161.7 | 158.3 | 160.0 | -2.12 |

    - Note: Values marked in red, bold, italic, and underlined indicate non-compliance. A deviation within ±20% is considered acceptable for ISR. The ISR acceptance rate was 97.22%, indicating that the analytical method is reproducible.

ISR Results for Resveratrol-4-O-β-glucuronide (R4G)

| ISR=97.22% |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample ID | Original Value (ng/mL) | ISR Value (ng/mL) | Mean (ng/mL) | Difference (%) |
| PK319-K01-P1-09-T | 187.2 | 216.8 | 202.0 | 14.65 |
| PK319-K01-P1-16-T | 783.9 | 694.7 | 739.3 | -12.07 |
| PK319-K01-P1-21-T | 370.9 | 413.0 | 392.0 | 10.74 |
| PK319-K01-P2-08-T | 5792 | 6028 | 5910 | 3.99 |
| PK319-K01-P2-16-T | 749.9 | 831.0 | 790.5 | 10.26 |
| PK319-K01-P2-21-T | 163.4 | 176.8 | 170.1 | 7.88 |
| PK319-K02-P1-09-T | 200.5 | 216.7 | 208.6 | 7.77 |
| PK319-K02-P1-16-T | 240.7 | 233.4 | 237.1 | -3.08 |
| PK319-K02-P1-21-T | 428.6 | 445.9 | 437.3 | 3.96 |
| PK319-K02-P2-08-T | 2297 | 2393 | 2345 | 4.09 |
| PK319-K02-P2-16-T | 826.7 | 788.9 | 807.8 | -4.68 |
| PK319-K02-P2-21-T | 227.5 | 243.0 | 235.3 | 6.59 |
| PK319-K03-P1-09-T | 1605 | 1690 | 1648 | 5.16 |
| PK319-K03-P1-16-T | 1215 | 1296 | 1256 | 6.45 |
| PK319-K03-P1-21-T | 106.4 | 105.4 | 105.9 | -0.94 |
| PK319-K03-P2-08-T | 330.2 | 314.9 | 322.6 | -4.74 |
| PK319-K03-P2-16-T | 823.1 | 845.7 | 834.4 | 2.71 |
| PK319-K03-P2-21-T | 356.1 | 377.2 | 366.7 | 5.75 |
| PK319-K04-P1-09-T | 10710 | 11700 | 11205 | 8.84 |
| PK319-K04-P1-16-T | 1091 | 1169 | 1130 | 6.90 |
| PK319-K04-P1-21-T | 142.5 | 157.6 | 150.1 | 10.06 |
| PK319-K04-P2-08-T | 213.3 | 242.4 | 227.9 | 12.77 |
| PK319-K04-P2-16-T | 175.5 | 199.4 | 187.5 | 12.75 |
| PK319-K04-P2-21-T | 625.7 | 704.4 | 665.1 | 11.83 |
| PK319-K05-P1-09-T | 7203 | 8110 | 7657 | 11.85 |
| PK319-K05-P1-16-T | 621.1 | 657.5 | 639.3 | 5.69 |
| PK319-K05-P1-21-T | 203.0 | 217.5 | 210.3 | 6.90 |
| PK319-K05-P2-08-T | 139.8 | 157.5 | 148.7 | 11.91 |
| PK319-K05-P2-16-T | 752.2 | 848.4 | 800.3 | 12.02 |
| PK319-K05-P2-21-T | 263.5 | 293.5 | 278.5 | 10.77 |
| PK319-K06-P1-09-T | 366.2 | 385.7 | 376.0 | 5.19 |
| PK319-K06-P1-16-T | 1605 | 1702 | 1654 | 5.87 |
| PK319-K06-P1-21-T | 352.2 | 433.2 | 392.7 | 20.63 |
| PK319-K06-P2-08-T | 5552 | 5850 | 5701 | 5.23 |
| PK319-K06-P2-16-T | 841.3 | 870.1 | 855.7 | 3.37 |
| PK319-K06-P2-21-T | 279.8 | 394.5 | 337.2 | 34.02 |
| PK319-K07-P1-09-T | 8437 | 8709 | 8573 | 3.17 |
| PK319-K07-P1-16-T | 1239 | 1221 | 1230 | -1.46 |
| PK319-K07-P1-21-T | 457.9 | 471.8 | 464.9 | 2.99 |
| PK319-K07-P2-08-T | 736.1 | 737.3 | 736.7 | 0.16 |
| PK319-K07-P2-16-T | 883.5 | 870.1 | 876.8 | -1.53 |
| PK319-K07-P2-21-T | 446.9 | 440.6 | 443.8 | -1.42 |
| PK319-K08-P1-09-T | 405.7 | 436.4 | 421.1 | 7.29 |
| PK319-K08-P1-16-T | 1338 | 1379 | 1359 | 3.02 |
| PK319-K08-P1-21-T | 436.4 | 458.7 | 447.6 | 4.98 |
| PK319-K08-P2-08-T | 4246 | 4392 | 4319 | 3.38 |
| PK319-K08-P2-16-T | 1525 | 1496 | 1511 | -1.92 |
| PK319-K08-P2-21-T | 262.0 | 272.1 | 267.1 | 3.78 |
| PK319-K09-P1-09-T | 7742 | 7874 | 7808 | 1.69 |
| PK319-K09-P1-16-T | 944.1 | 954.0 | 949.1 | 1.04 |
| PK319-K09-P1-21-T | 446.1 | 472.1 | 459.1 | 5.66 |
| PK319-K09-P2-08-T | 401.9 | 405.6 | 403.8 | 0.92 |
| PK319-K09-P2-16-T | 584.5 | 508.7 | 546.6 | -13.87 |
| PK319-K09-P2-21-T | 235.8 | 212.4 | 224.1 | -10.44 |
| PK319-K10-P1-09-T | 527.4 | 494.0 | 510.7 | -6.54 |
| PK319-K10-P1-16-T | 1262 | 1166 | 1214 | -7.91 |
| PK319-K10-P1-21-T | 348.3 | 335.3 | 341.8 | -3.80 |
| PK319-K10-P2-08-T | 7545 | 7794 | 7670 | 3.25 |
| PK319-K10-P2-16-T | 1370 | 1469 | 1420 | 6.97 |
| PK319-K10-P2-21-T | 322.7 | 297.7 | 310.2 | -8.06 |
| PK319-K11-P1-09-T | 10490 | 9722 | 10106 | -7.60 |
| PK319-K11-P1-16-T | 1160 | 1134 | 1147 | -2.27 |
| PK319-K11-P1-21-T | 650.6 | 616.8 | 633.7 | -5.33 |
| PK319-K11-P2-08-T | 664.3 | 628.6 | 646.5 | -5.52 |
| PK319-K11-P2-16-T | 466.9 | 423.4 | 445.2 | -9.77 |
| PK319-K11-P2-21-T | 377.0 | 349.4 | 363.2 | -7.60 |
| PK319-K12-P1-09-T | 588.4 | 554.4 | 571.4 | -5.95 |
| PK319-K12-P1-16-T | 335.2 | 323.4 | 329.3 | -3.58 |
| PK319-K12-P1-21-T | 353.8 | 365.3 | 359.6 | 3.20 |
| PK319-K12-P2-08-T | 6533 | 6571 | 6552 | 0.58 |
| PK319-K12-P2-16-T | 796.8 | 901.0 | 848.9 | 12.27 |
| PK319-K12-P2-21-T | 277.1 | 285.7 | 281.4 | 3.06 |

    - Note: Values marked in red, bold, italic, and underlined indicate non-compliance. A deviation within ±20% is considered acceptable for ISR. The ISR acceptance rate was 97.22%, indicating that the analytical method is reproducible.

ISR Results for resveratrol-3-sulfate

| ISR=95.83% |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample ID | Original Value (ng/mL) | ISR Value (ng/mL) | Mean (ng/mL) | Difference (%) |
| PK319-K01-P1-09-T | 268.5 | 255.8 | 262.2 | -4.84 |
| PK319-K01-P1-16-T | 1199 | 1163 | 1181 | -3.05 |
| PK319-K01-P1-21-T | 559.4 | 541.5 | 550.5 | -3.25 |
| PK319-K01-P2-08-T | 11580 | 12740 | 12160 | 9.54 |
| PK319-K01-P2-16-T | 808.2 | 827.1 | 817.7 | 2.31 |
| PK319-K01-P2-21-T | 254.4 | 251.4 | 252.9 | -1.19 |
| PK319-K02-P1-09-T | 947.6 | 870.6 | 909.1 | -8.47 |
| PK319-K02-P1-16-T | 665.8 | 652.5 | 659.2 | -2.02 |
| PK319-K02-P1-21-T | 828.4 | 710.7 | 769.6 | -15.29 |
| PK319-K02-P2-08-T | 10310 | 10230 | 10270 | -0.78 |
| PK319-K02-P2-16-T | 1551 | 1571 | 1561 | 1.28 |
| PK319-K02-P2-21-T | 659.6 | 590.9 | 625.3 | -10.99 |
| PK319-K03-P1-09-T | 4617 | 4847 | 4732 | 4.86 |
| PK319-K03-P1-16-T | 1529 | 1554 | 1542 | 1.62 |
| PK319-K03-P1-21-T | 157.3 | 140.5 | 148.9 | -11.28 |
| PK319-K03-P2-08-T | 743.8 | 702.2 | 723.0 | -5.75 |
| PK319-K03-P2-16-T | 1661 | 1734 | 1698 | 4.30 |
| PK319-K03-P2-21-T | 608.7 | 571.7 | 590.2 | -6.27 |
| PK319-K04-P1-09-T | 13650 | 14540 | 14095 | 6.31 |
| PK319-K04-P1-16-T | 1280 | 1251 | 1266 | -2.29 |
| PK319-K04-P1-21-T | 309.9 | 301.0 | 305.5 | -2.91 |
| PK319-K04-P2-08-T | 401.2 | 372.9 | 387.1 | -7.31 |
| PK319-K04-P2-16-T | 303.1 | 275.1 | 289.1 | -9.69 |
| PK319-K04-P2-21-T | 948.6 | 887.4 | 918.0 | -6.67 |
| PK319-K05-P1-09-T | 18510 | 24240 | 21375 | 26.81 |
| PK319-K05-P1-16-T | 1273 | 1261 | 1267 | -0.95 |
| PK319-K05-P1-21-T | 421.8 | 396.6 | 409.2 | -6.16 |
| PK319-K05-P2-08-T | 346.2 | 382.7 | 364.5 | 10.02 |
| PK319-K05-P2-16-T | 1857 | 1989 | 1923 | 6.86 |
| PK319-K05-P2-21-T | 551.1 | 503.5 | 527.3 | -9.03 |
| PK319-K06-P1-09-T | 554.6 | 573.1 | 563.9 | 3.28 |
| PK319-K06-P1-16-T | 1697 | 1660 | 1679 | -2.20 |
| PK319-K06-P1-21-T | 859.6 | 854.4 | 857.0 | -0.61 |
| PK319-K06-P2-08-T | 10760 | 12460 | 11610 | 14.64 |
| PK319-K06-P2-16-T | 672.3 | 672.3 | 672.3 | 0.00 |
| PK319-K06-P2-21-T | 338.2 | 414.8 | 376.5 | 20.35 |
| PK319-K07-P1-09-T | 16360 | 20580 | 18470 | 22.85 |
| PK319-K07-P1-16-T | 1194 | 1132 | 1163 | -5.33 |
| PK319-K07-P1-21-T | 681.2 | 582.8 | 632.0 | -15.57 |
| PK319-K07-P2-08-T | 2266 | 2261 | 2264 | -0.22 |
| PK319-K07-P2-16-T | 1026 | 1001 | 1014 | -2.47 |
| PK319-K07-P2-21-T | 439.8 | 432.3 | 436.1 | -1.72 |
| PK319-K08-P1-09-T | 819.9 | 756.3 | 788.1 | -8.07 |
| PK319-K08-P1-16-T | 2305 | 2466 | 2386 | 6.75 |
| PK319-K08-P1-21-T | 976.0 | 925.9 | 951.0 | -5.27 |
| PK319-K08-P2-08-T | 12390 | 13460 | 12925 | 8.28 |
| PK319-K08-P2-16-T | 2249 | 2120 | 2185 | -5.91 |
| PK319-K08-P2-21-T | 450.6 | 393.0 | 421.8 | -13.66 |
| PK319-K09-P1-09-T | 15430 | 16470 | 15950 | 6.52 |
| PK319-K09-P1-16-T | 1502 | 1448 | 1475 | -3.66 |
| PK319-K09-P1-21-T | 571.8 | 555.4 | 563.6 | -2.91 |
| PK319-K09-P2-08-T | 1190 | 1153 | 1172 | -3.16 |
| PK319-K09-P2-16-T | 2000 | 1846 | 1923 | -8.01 |
| PK319-K09-P2-21-T | 704.5 | 592.8 | 648.7 | -17.22 |
| PK319-K10-P1-09-T | 1201 | 1090 | 1146 | -9.69 |
| PK319-K10-P1-16-T | 2674 | 2409 | 2542 | -10.43 |
| PK319-K10-P1-21-T | 579.9 | 557.7 | 568.8 | -3.90 |
| PK319-K10-P2-08-T | 18500 | 21470 | 19985 | 14.86 |
| PK319-K10-P2-16-T | 2230 | 2036 | 2133 | -9.10 |
| PK319-K10-P2-21-T | 487.1 | 477.1 | 482.1 | -2.07 |
| PK319-K11-P1-09-T | 18720 | 20310 | 19515 | 8.15 |
| PK319-K11-P1-16-T | 2053 | 1793 | 1923 | -13.52 |
| PK319-K11-P1-21-T | 1090 | 1043 | 1067 | -4.41 |
| PK319-K11-P2-08-T | 1469 | 1419 | 1444 | -3.46 |
| PK319-K11-P2-16-T | 1042 | 1052 | 1047 | 0.96 |
| PK319-K11-P2-21-T | 773.9 | 706.4 | 740.2 | -9.12 |
| PK319-K12-P1-09-T | 1988 | 2144 | 2066 | 7.55 |
| PK319-K12-P1-16-T | 1123 | 1038 | 1081 | -7.87 |
| PK319-K12-P1-21-T | 697.2 | 687.6 | 692.4 | -1.39 |
| PK319-K12-P2-08-T | 16400 | 17640 | 17020 | 7.29 |
| PK319-K12-P2-16-T | 1410 | 1392.0 | 1401 | -1.28 |
| PK319-K12-P2-21-T | 492.7 | 436.4 | 464.6 | -12.12 |

    - Note: Values marked in red, bold, italic, and underlined indicate non-compliance. A deviation within ±20% is considered acceptable for ISR. The ISR acceptance rate was 95.83%, indicating that the analytical method is reproducible.

ISR Results for resveratrol

| ISR=84.72% |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample ID | Original Value (ng/mL) | ISR Value (ng/mL) | Mean (ng/mL) | Difference (%) |
| PK319-K01-P1-09-T | 1.185 | 2.227 | 1.706 | 61.08 |
| PK319-K01-P1-16-T | 7.694 | 8.608 | 8.151 | 11.21 |
| PK319-K01-P1-21-T | 4.292 | 5.021 | 4.657 | 15.66 |
| PK319-K01-P2-08-T | 1001 | 977.3 | 989.2 | -2.40 |
| PK319-K01-P2-16-T | 0 | 0 | 0 | 0 |
| PK319-K01-P2-21-T | 0 | 0 | 0 | 0 |
| PK319-K02-P1-09-T | 4.377 | 4.567 | 4.472 | 4.25 |
| PK319-K02-P1-16-T | 0 | 0 | 0 | 0 |
| PK319-K02-P1-21-T | 3.823 | 4.389 | 4.106 | 13.78 |
| PK319-K02-P2-08-T | 560.2 | 548.3 | 554.3 | -2.15 |
| PK319-K02-P2-16-T | 0 | 0 | 0 | 0 |
| PK319-K02-P2-21-T | 5.470 | 4.013 | 4.742 | -30.73 |
| PK319-K03-P1-09-T | 58.74 | 58.66 | 58.70 | -0.14 |
| PK319-K03-P1-16-T | 0 | 0 | 0 | 0 |
| PK319-K03-P1-21-T | 0 | 0 | 0 | 0 |
| PK319-K03-P2-08-T | 9.490 | 8.854 | 9.172 | -6.93 |
| PK319-K03-P2-16-T | 23.78 | 23.73 | 23.76 | -0.21 |
| PK319-K03-P2-21-T | 1.739 | 2.537 | 2.138 | 37.32 |
| PK319-K04-P1-09-T | 1059 | 1096 | 1078 | 3.43 |
| PK319-K04-P1-16-T | 1.119 | 2.399 | 1.759 | 72.77 |
| PK319-K04-P1-21-T | 0 | 0 | 0 | 0 |
| PK319-K04-P2-08-T | 5.960 | 6.633 | 6.297 | 10.69 |
| PK319-K04-P2-16-T | 3.664 | 3.917 | 3.791 | 6.67 |
| PK319-K04-P2-21-T | 5.203 | 5.635 | 5.419 | 7.97 |
| PK319-K05-P1-09-T | 625.9 | 612.9 | 619.4 | -2.10 |
| PK319-K05-P1-16-T | 0 | 0 | 0 | 0 |
| PK319-K05-P1-21-T | 0 | 0 | 0 | 0 |
| PK319-K05-P2-08-T | 0 | 0 | 0 | 0 |
| PK319-K05-P2-16-T | 15.02 | 17.68 | 16.35 | 16.27 |
| PK319-K05-P2-21-T | 4.162 | 4.280 | 4.221 | 2.80 |
| PK319-K06-P1-09-T | 4.021 | 3.112 | 3.567 | -25.49 |
| PK319-K06-P1-16-T | 15.41 | 16.22 | 15.82 | 5.12 |
| PK319-K06-P1-21-T | 9.098 | 9.173 | 9.136 | 0.82 |
| PK319-K06-P2-08-T | 895.5 | 853.0 | 874.3 | -4.86 |
| PK319-K06-P2-16-T | 0 | 0 | 0 | 0 |
| PK319-K06-P2-21-T | 2.236 | 2.842 | 2.539 | 23.87 |
| PK319-K07-P1-09-T | 622.0 | 614.2 | 618.1 | -1.26 |
| PK319-K07-P1-16-T | 3.334 | 2.896 | 3.115 | -14.06 |
| PK319-K07-P1-21-T | 6.524 | 5.825 | 6.175 | -11.32 |
| PK319-K07-P2-08-T | 42.61 | 43.14 | 42.88 | 1.24 |
| PK319-K07-P2-16-T | 7.935 | 7.248 | 7.592 | -9.05 |
| PK319-K07-P2-21-T | 3.939 | 4.327 | 4.133 | 9.39 |
| PK319-K08-P1-09-T | 6.367 | 4.984 | 5.676 | -24.37 |
| PK319-K08-P1-16-T | 11.47 | 11.01 | 11.24 | -4.09 |
| PK319-K08-P1-21-T | 5.702 | 6.061 | 5.882 | 6.10 |
| PK319-K08-P2-08-T | 1193 | 1081 | 1137 | -9.85 |
| PK319-K08-P2-16-T | 2.313 | 2.982 | 2.648 | 25.27 |
| PK319-K08-P2-21-T | 0 | 0 | 0 | 0 |
| PK319-K09-P1-09-T | 202.8 | 189.5 | 196.2 | -6.78 |
| PK319-K09-P1-16-T | 0 | 0 | 0 | 0 |
| PK319-K09-P1-21-T | 0 | 0 | 0 | 0 |
| PK319-K09-P2-08-T | 37.47 | 35.86 | 36.67 | -4.39 |
| PK319-K09-P2-16-T | 11.54 | 12.05 | 11.80 | 4.32 |
| PK319-K09-P2-21-T | 3.920 | 2.999 | 3.460 | -26.62 |
| PK319-K10-P1-09-T | 7.026 | 7.962 | 7.494 | 12.49 |
| PK319-K10-P1-16-T | 54.37 | 49.45 | 51.91 | -9.48 |
| PK319-K10-P1-21-T | 5.479 | 4.877 | 5.178 | -11.63 |
| PK319-K10-P2-08-T | 1420 | 1344 | 1382 | -5.50 |
| PK319-K10-P2-16-T | 1.497 | 2.035 | 1.766 | 30.46 |
| PK319-K10-P2-21-T | 0 | 0 | 0 | 0 |
| PK319-K11-P1-09-T | 791.2 | 742.1 | 766.7 | -6.40 |
| PK319-K11-P1-16-T | 3.360 | 4.210 | 3.785 | 22.46 |
| PK319-K11-P1-21-T | 4.616 | 4.340 | 4.478 | -6.16 |
| PK319-K11-P2-08-T | 19.60 | 19.05 | 19.33 | -2.85 |
| PK319-K11-P2-16-T | 6.065 | 6.566 | 6.316 | 7.93 |
| PK319-K11-P2-21-T | 3.371 | 3.603 | 3.487 | 6.65 |
| PK319-K12-P1-09-T | 15.13 | 13.42 | 14.28 | -11.98 |
| PK319-K12-P1-16-T | 4.929 | 4.647 | 4.788 | -5.89 |
| PK319-K12-P1-21-T | 3.363 | 3.845 | 3.604 | 13.37 |
| PK319-K12-P2-08-T | 1274 | 1147 | 1211 | -10.49 |
| PK319-K12-P2-16-T | 1.835 | 2.170 | 2.003 | 16.73 |
| PK319-K12-P2-21-T | 0 | 0 | 0 | 0 |

    - Note: Values marked in red, bold, italic, and underlined indicate non-compliance. A deviation within ±20% is considered acceptable for ISR. The ISR acceptance rate was 84.72%, indicating that the analytical method is reproducible.