	Total samples tested (n=28)
	Exon 5 (HEX) Ct value
	Exon 7 (ROX) Ct value
	Exon 10 (FAM) Ct value

	
	
	
	
	

	 
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	

	Mother RhD-
Fetus RhD+
(n=18)
	36/36
	33.47
	1.42
	30.07
	36.31
	36/36
	31.96
	1.35
	28.6
	34.18
	36/36
	32.56
	1.39
	29.06
	35.05
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	 
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	

	Mother RhD-
Fetus RhD-
(n=10)
	 3/20
	36.30
	1.00
	35.59
	37
	 4/20
	36.02
	0.97
	34.98
	37.11
	 2/20
	35.13
	1.63
	33.28
	36.37
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


RhD-  = RhD-negative; RhD+ = RhD-positive; Avg = Average; Stdev = Standard Deviation; Ct = Cycle Threshold; Min = Minimum; Max = Maximum 
Ct values for samples when both maternal and fetal samples are negative (bottom row) are only for the positive replicates
Table S1: Ct values of Eonis RhD qPCR kit using 20µL cfDNA sample volume


	Total samples tested (n=28)
	Exon 5 (HEX) Ct value
	Exon 7 (ROX) Ct value
	Exon 10 (FAM) Ct value

	
	
	
	
	

	 
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	

	Mother RhD-
Fetus RhD+
(n=18)
	36/36

	34.71

	1.35

	31.12

	36.46

	36/36

	33.25

	1.28

	30.01

	35.28

	36/36

	33.41

	1.21

	30.14

	34.83

	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	 
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	Positive replicates
	Avg
	Stdev
	Ct Min
	Ct Max
	

	Mother RhD-
Fetus RhD-
(n=10)
	 6/20
	37.48
	1.28
	36.22
	38.78
	 3/20
	35.73
	0.63
	35.28
	36.17
	 2/20
	35.50
	1.29
	34.2
	37.68
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


RhD-  = RhD-negative; RhD+ = RhD-positive; Avg = Average; Stdev = Standard Deviation; Ct = Cycle Threshold; Min = Minimum; Max = Maximum 
Ct values for samples when both maternal and fetal samples are negative (bottom row) are only for the positive replicates
Table S2: Ct values of Eonis RhD qPCR kit using 10µL cfDNA sample volume
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