Two Chromatographic Methods for Analyzing Paracetamol in Spiked Human Plasma with N-acetyl parabenzoquinone Imine and N-acetyl-L-cysteine
Omar M El-Abassy, Michael Gamal Fawzy, Ebraam B. Kamel 



[image: D:\ebraam\par acet\hptlc plasma.png]
Plasma peak







Figure S1: 2 D HPTLC chromatogram of mixture of 5 µg mL-1 APAP, 6 µg mL-1 NAPQI and 16 µg mL-1 NAC resolved from plasma peak
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[bookmark: _Hlk182562580]Figure S2: HPLC chromatogram of mixture of 5 µg mL-1 APAP, 30 µg mL-1 NAPQI and 20 µg mL-1 NAC resolved from plasma peak

Table S1: Robustness results of the proposed HPLC and HPTLC methods
	(%RSD) a
	Parameter 

	HPLC
	
	HPTLC
	

	
	
	
	
	
	
	
	

	1.723
	0.453
	1.432
	Scanning wavelength (±1 nm)
	0.143
	1.734
	0.764
	Methanol ratio (±1%)

	0.953
	0.674
	0.578
	Flow rate (±0.1 mL/min)
	1.232
	0.863
	0.945
	Distance travelled by the solvent (±0.5 cm)

	
	
	
	
	1.344
	1.855
	1.355
	Time of saturation (±5 min)
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