## Sheet1
DC microgrid segment | Operating conditions / Relay points | Normal operating conditions |  | Abnormal operating conditions
Relay threshold fixed by SPR during fault at bus / transmission line
|  |  |  | F1 |  | F2 |  | F3 |  | F4 |  | F5 |  | F6
|  | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A)
DC microgrid 1 | SPR1 | 1500 | 15 | 1349.5 | 21.1 | 1496 | 15 | 1499 | 15.2 | 1495 | 15.4 | 1501 | 14.9 | 1499 | 15.3
| SPR2 | 1506 | 15 | 1501 | 15.2 | 1501 | 15.2 | 1498 | 15.3 | 1496 | 14.2 | 1502 | 15.1 | 1490 | 15
| SPR3 | 1505 | 15.2 | 1502 | 14.9 | 1508 | 15 | 1496 | 15.8 | 1501 | 15.6 | 1501 | 15 | 1488 | 15
| SPR4 | 1499 | 15 | 1506 | 15.2 | 1508 | 15.3 | 1501 | 15 | 1349.8 | 21.8 | 1508 | 15.2 | 1489 | 15.2
| SPR5 | 1498 | 15.4 | 1507 | 15.3 | 1507 | 15 | 1499 | 15.1 | 1349.9 | 21.6 | 1508 | 14 | 1508 | 14.8
| SPR6 | 1496 | 15 | 1349.4 | 21.2 | 1505 | 15.4 | 1501 | 15.3 | 1499 | 15.6 | 1508 | 14.2 | 1499 | 14.2
| SPR7 | 1501 | 15 | 1505 | 15.1 | 1500 | 14.2 | 1495 | 15 | 1491 | 14.9 | 1508 | 14.3 | 1500 | 14
| SPR8 | 1508 | 15 | 1501 | 15.2 | 1501 | 15.6 | 1496 | 15 | 1349.9 | 21.5 | 1507 | 15.2 | 1499 | 14.2
| SPRL1 | 1508 | 15.2 | 1499 | 15.1 | 1499 | 14.9 | 1501 | 15.2 | 1501 | 14.2 | 1505 | 15.6 | 1489 | 14.3
| SPRL2 | 1507 | 15 | 1501 | 15 | 1501 | 15 | 1502 | 15 | 1495 | 15.6 | 1502 | 15.8 | 1507 | 15.2
DC microgrid 2 | SPR9 | 1505 | 15.3 | 1349.2 | 21.1 | 1496 | 15.1 | 1501 | 15.4 | 1499 | 14.9 | 1500 | 15.9 | 1506 | 14.8
| SPR10 | 1502 | 15 | 1498 | 14.8 | 1501 | 15.3 | 1508 | 14.2 | 1491 | 15 | 1501 | 15.6 | 1507 | 14.2
| SPR11 | 1503 | 15.2 | 1496 | 14.9 | 1508 | 15 | 1508 | 15.6 | 1499 | 15.1 | 1500 | 15.6 | 1506 | 14.2
| SPR12 | 1500 | 14.9 | 1501 | 14.7 | 1508 | 15.2 | 1499 | 14.9 | 1498 | 15.2 | 1349.2 | 21.1 | 1502 | 14.3
| SPR13 | 1501 | 15.1 | 1502 | 14.9 | 1507 | 15 | 1500 | 15.1 | 1496 | 15.1 | 1349.4 | 21.3 | 1501 | 14.8
| SPR14 | 1499 | 15 | 1349 | 21.3 | 1505 | 15.2 | 1499 | 15 | 1501 | 15.2 | 1501 | 15.2 | 1501 | 14.8
| SPR15 | 1501 | 15.4 | 1507 | 15.4 | 1502 | 14.8 | 1489 | 15.2 | 1501 | 15 | 1500 | 15.1 | 1495 | 14.8
| SPR16 | 1495 | 15.2 | 1488 | 15 | 1503 | 14.2 | 1507 | 15.2 | 1499 | 15.1 | 1349.4 | 21.1 | 1494 | 14.9
| SPRL3 | 1499 | 15.2 | 1506 | 15 | 1498 | 14 | 1505 | 15 | 1489 | 14.8 | 1495 | 15 | 1499 | 15
| SPRL4 | 1491 | 15.4 | 1501 | 15 | 1495 | 14.1 | 1500 | 15.1 | 1507 | 14.9 | 1499 | 15.1 | 1500 | 15.1
DC microgrid segment | Operating conditions / Relay points | Normal operating conditions |  | Abnormal operating conditions
Relay threshold fixed by SPR during fault at bus / transmission line
|  |  |  | F1 |  | F2 |  | F3 |  | F4 |  | F5 |  | F6
|  | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A)
DC microgrid 3 | SPR17 | 1499 | 14.2 | 1349.1 | 21 | 1488 | 15 | 1501 | 15.3 | 1505 | 15 | 1491 | 15.2 | 1501 | 15.2
| SPR18 | 1498 | 15.6 | 1499 | 15.2 | 1481 | 15.1 | 1499 | 15.4 | 1500 | 15.1 | 1499 | 15.2 | 1502 | 15
| SPR19 | 1496 | 14.9 | 1496 | 15.1 | 1489 | 15.6 | 1499 | 15.2 | 1501 | 15.2 | 1498 | 15.3 | 1501 | 15.3
| SPR20 | 1501 | 15 | 1499 | 15 | 1486 | 15.8 | 1501 | 15 | 1495 | 15.2 | 1499 | 15 | 1501 | 15
| SPR21 | 1502 | 15.1 | 1500 | 15.6 | 1499 | 15.9 | 1495 | 15.3 | 1499 | 14.8 | 1349.9 | 21.6 | 1495 | 15.2
| SPR22 | 1503 | 15.3 | 1349.3 | 21.2 | 1500 | 15.6 | 1501 | 15 | 1481 | 14.8 | 1500 | 15.1 | 1496 | 15
| SPR23 | 1504 | 15.4 | 1499 | 15.6 | 1499 | 15.8 | 1502 | 15.2 | 1483 | 14.8 | 1501 | 15.2 | 1497 | 15.2
| SPR24 | 1509 | 15.5 | 1496 | 14.9 | 1489 | 15.2 | 1503 | 14.9 | 1500 | 14.9 | 1500 | 14.9 | 1497 | 15.1
| SPRL5 | 1507 | 15 | 1500 | 15 | 1488 | 15 | 1502 | 15.1 | 1501 | 14.7 | 1349.8 | 21.8 | 1498 | 15
| SPRL6 | 1488 | 15.1 | 1501 | 15.1 | 1487 | 15.1 | 1502 | 14.6 | 1502 | 14.6 | 1499 | 15.2 | 1491 | 15.1
DC microgrid 4 | SPR25 | 1506 | 15 | 1349.3 | 21.1 | 1480 | 15.3 | 1502 | 14.8 | 1501 | 14.6 | 1498 | 14.9 | 1490 | 14.9
| SPR26 | 1501 | 15.1 | 1522 | 15.1 | 1490 | 15.4 | 1500 | 15.2 | 1501 | 15 | 1495 | 15.1 | 1491 | 14.8
| SPR27 | 1499 | 15.2 | 1518 | 15 | 1498 | 15.5 | 1500 | 15.1 | 1500 | 15.2 | 1498 | 15.2 | 1349.8 | 21.4
| SPR28 | 1501 | 14.9 | 1517 | 15.2 | 1497 | 15 | 1501 | 15 | 1499 | 15 | 1490 | 14.9 | 1349.9 | 21.4
| SPR29 | 1495 | 14.8 | 1511 | 14.8 | 1496 | 15.1 | 1502 | 15.1 | 1498 | 15.1 | 1488 | 14.8 | 1500 | 14.8
| SPR30 | 1500 | 15.1 | 1349.2 | 21.1 | 1499 | 15.9 | 1499 | 14 | 1495 | 15.2 | 1489 | 14.8 | 1500 | 15.2
| SPR31 | 1496 | 15 | 1501 | 15.2 | 1507 | 15.6 | 1498 | 15 | 1495 | 14.9 | 1501 | 14.8 | 1501 | 15.1
| SPR32 | 1508 | 15.2 | 1495 | 14.9 | 1488 | 15.8 | 1497 | 15.1 | 1484 | 15.2 | 1502 | 14.9 | 1502 | 15
| SPRL7 | 1511 | 14.8 | 1500 | 14.8 | 1506 | 14.9 | 1499 | 15.3 | 1482 | 15.1 | 1501 | 15 | 1499 | 15.1
| SPRL8 | 1515 | 15.1 | 1496 | 15.1 | 1501 | 14.9 | 1491 | 15.4 | 1480 | 15 | 1501 | 15.1 | 1498 | 14.8
DC microgrid segment | Operating conditions / Relay points | Normal operating conditions |  | Abnormal operating conditions
Relay threshold fixed by SPR during fault at bus / transmission line
|  |  |  | F1 |  | F2 |  | F3 |  | F4 |  | F5 |  | F6
|  | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A) | Voltage (V) | Current (A)
DC microgrid 5 | SPR33 | 1508 | 6.1 | 1349 | 8.6 | 1499 | 6 | 1492 | 6.2 | 1481 | 6.1 | 1495 | 6.1 | 1499 | 6
| SPR34 | 1509 | 6.6 | 1509 | 6.6 | 1499 | 6.2 | 1493 | 6 | 1483 | 6.2 | 1500 | 6.2 | 1497 | 6.1
| SPR35 | 1504 | 6 | 1507 | 6 | 1489 | 6.1 | 1495 | 6.1 | 1485 | 5.9 | 1501 | 6.3 | 1490 | 6.2
| SPR36 | 1499 | 6.8 | 1488 | 6.8 | 1488 | 6.1 | 1496 | 6.2 | 1488 | 6 | 1502 | 6.2 | 1489 | 6.1
| SPR37 | 1499 | 6 | 1506 | 6.6 | 1502 | 6.1 | 1499 | 6.3 | 1490 | 6.2 | 1501 | 6 | 1349 | 8.8
| SPR38 | 1496 | 6 | 1349.1 | 8.6 | 1503 | 6.3 | 1496 | 6 | 1488 | 6.3 | 1500 | 6 | 1488 | 6.6
| SPR39 | 1500 | 6.1 | 1499 | 6 | 1504 | 6.2 | 1496 | 6 | 1489 | 6 | 1499 | 6.2 | 1489 | 6.6
| SPR40 | 1508 | 6.1 | 1499 | 6.2 | 1509 | 5.9 | 1499 | 6 | 1487 | 6.2 | 1498 | 6.3 | 1489 | 6.5
| SPRL9 | 1488 | 6.9 | 1496 | 6.3 | 1508 | 5.8 | 1498 | 6.8 | 1486 | 6.3 | 1501 | 6.2 | 1348.9 | 8.6
| SPRL10 | 1489 | 7 | 1500 | 6.5 | 1511 | 6 | 1498 | 6.6 | 1489 | 6.6 | 1502 | 6.6 | 1491 | 6.1
PV interfaced DC - DC converter | SPRPCC1 | 1500 | 33 | 1503 | 32.9 | 1349.9 | 40.8 | 1497 | 32.6 | 1504 | 33.2 | 1501 | 32.8 | 1499 | 33
Wind turbine interfaced AC - DC converter | SPRPCC2 | 1501 | 29 | 1513 | 29.8 | 1503 | 29.9 | 1349.9 | 36.2 | 1506 | 29.1 | 1502 | 28.9 | 1501 | 29.3