Supplementary

Supplementary Table S1: Estimated absorbed doses for blinded samples irradiated at doses ≥2 Gy. The estimated dose is calculated using a pooled dose-response curve according to Merkle’s approach.

|  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- |
|  |  |  | Lower | Upper |
| Blind 1 | 2 | 2.03 | 1.87 | 2.20 |
|  | 3 | 3.05 | 2.88 | 3.23 |
|  | 4 | 3.95 | 3.76 | 4.16 |
| Blind 2 | 2 | 2.31 | 2.13 | 2.49 |
|  | 3 | 3.20 | 3.03 | 3.38 |
|  | 4 | 4.26 | 4.05 | 4.49 |
| Blind 3 | 2 | 2.07 | 1.91 | 2.24 |
|  | 3 | 3.04 | 2.88 | 3.20 |
|  | 4 | 4.25 | 4.04 | 4.49 |

Supplementary Table S2: Estimated absorbed doses for blinded samples irradiated at doses ≥2 Gy. The estimated dose is calculated using grouped dose-response curves according to Merkle’s approach.

|  |  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Lower | Upper |
| Group A | Blind 1 | 2 | 1.65 | 1.47 | 1.82 |
|  |  | 3 | 2.46 | 2.30 | 2.64 |
|  |  | 4 | 3.19 | 3.02 | 3.39 |
|  | Blind 2 | 2 | 1.87 | 1.68 | 2.05 |
|  |  | 3 | 2.59 | 2.42 | 2.76 |
|  |  | 4 | 3.44 | 3.26 | 3.65 |
|  | Blind 3 | 2 | 1.68 | 1.50 | 1.85 |
|  |  | 3 | 2.45 | 2.29 | 2.62 |
|  |  | 4 | 3.44 | 3.25 | 3.65 |
| Group B | Blind 1 | 2 | 1.80 | 1.65 | 1.95 |
|  |  | 3 | 2.68 | 2.54 | 2.83 |
|  |  | 4 | 3.47 | 3.31 | 3.63 |
|  | Blind 2 | 2 | 2.04 | 1.88 | 2.20 |
|  |  | 3 | 2.81 | 2.67 | 2.96 |
|  |  | 4 | 3.73 | 3.57 | 3.91 |
|  | Blind 3 | 2 | 1.83 | 1.69 | 1.98 |
|  |  | 3 | 2.67 | 2.54 | 2.81 |
|  |  | 4 | 3.73 | 3.56 | 3.91 |
| Group C | Blind 1 | 2 | 1.96 | 1.77 | 2.14 |
|  |  | 3 | 2.89 | 2.71 | 3.08 |
|  |  | 4 | 3.72 | 3.52 | 3.95 |
|  | Blind 2 | 2 | 2.21 | 2.01 | 2.40 |
|  |  | 3 | 3.03 | 2.85 | 3.23 |
|  |  | 4 | 4.00 | 3.79 | 4.25 |
|  | Blind 3 | 2 | 1.99 | 1.80 | 2.17 |
|  |  | 3 | 2.88 | 2.71 | 3.06 |
|  |  | 4 | 4.00 | 3.78 | 4.26 |
| Group D | Blind 1 | 2 | 2.04 | 1.90 | 2.19 |
|  |  | 3 | 3.05 | 2.91 | 3.21 |
|  |  | 4 | 3.96 | 3.79 | 4.14 |
|  | Blind 2 | 2 | 2.32 | 2.16 | 2.48 |
|  |  | 3 | 3.21 | 3.06 | 3.37 |
|  |  | 4 | 4.26 | 4.09 | 4.46 |
|  | Blind 3 | 2 | 2.08 | 1.93 | 2.23 |
|  |  | 3 | 3.04 | 2.90 | 3.19 |
|  |  | 4 | 4.26 | 4.08 | 4.46 |
| Group E | Blind 1 | 2 | 2.27 | 2.10 | 2.43 |
|  |  | 3 | 3.39 | 3.22 | 3.58 |
|  |  | 4 | 4.40 | 4.20 | 4.62 |
|  | Blind 2 | 2 | 2.57 | 2.39 | 2.76 |
|  |  | 3 | 3.57 | 3.39 | 3.76 |
|  |  | 4 | 4.74 | 4.52 | 4.98 |
|  | Blind 3 | 2 | 2.31 | 2.14 | 2.47 |
|  |  | 3 | 3.38 | 3.22 | 3.56 |
|  |  | 4 | 4.73 | 4.51 | 4.99 |
| Group F | Blind 1 | 2 | 2.20 | 2.50 | 2.80 |
|  |  | 3 | 3.53 | 3.87 | 4.31 |
|  |  | 4 | 4.64 | 5.10 | 5.78 |
|  | Blind 2 | 2 | 2.56 | 2.87 | 3.21 |
|  |  | 3 | 3.72 | 4.08 | 4.56 |
|  |  | 4 | 5.00 | 5.51 | 6.29 |
|  | Blind 3 | 2 | 2.26 | 2.55 | 2.85 |
|  |  | 3 | 3.53 | 3.85 | 4.28 |
|  |  | 4 | 4.99 | 5.51 | 6.30 |

Supplementary Table S3: Estimated absorbed doses for blinded samples irradiated at doses of ≥2 Gy. RDNN is utilized to calculate the estimated doses.

|  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- |
|  |  |  | Lower | Upper |
| B1(30,F) | 2 | 2.09 | 1.88 | 2.32 |
|  | 3 | 3.17 | 2.94 | 3.38 |
|  | 4 | 3.93 | 3.70 | 4.14 |
| B2(36,M) | 2 | 2.17 | 1.89 | 2.41 |
|  | 3 | 3.17 | 2.90 | 3.41 |
|  | 4 | 4.00 | 3.77 | 4.23 |
| B3(34,M) | 2 | 2.05 | 1.86 | 2.24 |
|  | 3 | 3.08 | 2.87 | 3.27 |
|  | 4 | 4.03 | 3.85 | 4.23 |

Supplementary Table S4: Estimated absorbed doses for blinded samples irradiated at doses ≤1Gy. The estimated dose is calculated using a pooled dose-response curve according to Merkle’s approach.

|  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- |
|  |  |  | Lower | Upper |
| Blind 4 | 0.2 | 0.09 | 0 | 0.29 |
|  | 0.4 | 0.38 | 0.18 | 0.58 |
|  | 0.6 | 0.58 | 0.39 | 0.78 |
|  | 0.8 | 0.72 | 0.53 | 0.93 |
|  | 1 | 0.94 | 0.75 | 1.14 |
| Blind 5 | 0.2 | 0.21 | 0 | 0.40 |
|  | 0.4 | 0.34 | 0.14 | 0.53 |
|  | 0.6 | 0.57 | 0.40 | 0.76 |
|  | 0.8 | 0.84 | 0.66 | 1.02 |
|  | 1 | 1.00 | 0.82 | 1.18 |
| Blind 6 | 0.2 | 0.11 | 0 | 0.30 |
|  | 0.4 | 0.31 | 0.11 | 0.50 |
|  | 0.6 | 0.55 | 0.38 | 0.74 |
|  | 0.8 | 0.87 | 0.72 | 1.03 |
|  | 1 | 1.15 | 0.98 | 1.32 |

Supplementary Table S5: Estimated absorbed doses for blinded samples irradiated at doses ≤1Gy. The estimated dose is calculated using grouped dose-response curves according to Merkle’s approach.

|  |  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Lower | Upper |  |
| Group A | Blind 4 | 0.2 | 0.15 | 0 | 0.34 |
|  |  | 0.4 | 0.35 | 0.17 | 0.55 |
|  |  | 0.6 | 0.50 | 0.32 | 0.70 |
|  |  | 0.8 | 0.61 | 0.42 | 0.82 |
|  |  | 1 | 0.78 | 0.59 | 0.98 |
|  | Blind 5 | 0.2 | 0.23 | 0.02 | 0.41 |
|  |  | 0.4 | 0.32 | 0.14 | 0.51 |
|  |  | 0.6 | 0.49 | 0.32 | 0.69 |
|  |  | 0.8 | 0.70 | 0.52 | 0.89 |
|  |  | 1 | 0.82 | 0.64 | 1.02 |
|  | Blind 6 | 0.2 | 0.16 | 0 | 0.34 |
|  |  | 0.4 | 0.30 | 0.12 | 0.49 |
|  |  | 0.6 | 0.48 | 0.31 | 0.68 |
|  |  | 0.8 | 0.72 | 0.57 | 0.90 |
|  |  | 1 | 0.94 | 0.77 | 1.13 |
| Group B | Blind 4 | 0.2 | 0.05 | 0 | 0.26 |
|  |  | 0.4 | 0.33 | 0.13 | 0.52 |
|  |  | 0.6 | 0.52 | 0.34 | 0.70 |
|  |  | 0.8 | 0.64 | 0.47 | 0.83 |
|  |  | 1 | 0.84 | 0.67 | 1.02 |
|  | Blind 5 | 0.2 | 0.17 | 0 | 0.35 |
|  |  | 0.4 | 0.29 | 0.08 | 0.47 |
|  |  | 0.6 | 0.51 | 0.35 | 0.68 |
|  |  | 0.8 | 0.75 | 0.59 | 0.92 |
|  |  | 1 | 0.89 | 0.73 | 1.06 |
|  | Blind 6 | 0.2 | 0.07 | 0 | 0.26 |
|  |  | 0.4 | 0.27 | 0.04 | 0.45 |
|  |  | 0.6 | 0.49 | 0.33 | 0.67 |
|  |  | 0.8 | 0.78 | 0.64 | 0.92 |
|  |  | 1 | 1.02 | 0.87 | 1.18 |
| Group C | Blind 4 | 0.2 | 0.09 | 0 | 0.35 |
|  |  | 0.4 | 0.39 | 0.14 | 0.64 |
|  |  | 0.6 | 0.59 | 0.37 | 0.84 |
|  |  | 0.8 | 0.73 | 0.50 | 0.97 |
|  |  | 1 | 0.94 | 0.72 | 1.17 |
|  | Blind 5 | 0.2 | 0.22 | 0 | 0.46 |
|  |  | 0.4 | 0.35 | 0.09 | 0.59 |
|  |  | 0.6 | 0.58 | 0.37 | 0.82 |
|  |  | 0.8 | 0.84 | 0.63 | 1.06 |
|  |  | 1 | 0.99 | 0.78 | 1.21 |
|  | Blind 6 | 0.2 | 0.11 | 0 | 0.36 |
|  |  | 0.4 | 0.32 | 0.03 | 0.56 |
|  |  | 0.6 | 0.57 | 0.36 | 0.80 |
|  |  | 0.8 | 0.87 | 0.68 | 1.07 |
|  |  | 1 | 1.13 | 0.93 | 1.33 |
| Group D | Blind 4 | 0.2 | 0.16 | 0 | 0.32 |
|  |  | 0.4 | 0.42 | 0.26 | 0.59 |
|  |  | 0.6 | 0.61 | 0.45 | 0.79 |
|  |  | 0.8 | 0.75 | 0.58 | 0.92 |
|  |  | 1 | 0.96 | 0.79 | 1.14 |
|  | Blind 5 | 0.2 | 0.26 | 0.10 | 0.42 |
|  |  | 0.4 | 0.38 | 0.23 | 0.54 |
|  |  | 0.6 | 0.60 | 0.45 | 0.77 |
|  |  | 0.8 | 0.86 | 0.71 | 1.02 |
|  |  | 1 | 1.01 | 0.86 | 1.18 |
|  | Blind 6 | 0.2 | 0.18 | 0 | 0.33 |
|  |  | 0.4 | 0.36 | 0.21 | 0.52 |
|  |  | 0.6 | 0.59 | 0.44 | 0.75 |
|  |  | 0.8 | 0.89 | 0.76 | 1.03 |
|  |  | 1 | 1.16 | 1.02 | 1.31 |
| Group E | Blind 4 | 0.2 | 0.06 | 0 | 0.28 |
|  |  | 0.4 | 0.40 | 0.18 | 0.61 |
|  |  | 0.6 | 0.63 | 0.43 | 0.84 |
|  |  | 0.8 | 0.79 | 0.59 | 1.00 |
|  |  | 1 | 1.04 | 0.85 | 1.24 |
|  | Blind 5 | 0.2 | 0.20 | 0 | 0.40 |
|  |  | 0.4 | 0.35 | 0.14 | 0.55 |
|  |  | 0.6 | 0.62 | 0.44 | 0.82 |
|  |  | 0.8 | 0.92 | 0.74 | 1.11 |
|  |  | 1 | 1.10 | 0.92 | 1.29 |
|  | Blind 6 | 0.2 | 0.08 | 0 | 0.28 |
|  |  | 0.4 | 0.32 | 0.10 | 0.52 |
|  |  | 0.6 | 0.60 | 0.42 | 0.80 |
|  |  | 0.8 | 0.96 | 0.81 | 1.12 |
|  |  | 1 | 1.27 | 1.10 | 1.45 |
| Group F | Blind 4 | 0.2 | 0.05 | 0 | 0.32 |
|  |  | 0.4 | 0.35 | 0.04 | 0.67 |
|  |  | 0.6 | 0.59 | 0.32 | 0.93 |
|  |  | 0.8 | 0.77 | 0.49 | 1.11 |
|  |  | 1 | 1.05 | 0.75 | 1.39 |
|  | Blind 5 | 0.2 | 0.17 | 0 | 0.44 |
|  |  | 0.4 | 0.31 | 0 | 0.60 |
|  |  | 0.6 | 0.59 | 0.33 | 0.90 |
|  |  | 0.8 | 0.92 | 0.64 | 1.24 |
|  |  | 1 | 1.12 | 0.83 | 1.45 |
|  | Blind 6 | 0.2 | 0.07 | 0 | 0.33 |
|  |  | 0.4 | 0.28 | 0 | 0.57 |
|  |  | 0.6 | 0.56 | 0.31 | 0.88 |
|  |  | 0.8 | 0.96 | 0.71 | 1.25 |
|  |  | 1 | 1.32 | 1.03 | 1.63 |

Supplementary Table S6: Estimated absorbed doses for blinded samples irradiated at doses ≤ 1Gy. RDNN was utilized to calculate the estimated doses.

|  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- |
|  |  |  | Lower | Upper |
| Blind 4 | 0.2 | 0.16 | 0 | 0 |
|  | 0.4 | 0.39 | 0 | 0.54 |
|  | 0.6 | 0.58 | 0.42 | 0.75 |
|  | 0.8 | 0.76 | 0.58 | 0.96 |
|  | 1 | 0.98 | 0.78 | 1.22 |
| Blind 5 | 0.2 | 0.24 | 0 | 0.36 |
|  | 0.4 | 0.25 | 0 | 0.44 |
|  | 0.6 | 0.55 | 0.42 | 0.70 |
|  | 0.8 | 0.8 | 0.65 | 0.96 |
|  | 1 | 1 | 0.80 | 1.21 |
| Blind 6 | 0.2 | 0.15 | 0 | 0 |
|  | 0.4 | 0.33 | 0 | 0.46 |
|  | 0.6 | 0.52 | 0.39 | 0.66 |
|  | 0.8 | 0.88 | 0.73 | 1.11 |
|  | 1 | 1.04 | 0.83 | 1.22 |

Supplementary Table S7: Estimated absorbed doses for radiation workers. Pooled dose-response curves and RDNN are utilized to calculate the estimated doses.

|  |  | Actual dose(Gy) | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  | Estimated dose(Gy) | Estimated dose(Gy) 95% confidence limits |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Lower | Upper |  | Lower | Upper |
| RW1 | 1st | 0 | 0 | 0 | 0 | 0.04 | 0 | 0 |
|  | 2nd | 0 | 0 | 0 | 0 | -0.03 | 0 | 0 |
|  | 2nd | 0.1 | 0.16 | 0 | 0.34 | 0.21 | 0 | 0 |
| RW2 | 1st | 0 | 0 | 0 | 0 | -0.02 | 0 | 0 |
|  | 2nd | 0 | 0 | 0 | 0 | 0.06 | 0 | 0 |
|  | 2nd | 0.1 | 0.13 | 0 | 0.31 | 0.15 | 0 | 0 |
| RW3 | 1st | 0 | 0 | 0 | 0 | 0.04 | 0 | 0 |
|  | 2nd | 0 | 0.01 | 0 | 0.20 | 0.02 | 0 | 0 |
|  | 2nd | 0.1 | 0.21 | 0 | 0.39 | 0.19 | 0 | 0 |
| RW4 | 1st | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 |
|  | 2nd | 0 | 0 | 0 | 0 | -0.03 | 0 | 0 |
|  | 2nd | 0.1 | 0.02 | 0 | 0.21 | 0.09 | 0 | 0 |
| RW5 | 1st | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 |
|  | 2nd | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 |
|  | 2nd | 0.1 | 0.28 | 0.08 | 0.47 | 0.25 | 0 | 0.37 |

Supplementary Table S8: Estimation uncertainty of each blind sample. The measurement uncertainty was calculated as (Actual Dose - Estimated Dose) / Estimated Dose×100.

| Sample | Actual dose(Gy) | Uncertainty(%) |  |
| --- | --- | --- | --- |
|  |  | Pooled | RDNN |
| B1 | 2 | -1.48 | -4.31 |
| B1 | 3 | -1.64 | -5.36 |
| B1 | 4 | 1.27 | 1.78 |
| B2 | 2 | -13.42 | -7.83 |
| B2 | 3 | -6.25 | -5.36 |
| B2 | 4 | -6.10 | 0 |
| B3 | 2 | -3.38 | -2.44 |
| B3 | 3 | -1.32 | -2.60 |
| B3 | 4 | -5.88 | -0.74 |
| B4 | 0.2 | 122.22 | 25.00 |
| B4 | 0.4 | 5.26 | 2.56 |
| B4 | 0.6 | 3.45 | 3.45 |
| B4 | 0.8 | 11.11 | 5.26 |
| B4 | 1 | 6.38 | 2.04 |
| B5 | 0.2 | -4.76 | -16.67 |
| B5 | 0.4 | 17.65 | 60.00 |
| B5 | 0.6 | 5.26 | 9.09 |
| B5 | 0.8 | -4.76 | 0 |
| B5 | 1 | 0 | 0 |
| B6 | 0.2 | 81.82 | 33.33 |
| B6 | 0.4 | 29.03 | 21.21 |
| B6 | 0.6 | 9.09 | 15.38 |
| B6 | 0.8 | -8.05 | -9.09 |
| B6 | 1 | -13.04 | -3.85 |
| RW1-2nd | 0.1 | -35.76 | -51.41 |
| RW2-2nd | 0.1 | -25.01 | -31.26 |
| RW3-2nd | 0.1 | -52.12 | -46.56 |
| RW4-2nd | 0.1 | 427.25 | 11.23 |
| RW5-2nd | 0.1 | -64.90 | -59.94 |

Supplementary Table S9: Automatically identified number of dicentric chromosomes in blind samples.

| Sample | Dose (Gy) | Scored cells | Dic | Distribution of dicentrics |  |  |  |  |  | Dic/cell | DI | u-test |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 |  |  |  |
| B1 | 2 | 4034 | 739 | 3347 | 637 | 48 | 2 | 0 | 0 | 0.18 | 0.96 | -1.65 |
|  | 3 | 3715 | 1340 | 2598 | 929 | 155 | 31 | 2 | 0 | 0.36 | 1.03 | 1.19 |
|  | 4 | 4446 | 2535 | 2519 | 1420 | 420 | 74 | 12 | 1 | 0.57 | 1.00 | 0.06 |
| B2 | 2 | 2897 | 653 | 2321 | 507 | 63 | 4 | 2 | 0 | 0.23 | 1.04 | 1.58 |
|  | 3 | 3881 | 1525 | 2643 | 993 | 204 | 40 | 1 | 0 | 0.39 | 1.04 | 1.77 |
|  | 4 | 4351 | 2834 | 2285 | 1461 | 472 | 106 | 24 | 3 | 0.65 | 1.03 | 1.36 |
| B3 | 2 | 3926 | 741 | 3257 | 605 | 57 | 6 | 1 | 0 | 0.19 | 1.03 | 1.34 |
|  | 3 | 4588 | 1645 | 3219 | 1132 | 203 | 29 | 5 | 0 | 0.36 | 1.03 | 1.47 |
|  | 4 | 3707 | 2412 | 1945 | 1235 | 425 | 82 | 19 | 1 | 0.65 | 1.01 | 0.38 |
| B4 | 0.2 | 3768 | 44 | 3724 | 44 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.50 |
|  | 0.4 | 3062 | 70 | 2992 | 70 | 0 | 0 | 0 | 0 | 0.02 | 0.98 | -0.89 |
|  | 0.6 | 2912 | 98 | 2815 | 96 | 1 | 0 | 0 | 0 | 0.03 | 0.99 | -0.49 |
|  | 0.8 | 2874 | 123 | 2751 | 123 | 0 | 0 | 0 | 0 | 0.04 | 0.96 | -1.62 |
|  | 1 | 3034 | 180 | 2858 | 172 | 4 | 0 | 0 | 0 | 0.06 | 0.99 | -0.57 |
| B5 | 0.2 | 3957 | 62 | 3895 | 62 | 0 | 0 | 0 | 0 | 0.02 | 0.98 | -0.69 |
|  | 0.4 | 3764 | 79 | 3686 | 77 | 1 | 0 | 0 | 0 | 0.02 | 1.00 | 0.20 |
|  | 0.6 | 3724 | 124 | 3601 | 122 | 1 | 0 | 0 | 0 | 0.03 | 0.98 | -0.73 |
|  | 0.8 | 3931 | 201 | 3734 | 194 | 2 | 1 | 0 | 0 | 0.05 | 1.00 | -0.05 |
|  | 1 | 3840 | 245 | 3603 | 230 | 6 | 1 | 0 | 0 | 0.06 | 1.01 | 0.44 |
| B6 | 0.2 | 4413 | 54 | 4360 | 52 | 1 | 0 | 0 | 0 | 0.01 | 1.03 | 1.19 |
|  | 0.4 | 3835 | 76 | 3760 | 74 | 1 | 0 | 0 | 0 | 0.02 | 1.01 | 0.30 |
|  | 0.6 | 3751 | 121 | 3633 | 115 | 3 | 0 | 0 | 0 | 0.03 | 1.02 | 0.77 |
| B6 | 0.8 | 7037 | 378 | 6670 | 356 | 11 | 0 | 0 | 0 | 0.05 | 1.00 | 0.27 |
|  | 1 | 4739 | 366 | 4390 | 333 | 15 | 1 | 0 | 0 | 0.08 | 1.02 | 1.04 |
| RW1-1st | 0 | 4852 | 38 | 4814 | 38 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.38 |
| RW1-2nd | 0 | 3247 | 24 | 3223 | 24 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.29 |
| RW1-2nd | 0.1 | 4891 | 67 | 4826 | 63 | 2 | 0 | 0 | 0 | 0.01 | 1.05 | 2.30 |
| RW2-1st | 0 | 3494 | 26 | 3468 | 26 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.31 |
| RW2-2nd | 0 | 4947 | 35 | 4912 | 35 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.35 |
| RW2-2nd | 0.1 | 5026 | 65 | 4962 | 63 | 1 | 0 | 0 | 0 | 0.01 | 1.02 | 0.91 |
| RW3-1st | 0 | 4055 | 32 | 4023 | 32 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.35 |
| RW3-2nd | 0 | 5469 | 50 | 5422 | 45 | 1 | 1 | 0 | 0 | 0.01 | 1.15 | 7.98 |
| RW3-2nd | 0.1 | 4922 | 77 | 4848 | 72 | 1 | 1 | 0 | 0 | 0.02 | 1.09 | 4.42 |
| RW4-1st | 0 | 3489 | 28 | 3461 | 28 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.33 |
| RW4-2nd | 0 | 4986 | 27 | 4959 | 27 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.27 |
| RW4-2nd | 0.1 | 4966 | 47 | 4920 | 45 | 1 | 0 | 0 | 0 | 0.01 | 1.03 | 1.68 |
| RW5-1st | 0 | 2491 | 18 | 2473 | 18 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.25 |
| RW5-2nd | 0 | 2643 | 23 | 2620 | 23 | 0 | 0 | 0 | 0 | 0.01 | 0.99 | -0.31 |
| RW5-2nd | 0.1 | 4061 | 76 | 3987 | 72 | 2 | 0 | 0 | 0 | 0.02 | 1.03 | 1.55 |